# Automated Protocols for Macromolecular Crystallization at the MRC Laboratory of Molecular Biology

Fabrice Gorrec, MRC Laboratory of Molecular Biology, UK

### Abstract (300 word limit)

When high quality crystals are obtained that diffract X-rays, the crystal structure may be solved at near atomic resolution [1]. The conditions to crystallize proteins, DNAs, RNAs, and their complexes can however not be predicted [2]. Employing a broad variety of conditions is a way to increase the yield of quality diffraction crystals [3]. Two fully automated systems have been developed at the MRC Laboratory of Molecular Biology (Cambridge, England, MRC-LMB) that facilitate crystallization screening against 1,920 initial conditions by vapor diffusion in nanoliter droplets [4]. Semi-automated protocols have also been developed to optimize conditions by changing the concentrations of reagents, the pH, or by introducing additives that potentially enhance properties of the resulting crystals [5]. All the corresponding protocols will be described in detail and briefly discussed. Taken together, they enable convenient and highly efficient macromolecular crystallization in a multi-user facility, while giving the users control over key parameters of their experiments.

### Image

Recent Publications (minimum 5)

- Blundell T L (2017) Protein crystallography and drug discovery: recollections of knowledge exchange between academia and industry. IUCr Journal 4:308-321.

- Gorrec F (2015) The MORPHEUS II protein crystallization screen. Acta Crystallographica F71:831-837.

- Gorrec F (2013) The current approach to initial crystallization screening of proteins is under-sampled. Journal of Applied Crystallography 46:795-797.

- Gorrec F, Löwe J (2018) Automated Protocols for Macromolecular Crystallization at the MRC Laboratory of Molecular Biology. Journal of Visualized Experiments. In press.

- McPherson A, Cudney B (2006) Searching for silver bullets: an alternative strategy for crystallizing macromolecules. Journal of Structural Biology 156:387-406.

Biography (150 word limit)

Dr Fabrice Gorrec has participated in the development of innovative technologies applied to protein crystallization over 14 years, including microplates (e.g. TOPAZ®), liquid-handlers (e.g. Dragonfly®) and initial screens (e.g. MORPHEUS™). Since 2008, Fabrice is responsible for the crystallization facility at the MRC Laboratory of Molecular Biology (MRC-LMB, Cambridge, UK) where he invented and developed the 96-condition MORPHEUS protein crystallization screens.

Email: fabricegorrec@gmail.com

Phone: +44 (0) 1223 26 7807