DETECTION OF LEGIONELLA PNEUMOPHILA FROM RESPIRATORY SPECIMENS and COMPARISON OF CULTURE AND REAL TIME PCR ASSAY

SOMAYEH YASLIANIFARD

Assistant professor in Department of Microbiology and Immunology, Medical School, Alborz University of Medical Sciences

Legionella pneumophila is an important etiological agent in both hospital and community acquired pneumonia. The sensitivity of culture for isolation of L. Pneumophila from clinical specimens is low and time consuming. Similar problem also exists when the method of direct immunofluorescence is used. To detect this organism quantitatively from respiratory specimens, a Taq Man based real time PCR targeting the mip sequence was developed. Both real time PCR and culture methods were applied on 262 respiratory specimens from 262 ICU patients with pneumonia admitted to 5 different hospitals in Tehran. The results of real time PCR were compared with those obtained by culture. Real time PCR and culture found 12 and 4 specimens, respectively, as positive for L. pneumophila. Its technical specificity (100%) was checked against a panel of microorganisms consisting of both gram positive and gram negative bacteria. Our real time PCR assay showed high sensitivity (100%) and specificity (96.9%) and could detect 200 organisms per ml from respiratory specimens. Using real time PCR as a screening method, the frequency of nosocomial pneumonia with L. Pneumophila at Tehran hospitals was estimated as 4.58%.

Keywords:

Hospital acquired pneumonia, Legionella Pneumophila, Bronchoalveolar Lavage, Real Time PCR

Biography:

Somayeh yaslianifard, Ph.D.

Assistant professor in Department of Microbiology and Immunology, Medical School, Alborz University of Medical Sciences (2013 until now)

Alborz University of medical sciences, Karaj, Iran.

EDUCATION:*Tehran University of Medical Sciences. Tehran. Iran     Ph.D , Medical Bacteriology  2006-2012.

Expertise in Molecular techniques including PCRs, RT-PCR, RNA, DNA & plasmid extraction, Primer designing, Real-Time PCR. Genotyping with PFGE.

Linkdin:S yaslianifard