OCT Angiography in the Clinical Setting

Angela CHUNG, Terence TAN, Jennifer ARNOLD

Abstract

Choroidal Neovascularisation (CNV) occurs when abnormal blood vessels develop from within the choroidal layers and resultant leakage into the retina causes vision loss. It is most commonly associated with neovascular AMD.

The purpose of this study looks at the detection of Choroidal Neovascularisation (CNV) in neovascular AMD using Optical Coherence Tomography Angiography (OCTA) technology, where detection rates are compared between 2 OCTA Capture systems, (Heidelberg Spectralis Angiography Module and the Zeiss CIRRUS Angioplex) using both automatic segmentation analysis and manual adjustments.

Findings: OCT Angiography in the detection of CNV in nAMD is currently heavily user dependant where also the Heidelberg Spectralis Angiography module performed significantly better in automatic detection alone.

Recent Publications (minimum 5)

1. TE De Carlo, A Romano, NK Waheed, JS Duker. A review of optical coherence tomography angiography (OCTA). Int J Retina Vitreous. 2015 Apr 15;1:5. eCollection 2015.

2. AM Hagag, SS Gao, Y Jia, D Huang (2017) Optical coherence tomography angiography: technical principles and clinical applications in ophthalmology. Taiwan journal of Ophthalmology 2017 Jul-Sep; 7(3): 115–129.

3. ML Farecki, M Gutfleisch, H Faatz, K Rothaus. Characteristics of type 1 and 3 CNV in exudative AMD in OCT-Angiography. Graefe’s Archive for Clinical and experimental Ophthalmology. May 2017, Volume 255, Issue 5, pp 913–921

4. K.V. Chalam, K Sambhav. Optical Coherence Tomography Angiography in Retinal Diseases. Journal of Ophthalmic Vision and research 2016. Jan-Mar, 11(1):84-92

5. Jia Y, Bailey ST, Wilson DJ, Tan O, Klein ML, Flaxel CJ, et al. Quantitative optical coherence tomography angiography of choroidal neovascularization in age-related macular degeneration. Ophthalmology. 2014;121:1435–1444.

Biography

Angela Chung is a senior Orthoptist at Marsden Eye Specialists in Sydney Australia and has had extensive experience in all areas of Ophthalmic diagnostic testing and assisting. The majority of her time has been devoted to all things retinal where she had developed a passion early on in her professional career.

In recent years she has been immersed in the world of Clinical Trials for treatment of Retinal diseases and she is looking forward to sharing her experiences gained throughout her journey.