Development and validation of a HPLC method for the determination of sumatriptan in plasma and brain tissue

Moein Masjedi

Shiraz University of Medical Sciences

The objective of this work was to develop and validate a rapid high performance liquid chromatography (HPLC) method for the quantitative analysis of sumatriptan in plasma and brain tissue. Using liquid-liquid extraction sumatriptan was extracted from plasma and brain tissue. Chromatographic analyses were performed on a reversed phase C18 column with a mobile phase consisting of acetonitrile and ammonium acetate buffer 0.025M pH6.25 (25:75, v/v) at a flow rate of 1 mL/min. The sumatriptan was detected and quantitated using ultraviolet (UV) detector at the wavelength of 226nm. The method was shown to be specific and linear in the range of 5-1000 ng/mL (r2=0.9997). The precision (intra- and inter-day) was demonstrated because the maximum relative standard deviation was 1.78. The method is robust relative to change in flow rate and temperature. The limits of detection and quantitation were 3.48 and 11.48 ng/mL, respectively. The method fulfilled the requirements for reliability and feasibility for application to quantitative analysis of sumatriptan in plasma and brain.

Biography

Moein Masjedi has completed his PharmD at January 2015 at the age of 24 from Shiraz University of Medical Sciences (SUMS). He started PhD course on pharmaceutics in above-mentioned university in February 2015. He has 2 published and 8 unpublished papers. Now he is part-time lecturer of pharmaceutics in Hormozgan University of Medical Sciences (HUMS).

Moein Masjedi

00989356896272

LinkedIn account: Moein Masjedi

Category: Poster presentation