Title - NANOPATCH   - Needle Free Injection Technology (NFIT)

NANOPATCH -   Most vaccination are performed by intramuscular injection with a needle and syringe. However this method has limitations, such as the risk of needle stick injury, required trained person to

give injections and need to reconstitute lyophilized vaccines. Alternative technology Nanopatch required overcoming these problems with needle and syringe. Needle free injection technology (NFIT) is an extremely broad concept which includes a wide range of drug delivery systems that drive vaccines through the skin using any of forces such as Lorentz, shock waves, pressure by gas or electrophoresis.

The Nanopatch is a microarray skin patch, postage stamp size and has thousands of tiny spikes on its surface. The Nanopatch is an array of 10,000 silicon micro projections per cm2 that can be a dry coated with vaccine for skin delivery. The High number and density of micro projections in nanopatch means that high velocity application is required to achieve consistent skin penetration

Nanopatch projections penetrate through the stratum corneum  to reach the living skin layers directly below the epidermis and dermis. When patch is applied this projection deliver the vaccine just below the top layer of skin, which has abundant immune cells, within a minute vaccine becomes wet in the cellular environment and released.

Animal testing has shown that nanopatch deliver similar protective immune responses as needle and syringe with significantly lower doses of vaccine.

Nanopatch has major advantage over traditional vaccine methods. 1.  Better immunogenicity. 2. Reduce vaccine cost because less amount vaccine is needed.3. Nanopatch does not required refrigeration and cold chain maintenance because dried vaccine.

A randomized, partly blinded placebo control trial (Germaine JP fernado, angus H.forster-Science direct, Vaccine) that represent the first use in humans of the nanopatch to deliver a vaccine.

Vaccines remain stable at room temperature for 6 months in nanopatch.

Nanopatch is effective approach in mass immunization like influenza and IPV.

Nanopatch vaccine delivery system appears to be safe, well tolerated by the subjects receiving the vaccination and induced similar immune response as IM injection as per recent Human study.

Dr.UNMESH UPADHYAY, MD Pediatric, consultant paediatrician, Ahmedabad, India