# The 11th International Conference on The Environmental Chemistry Istanbul October 24-25 ,2022 Paris –france

# Determination the Concentrations Levels of Heavy metals in the seawater intake and surrounding area of desalination plants ,case study:  khoms plant "

Eng. Mohamed Elabbar , (  ms.elabbar@yahoo.com ),        Tel : +218914527677

........................................................................................

# Abstract

The desalination industries are considered to have a major role in developing human life. Recently this technology became widely distributed, and its construction along the coastal area has been widely reported. Many countries are adopting these technologies for securing the fresh water supply for consumer consumption all over the world. This situation has raised the need for researches to evaluate the Environmental Impact Assessment. (EIA) of these technologies on coastal line environment.

### This study has been directed to monitor sea water quality used for feeding desalination plants to determine the heavy metals ( Fe,Cu,Mn,Zn ) by using chemical monitoring system to know their effects on the desalination units and other components. This study was conducted in the year 2015 from March to October, Samples were collected from feed water intake of  Khomes Desalination Plant,  these plant were chosen because of their importance for supplying fresh water for potable water and industrial uses.

The results of this study showed monthly differences in most tested parameters, these differences lead to the scale and corrosion by precipitation on the components of the desalination unites. The objectives of this study is to know the main reasons which caused increasing these concentrates in the sea water ( study area ) and know how to deal with .

_________________

*key word (  Environment , Desalination, heavy metals, ,EIA Energy ,Climate change  )

The General Electricity Company of Libya ,(GECOL), Department manager ,Quality Power Studies dep.

Planning, Studies & Developing Deprt.    Environmental Consultant , Tripoli- Libya