Medical wearable devices challenges and concerns in IOMT: How artificial intelligence can help increase reliability and trust in medical wearable devices

Tahereh Moein

Islamic Azad University Central Tehran Branch, Iran

Abstract

Statement of the problem: Healthcare professionals and caregivers are very interested in remote monitoring of elderly people and patient vital signs, as well as their surrounding environment. These requirements have sparked enormous interest in the utilization and developing Medical Wearable’s, which are composed of small miniaturized sensors with wireless transmission capabilities. The use of Medical Wearable’s in the field of health care has recently made significant progress by using them in IOMT platforms, many medical diagnoses in the macro and micro fields have been established based on the data produced by these sensors to help patients, doctors and treatment teams.

While Medical Wearable’s have numerous advantages, they can be damaged easily so the sensor readings could be both unreliable and inaccurate, resulting from constrained hardware resources including reduced processing power, limited memory and energy resources and transmission range. They also prone to several types of irregularities such as interference, noise, sensor misplacement, sweating patients, exhausted energy resources and external hacks and malevolent attacks such as data injection, modification or replay attacks. There is confusing between critical health data and sensor anomaly. This may lead to unexpected results, faulty alarms and misdiagnosis & may lead to life threatening or even death for patients.

Findings: we propose a LSTM (Long Short Term Memory) neural network for real-time medical sensor bio-data anomaly detection. The proposed network utilizes a novel hybrid architecture consisting of Long Short Term Memory (LSTM) cells and Multi-Layer Perceptron (MLP).

Conclusion: An extremely important task is to detect abnormal measurements and differentiate between patient anomalies and sensor node faults to minimize false alarms.

We are able to detect erroneous measurements in Medical Wearable’s and differentiate between patient anomalies and node faults to minimize false alarms. Our solution will increase the reliability of medical wearable’s used for monitoring patients.

Biography

Tahereh Moein is an IT expert who has been worked more than 20 years in Information Technology section. She is an IT Solution Provider and project manager for more than 10 years in a wide variety of Information Technology Projects. After getting her M.S in IT management, she started her PhD in IT and focused in Artificial Intelligence high tech solutions especially on anomaly & fault detection in Wireless Body Area Network (WBAN) via Artificial Intelligent algorithms. The main module of "Online medical sensor anomaly detection" has been raised from her PhD's thesis. She is the member of CIPS CANADA (Canada’s Association of IT Professionals) and has got Confirmation for I.S.P (Information Systems Professional of Canada).