Validation of a rapid ultrasound-assisted extraction coupled with anion exchange chromatography method for the determination of D-psicose in raisin matrices

Fahmi Maulana Zulkarnaen1*, Widiastuti Setyaningsih1 and Miguel Palma2

1Gadjah Mada University, Indonesia

2University of Cadiz, Spain

Abstract

D-psicose is a rare sugar, used as an alternative to the natural sweetener that provides 70% of sucrose’s sweetness, with low-calorie absorption in the human body. Considering the health-beneficial effect and high availability of D-psicose in raisins (the world’s most consumed dried fruit), it is of interest to establish a reliable analytical method to determine D-psicose content in these matrices. Herein, a new method for determining D-psicose content in raisins, using Ultrasound-Assisted Extraction in conjunction with Anion Exchange Chromatography with Pulsed Amperometric Detection (UAE-HPAEC-PAD) systems, has been developed and validated. The stability of D-psicose and its precursor was priorly assessed by applying a specific ultrasound power (100 W) and pulse duty cycle (0.5 s−1), with varying extraction temperatures (10,25,40,55,70 and 85°C) and times (5,10,15,20 and 25 min). The method was validated with high linearity (R2>0.999), accuracy (89.78–101.06%) and precision (4.8% intra-day and 4.34% inter-day). A number of raisin products were checked during the method applicability assessment. A concentration of 520 mg kg−1 was found in a specimen of commercial raisin matrix.

Biography

Fahmi Maulana Zulkarnaen has completed his Master degree study in food science at the age of 23 years from Universitas Gadjah Mada Yogyakarta, Indonesia. He has published 2 papers in the field of ultrasound extractions and he was the active speakers about food science educations for youth in his locals organization.