Features of gas chromatographic-mass spectrometric determination of  o-phthalic  acid esters in  low alcohol wines coupled with emulsion liquid-phase microextraction preconcentration

Valentin A. Krylov*, Doctor of Science in Chemistry, N. I. Lobachevskii Nizhny Novgorod State University, Russia

Pavel V. Mosyagin, PhD, N. I. Lobachevskii Nizhny Novgorod State University, Russia

### Abstract

Esters of o-phthalic acid are very dangerous for human health. Their occurrence in wines is connected with the inflow from the plasticized polymer seals, plastic piping, tanks and stoppers. In this study the  high sensitive gas chromatographic-mass spectrometric determination of phthalates in low alcoholic beverages (champagne, red and white wine) coupled ultrasound-assisted emulsification-microextraction was  developed. As extractants environmentally friendly hydrocarbons - n-heptane and n-hexane are proposed.The sources of possible systematic errors were investigated:   leaking of o-phthalates from chromatographic septum; contamination of phthalates in solvents; influence of macro components of wines(sugar, alcohol, anthocyanins); the hydrolysis of o-phthalates and others. For the first time it is shown that the impact of these factors can lead to an overestimation or underestimation of the actual concentration of impurities by 1-2 orders of magnitude. The methods of accounting or elimination of systematic errors are proposed. Purification of solvents by Rayleigh distillation method allows to obtain samples with impurity content lower than (1-4).10-3mgL-1. Containers for sampling and storage of samples to be analyzed should be made of borosilicate glass or quartz. The content of o-phthalates in wines was 0.03 - 1 mgL-1. The largest concentrations are characteristic for diethyl-, di-n-butyl- and di(2-ethylhexyl) о-phthalates.

The limits of detection of esters of о-phthalic acid in low alcohol beverages achieved are at the level of 10-6–10-5 mgL-1 and are highly competitive with the best world results. Therelative expanded uncertainty of the determination of toxicants is at the level of 13- 30%.

Recent Publications (minimum 5)

- Krylov V.A., Krylov A.V., Mosyagin P.V.(2011) Liquid-Phase          Microextraction Preconcentration of Impurities. J.Anal.Chem.66:341-360.

- Krylov V. A.,  Volkova V. V. (2015) Sources of Systematic Errors in the        Gas Chromatographic Determination of Dialkyl o-Phthalates in Water J.Anal.Chem., 70:. 586–592.

- Krylov V. A., Nesterova V. V.  (2016) High-sensitive gas chromatographic-mass spectrometric determination of esters of o-phthalic acid in water with liquid-phase microextraction. Int. J. Pharma Bio Sci. 7(2):139 – 149.

- Montevecchi G.,   Masino F.,   Zanasi L.,   Antonelli A. (2017) Determination of phthalate esters in distillates by ultrasound-vortex-assisted dispersive liquid-liquid micro-extraction   (USVADLLME)  coupled with gas  chromatography/mass pectrometry.Food Chem., 221: 1354-1360.

- Cinelli G., Avino P., Notardonato I.,Centola A., Russo M. V. (2013) Rapid analysis of six phthalate esters in wine by ultrasound-vortex-assisted dispersive liquid–liquid micro-extraction coupled with gas chromatography-flame ionization detector or gas chromatography–ion trap mass spectrometry. Anal. Chim. Acta769:72– 78.

Biography

Krylov V. A. has completed his PhD from  Gorkiy State University, Russia. Currently, he is a professor at the Department of Analytical Chemistry of Nizhny Novgorod State University.The main direction of scientic research of professor Krylov is the development of the theory and applications of chromatography for the analysis of high purity substances, environmental objects and development of methods of the microextraction. He is the author of two monographs and over 200 scientic papers, including reviews on the analytical chemistry of air, high purity volatile substances and liquid-liquid microextraction. He presented papers in more than 75 russian and international conferences.

Email: k658995@mail.ru

Notes/Comments:

Presenting author details 
Full name: Valentin A. Krylov
Contact number: +78314623228

Twitter account:
Linked In account:

Session name/ number: Gas Chromatography
Category: Oral presentation