Design and operation of low energy consumption passive human comfort solutions

Abdeen Mustafa Omer*

### Energy Research Institute (ERI), Nottingham, United Kingdom

### Abstract

The use of renewable energy sources is a fundamental factor for a possible energy policy in the future. Taking into account the sustainable character of the majority of renewable energy technologies, they are able to preserve resources and to provide security, diversity of energy supply and services, virtually without environmental impact. Sustainability has acquired great importance due to the negative impact of various developments on environment. The rapid growth during the last decade has been accompanied by active construction, which in some instances neglected the impact on the environment and human activities. Policies to promote the rational use of electric energy and to preserve natural non-renewable resources are of paramount importance. Low energy design of urban environment and buildings in densely populated areas requires consideration of wide range of factors, including urban setting, transport planning, energy system design and architectural and engineering details. The focus of the world’s attention on environmental issues in recent years has stimulated response in many countries, which have led to a closer examination of energy conservation strategies for conventional fossil fuels. One way of reducing building energy consumption is to design buildings, which are more economical in their use of energy for heating, lighting, cooling, ventilation and hot water supply. However, exploitation of renewable energy in buildings and agricultural greenhouses can, also, significantly contribute towards reducing dependency on fossil fuels. This will also contribute to the amelioration of environmental conditions by replacing conventional fuels with renewable energies that produce no air pollution or greenhouse gases. This study describes various designs of low energy buildings. It also, outlines the effect of dense urban building nature on energy consumption, and its contribution to climate change. Measures, which would help to save energy in buildings, are also presented.

Figure 1 The major components and subcomponents of the natural environment

References

[1]L. Jeremy, The energy crisis, global warming and the role of renewables, Renewable Energy World 2005; 8 (2): 23-28.

[2]A. Omer, Low energy building materials: an overview, In: Proceedings of the Environment 2010: Situation and Perspectives for 	the European Union, Porto: Portugal. 6-10 May 2003, pp. 16-21.

[3]	UNEP, Handbook for the international treaties for the protection of the ozone layer, United Nations Environment Programme, Nairobi: Kenya, 2003, pp. 551-510.

[4]	D. Viktor, Ventilation concepts for sustainable buildings, In: Proceedings of the World Renewable Energy Congress VII,	Cologne: Germany. 29 June – 5 July 2002

[5]	J.C. Lam, Shading effects due to nearby buildings and energy implications, Energy Conservation and Management 2000; 47 (7): 647-59.

Biography

Abdeen Mustafa Omer (BSc, MSc, PhD) is an Associate Researcher at Energy Research Institute (ERI). He obtained both his PhD degree in the Built Environment and Master of Philosophy degree in Renewable Energy Technologies from the University of Nottingham. He is qualified Mechanical Engineer with a proven track record within the water industry and renewable energy technologies. He has been graduated from University of El Menoufia, Egypt, BSc in Mechanical Engineering. His previous experience involved being a member of the research team at the National Council for Research/Energy Research Institute in Sudan and working director of research and development for National Water Equipment Manufacturing Co. Ltd., Sudan. He has been listed in the book WHO’S WHO in the World 2005, 2006, 2007 and 2010. He has published over 200 papers in peer-reviewed journals, 50 review articles, 5 books and 50 chapters in books.