# Electrocoagulation flotation-based zero chemical operation of low cost and energy efficient municipal wastewater (pre-)treatment

Nazia Hassan1,2, Dries Parmentier1,3, Stijn Wim Henk Van Hulle1

1LIWET group, Department of Green Chemistry and Technology, UGent, Belgium

2Environmental Science Discipline, KU, Bangladesh

3Noah Water Solutions bvba, Belgium

### Abstract

### Statement of the Problem: Municipal wastewater (MWW) treatment technology application into real world depends on efficient operation at lower energy and chemical costs when reducing the environmental pollution. In the last two decades, electrocoagulation-flotation (ECF) was investigated with either synthetic MWW or with adjusted pH and conductivity, utilizing different current densities (CDs) in batch mode[1,2,3]. This study aimed to optimize ECF for real waste water treatment in a continuous mode. Methodology & Theoretical Orientation: Iron (Fe) sacrificial tubular metal anode used to treat freshly collected MWW at 10L/h flow rate. Different cathode materials (copper(Cu) and stainless steel(SS)), two or three times recirculation (2R and 3R) of ECF treated effluents and alternating plus current (APC) supply versus direct current (DC) supply were set as different parameters for optimization at various CDs (i.e., 12,24,36,40,80,120 and 160 A/m2). Optimized performances were evaluated based on removal of total Chemical oxygen demand(tCOD), total phosphate(TP), total nitrogen (TN)and three types of total operational expenses (OPEX) (sum of energy and electrode consumption). Heavy metals analysis were done also [3]. Findings: Operation of Fe ECF unit with 2R at 12 A/m2 resulted in optimized treatment performance, i.e. 78±11 % tCOD, 85±0.5 % TP and  32±22%TN removal at the lowest total OPEX (0.032± 0.001 Euro(€)/m3)[Figure 1]. The obtained lowest OPEX were 0.13± 0.07€/Kg tCOD removal and 24.60±3.85 €/Kg TP removal. Sludge production were also found lowest. Fe ECF were found beneficial to remove heavy metals (93±9 % Zn, 70±15% Pb and Cu 49±10%). Conclusion & Significance: Effluent of 2R Fe ECF at CD 12A/m2 (Opt2) contained higher biodegradable matter and TN,  suitable for subsequent simple biological treatment. In summary, ECF technology become a feasible technology by facilitating zero chemical use and energy efficient low cost MWW pre-treatment unit around the world. As well as potentially reduce footprint of conventional MWW treatment plant and control environmental pollution to attain environmental sustainability.

### Image

Recent Publications

- Chen G (2004) Electrochemical technologies in wastewater treatment. Separation and Purification Technology 38:1:11–41.

- Devlin TR, Kowalski MS., Pagaduan E, Zhang X, Wei V, Oleszkiewicz JA (2019) Electrocoagulation of wastewater using aluminum, iron, and magnesium electrodes. Journal of Hazardous Materials 368:862–868.

- Elazzouzi M, Haboubi K, Elyoubi MS (2017) Electrocoagulation flocculation as a low-cost process for pollutants removal from urban wastewater. Chemical Engineering Research and Design 117: 614–626.

- Parmentier D, Manhaeghe D, Baccini L, van Meirhaeghe R, Rousseau Diederik PL, van Hulle Stijn WH (2020) A new reactor design for harvesting algae through electrocoagulation-flotation in a continuous mode. Algal Research 47:101828:1-7.

- Lakho FH, Le HQ, van Kerkhove F, Igodt W, Depuydt V, DeslooverJ, Rousseau Diederik PL, van Hulle Stijn WH (2020) Water treatment and re-use at temporary events using a mobile constructed wetland and drinking water production system. Science of the Total Environment 737:139630:1-9.

Biography

Nazia Hassan has her expertise in wastewater treatment and water quality management to protect environmental pollution as well as public health. Her PhD work on zero chemical electrocoagulation-flotation (ECF) system used to treat municipal wastewater (MWW) of Kortrijk, Belgium, and Khulna, Bangladesh, funded by Prime Minister Fellowship Fund of Bangladesh Government. Demonstrated efficient removal of tCOD,TP, turbidity, heavy metals, and pathogens. Optimized Fe ECF unit excelled for low-cost and energy-efficient operation with environmental suitability. As a current PhD student of LIWET group under Department of Green Chemistry and Technology under Ghent University, Belgium, and a faculty member of Environmental Science Discipline, Khulna University, Bangladesh (since 2008), she has experiences in research, teaching, guiding thesis students and administration. ECF  technology for MWW pre treatment facility creates an enormous opportunities in both developing and developed countries for sustainable developments. As well as  bridging knowledge and technology transfer  from developed to developing countries

Email: nazia.hassan@ugent.com &nazia02ku@es.ku.ac.bd

.

Notes/Comments:

This project is funded by the Prime Minister Fellowship Fund, Bangladesh Government.

Presenting author details 
Full name: Nazia Hassan
Contact number:+32485299036
Twitter account:
Linked In account: nazia hassan

Session name/ number: Track 1 Pollution

Category: (Oral presentation)