Comparative Study Between The Solar Tracking Modes of a Solar    Parabolic Trough Collector

Hicham BOUZAGHBAT, Rachid BENCHRIFA
Laboratory of Condensed Matter and Interdisciplinary Sciences, Faculty of Sciences, Rabat, Morocco

Abstract:

Parabolic trough collectors currently represent the most cost-effective solar technology for developing large utility-scale solar electric power systems. the parabolic trough collector uses only direct solar radiation, this requires a continuous sun tracking system. This work relates to the numerical simulation of the incident solar flow in an inclined plan (the inclination angle = latitude of place), also the numerical simulation of the fluid heater flow in the absorber tube of a solar parabolic trough collector. For a reason to calculate the outlet temperature of the fluid, in the particular days of the year, we have established a mathematical model to control the outlet temperature of the fluid as well as the temperatures of the absorber and the glass cover. According to the simulation results, the polar East-West and horizontal East-West tracking systems are most desirable for a parabolic trough collector.

Références:

- Duffie, J.A., Beckman, W.A., 1991. Solar Engineering of Thermal Process. John Wiley & Sons Inc., New York.

- Thorsten A. Stuetzle, Nathan Blair, John W. Mitchell, William A.Beckman, Automatic Control of the 30 MWe SEGS VI parabolic trough plant ,Solar Energy, Vol 76 pp187-193.2004

- N. El Gharbi., H. Derbal., S. Bouaichaoui. and N. Said; A comparative study between parabolic trough collector and linear Fresnel reflector technologies; Energy Procedia, 6, 565–572 (2011)

- M. Capdrou; Atlas Solaire de l’Algérie, Modèles Théoriques et Expérimentaux, Volume1, Tome 2 ; Office des Publications Universitaires, Algérie (1987).

- O. Garcia –Valladares and N. Velazquez; Numerical simulation of parabolic trough collector: improvement using counter flow concentric circular heat exchangers; International journal of heat and mass transfer, Vol. 52 (3-4), 597–609 (2009).

Biography :  Hicham Bouzaghbat is from Morocco. He is working in Laboratory of Condensed Matter and Interdisciplinary Sciences. He done his research on solar energy.