Electrochemical Determination of Thiamethoxam in Food and Water Samples via on Fe2O3 -melamine Schiff base derived g-C3N4 composite

Atul Kapoor*, Jaspreet Kaur Rajput

Department of Chemistry,

Dr. B.R Ambedkar National Institute of Technology, Jalandhar-144011, Punjab, India.

Email: atulkapoork@yahoo.in

Abstract

Thiamethoxam (TMX), a class of neonicotinoid pesticide is broadly utilized in agronomy. Because of their high solubility in water, TMX can be transported to surface waters and can possibly be poisonous to human and aquatic existence. The current study reported the synthesis of Fe2O3 -melamine Schiff base derived g-C3N4 via a facile and effective methodology. The prepared composite was well characterized by diverse characterization techniques like Powder X-ray diffraction (XRD), Fourier transformation infrared spectroscopy (FTIR), X-ray photoelectron spectroscopy (XPS), Brunauer, Emmett and Teller (BET), Field emission scanning electron microscopy (FESEM) with energy dispersive spectrometry (EDS) mapping, High-resolution transmission electron microscopy (HRTEM) and UV Visible spectrophotometer, which depicted the formation of desired pure composite material. Further, the prepared Fe2O3 -melamine Schiff base derived g-C3N4 modified glassy carbon electrode (GCE) was applied for the detection of TMX, a class of neonicotinoid pesticide. Additionally, the influence of numerous parameters such as the amount of electroactive material loaded, pH of the solution, accumulation temperature, and accumulation time was also studied to achieve efficient detection. Furthermore, the cyclic voltammetry (CV) and linear sweep voltammetry (LSV) revealed that the fabricated composite acts as an excellent sensor for the electrochemical determination of TMX and attained a very low limit of detection (0.137 µM / 39 ppb) with a broad linear range of 0.01–200.00 µM. Further, to evaluate the stability of the designed sensor; the prepared Fe2O3 -melamine Schiff base derived g-C3N4 was also coated on the screen-printed electrode and the electrochemical experiment was performed by it for a period of 30 days. It was depicted that the proposed sensor afforded satisfactory stability, reproducibility as well as repeatability for TMX detection. Moreover, the current work also offers a promising approach for the electrochemical detection of TMX in real samples like potato, rice, and river water.

References

- Robinson, S. A. et al. Assessment of Sublethal Effects of Neonicotinoid Insecticides on the Life-History Traits of 2 Frog Species. Environ. Toxicol. Chem. 38, 1967–1977 (2019).

- Raby, M. et al. Acute toxicity of 6 neonicotinoid insecticides to freshwater invertebrates. Environ. Toxicol. Chem. 37, 1430–1445 (2018).

- Costa, F. P., Caldas, S. S. & Primel, E. G. Comparison of QuEChERS sample preparation methods for the analysis of pesticide  residues in canned and fresh peach. Food Chem. 165, 587–593 (2014).

- Đurović, A. et al. Development and Validation of Chronopotentiometric Method for Imidacloprid Determination in Pesticide Formulations and River Water Samples. Int. J. Anal. Chem. 2016, 5138491 (2016).

- Guzsvany, V., Gaál, F., Bjelica, L. & Ökrész, S. Voltammetric determination of imidacloprid and thiamethoxam. J. Serbian Chem. Soc. 70, 735–743 (2005).