Evaluation of Surface Roughness and Bacterial Adhesion After Finishing Procedures in Temporary Crown Materials

Eralp EVRAN, DDS PhD, Private Practice, Gaziantep, TURKEY.

Ozge PARLAR OZ, DDS PhD, Gaziantep University, Faculty of Dentistry, Gaziantep, TURKEY.

Asude Dilek NALBANT, DDS PhD, Gazi University, Faculty of Dentistry, Ankara, TURKEY.

Yasemin ZER, MD, Gaziantep University, Faculty of Medicine, Gaziantep, TURKEY.

Ayse BUYUKTAS MANAY, MSc Bio, Gaziantep University, Faculty of Medicine, Gaziantep, TURKEY.

It is important to use a temporary restoration until the treatment is finished in order to protect the prepared teeth and ensure the patient's comfort during the construction of fixed restorations. Today, polymethyl methacrylate, polyethyl methacrylate, urethane dimethacrylate and bis-Acryl resins are used as permanent temporary restoration materials. Polymerization in these materials can be activated chemically, by light or by both chemical and light. In recent years, temporary restorations have also been produced by forming pre-polymerized resin blocks industrially with Computer Aided Design/Computer Aided Manufacturing (CAD/CAM) technique. The aim of this study is the ideal finishing process of temporary crown materials; it is to prepare restorations in the most ideal way by detecting surface roughness and bacterial adhesion parameters. It is planned to prepare 144 samples from 6 different temporary crown materials that will be used in the study. Samples from each group of temporary materials were divided into two subgroups (n=12). After finishing the samples, surface roughness values were measured using an optical profilometer. Surface roughness values were measured and compared after applied surface treatments. Scaning electron microscobe (SEM) analysis was performed for one sample from each group. A bacterial adhesion test was performed to determine whether there was bacterial involvement on the surfaces of the samples. As a result of our study, it was observed that there was less bacterial involvement in the polishing samples. The most bacterial involvement was observed in the polyethylmethacrylate control and bis acrylic composite control group. In addition, intra-group surface roughness was increased after polishing in all groups except polymethylmethacrylate.

Presenting author details 
Full name: Assoc. Prof. Dr. Özge PARLAR ÖZ 
Contact number: +90 5327270401
Twitter account: none
Linked In account:none

Session name/ number: 
Category:Oral presentation