Abstract

Dosimetric Comparison between Intensity modulated radiotherapy versus volumetric modulated arc therapy treatment plans for Breast Cancer

Rahman M1, Dr. Md. Akhtaruzzaman 3, H.A.Azhari1, G.A. Zakaria1, 2, Md. Atiquzzaman 4

1Dept. of Medical Physics and Biomedical Engineering, Gono University, Dhaka, Bangladesh.

2Dept. of Medical Radiation Physics, Gummers Bach Hospital, Academic Teaching Hospital of the University of Cologne, Gummers Bach, Germany.

3Dept of Labaid Cancer Hospital and Super Speciality Center, Dhanmondi, Dhaka.

4. Dept. of Enam Cancer Center, Savar, Dhaka.

mafuzrana348@gmil.com

Purpose: This study compared the dosimetric characteristics of volumetric modulated arc therapy and Intensity modulated radiotherapy techniques regarding target volume coverage and dose to heart, spinal cord, and lung for patients with breast cancer. We analyzed the dosimetric differences of plans in the treatment planning system between VMAT and IMRT in treating breast cancer.

Method and Materials: Treatment plans were analyzed for 10 patients. Patients were treated with a technique that concurrently combines IMRT beams and the VMAT technique. IMRT treatments are generated using 4 tangential fields IMRT and VMAT plans were made with one arcs fields for the same patients. IMRT and VMAT treatments plans were planned for 50 Gy in 25 fractions. All treatment plans were planned due to protocols & the patient’s condition. Comparative endpoints were dose homogeneity within PTV, target dose coverage, doses to the critical structures and number of monitor units, treatment delivery time. Both plans were optimized to Dose-volume histograms values.

RESULT: The IMRT & VMAT average mean heart dose was (cGy), V30 (%) and V33 (%) for the heart were 453.7±75.5,0.85%±0.06% and 0.19%±0.017% by VMAT, and 421.7±48.6 ,0.25%±0.11% and 0.016%±0.011% by IMRT, respectively. The left lung mean dose (cGy), V10 (%), V20 (%) were significantly reduced from 1459.5±36.99, 36.5%±0.96% and 19.1%±0.51% with VMAT to 1356.2±48.77, 35.7%0.49% and 18.27%±0.64 with IMRT, respectively. The mean dose (Gy), 0.03 cc for the spinal cord were by 1 872.6 ± 25.64 cGy VMAT, and 872.6 ± 25.64 cGy by IMRT, respectively.

Conclusion: IMRT plans showed significantly higher mean dose coverage to the PTV and conformity, homogeneity Index better than the VMAT plans. The IMRT plans typically had more favorable dose characteristics to the lung, heart, spinal cord and body dose when compared with VMAT. The main important advantage of VMAT is MU & treatment delivery time better than IMRT.

Key words: Breast Cancer; Radiotherapy; VMAT; IMRT.

Biography: Mahfuzur Rahman works at Gono University, Bangladesh. He has attended several conferences all around the globe.