## Slide 1
Hydrodynamic Chromatography Coupled to ICP-MS for Studying Nanoparticles in Complex Media
Allan Philippe
University of Koblenz-Landau, Germany
London, 14.03.2016
International Conference and Exhibition on HPLC and Chromatography Techniques

## Slide 2
Introduction
The dark side of a revolution…
Barnes D. K. A. et al. (2009), Philos. T. Roy. Soc. B.

## Slide 3
C(0)
Introduction
The dark side of a revolution?
SiO2
Ag(0)
Zhang, W. (2003). J. Nanopart. Res.
Fe(0)
http://www.maisonbrico.com/mb_images/divers/IMP400/
PeinturesEnduitsDeco400/DIY02G02C018P05-400.jpg
http://www.aboneobio.com/blog/images/JUILLET
_2010/filtres-solaires-chimiques-ou-naturels.jpg
TiO2
ZnO
Environmental fate?

## Slide 4
Introduction
Fate of nanoparticles in the environment
Liu, H. H. and Cohen, Y. (2014), Environ. Sci. Technol.
Liu, H. H. and Cohen, Y. (2014), Environ. Sci. Technol.
Accumulation in the sediments?
Most relevant processes occur in the water phase.
Final concentrations in water
< 1 µg.L-1

## Slide 5
Introduction
The analytical toolbox

## Slide 6
Hydrodynamic chromatography
Size exclusion
Field flow fractionation
Field: hydrodynamic,
centrifugal, electric…
Introduction
Separation techniques

## Slide 7
What is HDC-ICP-MS?
Principle of hydrodynamic chromatography
Higher flow velocity
Lower flow velocity
Mc Hugh A. and Brenner H. (1984), Crit. Rev. Anal. Chem.

## Slide 8
Mc Hugh A. and Brenner H. (1984), Crit. Rev. Anal. Chem.
R. Tijssen et al. (1986), Anal. Chem.
Principle of hydrodynamic chromatography
What is HDC-ICP-MS?

## Slide 9
Principle of ICP-MS
Low detection limit for most metals
Low matrix sensitivity
Minimal sample perturbation
High sample throughput
What is HDC-ICP-MS?

## Slide 10
Optimisation of eluent composition and flow rate (retention time and recovery)
Development of a new time marking method
Characterisation of size calibrants (Au, Ag, SiO2) by electron microscopy, DLS and NTA
Development of a quantification method
Philippe, A. and Schaumann, G. E. (2014) PLoS ONE
Evaluation of HDC-ICP-MS
Method development

## Slide 11
Evaluation of HDC-ICP-MS
SiO2 particles
Humic acids
Ag(0) particles
Example: multi-detector approach
Moderately soft water containing:
humic acids - 5 mg L-1
SiO2 particles - 200 nm, 10 mg L-1
Ag(0) particles - 20 nm, 5 µg L-1
Humic acids
10 particles of SiO2 for 1 Ag(0)

## Slide 12
Effect of temperature on the retention factor
Effect of the density and the coating of the particles on the retention factor
Elution behaviour of non-spherical particles
Philippe, A. et al. (2014) Anal. Meth.
Evaluation of HDC-ICP-MS
Method development

## Slide 13
Evaluation of HDC-ICP-MS
Example: universal calibration
Ag(0)
Au(0)
SiO2
Poly.
Philippe, A. et al. (2014) Anal. Meth.

## Slide 14
Peak height
∝ mass
Retention time
related to the
effective diameter
Number of peaks
∝ concentration
HDC-SP-ICP-MS
Principle of single particle analysis

## Slide 15
HDC-SP-ICP-MS
Principle of single particle analysis
Retention time
from HDC
Effective diameter = DE
Peak height
from sp-ICP-MS
„Core“ diameter = DC ∝ mass
=
=
=
=

## Slide 16
Rakcheev, D., Philippe A. et al. (2014), Anal. Chem.
HDC-SP-ICP-MS
Application: structure of homo-agglomerates
Also available from the data:
Particle elemental density
Agglomerate fractal dimension

## Slide 17
HDC - SP - ICP - MS
Size calibrants
Size
Concentration
calibrants
Number
concentration
Mass
calibrants
Density
(geometry)
Elemental composition
Mass concentration
Conclusions and outlook
Potential of HDC-SP-ICP-MS
Elemental
mass distribution
Size
Concentration
calibrants

## Slide 18
Soil and environmental chemistry
Marie Gangloff
Miriam Schäfer
Denis Rakcheev
Wolfgang Fey
Acknowledgements
The group…
For co-authoring/collaborating…
Cooperation partners…
For financing…
For helping…

## Slide 19
Philippe A. et al. (2014), Anal. Meth.
II: Evaluation of HDC-ICP-MS
Example: effect of particle shape
Intrinsic effect of the shape
RF correlated with the aspect ratio
Affinity effects excluded

## Slide 20
Chart: DC in nm
| 20 | 80
x = y | 20 | 80
 | 42 | 63 | 75
Chart: DC in nm
20 80 | 20 | 80
Ag(0) pentagonal prisms
Philippe A. et al. (2014), Anal. Meth.

## Slide 21
Model
Tijssen R. et al., Anal. Chem., 1986.

## Slide 22
Eluent
Water based
Phosphate buffer: pH = 7-8 (adjustable)
Stabilisator: formaldehyde
Surfactants: SDS, Triton® X-100, Brij® L23
50 ppt of CsCl
G. R. McGowan et al., J. Colloid Interf. Sci., 1982.

## Slide 23
Quantification (ICP-MS)
Quantification possible…
…and independent on size.
Philippe and Schaumann, in prep.
Notes: Example with gold in HA and ions

## Slide 24: Analysis of ions
Composition (from XRD and ICP-OES measurements):
Na1.6Ca1.1(UO2)2(PO4)2.7∙nH2O
Lattice geometry: cubic or prismatic