## Slide 1: Load Bearing Clip Angle Design
By:
Dr. Cheng Yu, Professor
Mohamad Yousof, Graduate Student
Mahsa Mahdavian, Graduate Student
Department of Engineering Technology
AISI COS COFS Meetings
September 23, 2016
2nd World Congress and Exhibition on Construction and Steel Structure
September 22-24, 2016 Las Vegas, Nevada, USA

## Slide 2: Cold-Formed Steel Structures and Clip Angle Connectors

## Slide 3: Research Objectives
Transverse shear capacity of the cantilevered leg.
Axial compression capacity of the cantilevered leg.
Pull-over strength on fasteners of the anchored leg.

## Slide 4: Task 1: Shear Capacity
Test Setup
Hydraulic
cylinder
Load cell
Stud column
Load strap
½” thick strap
2-Stud column
Clip angle
Lateral supports
Disp. sensor

## Slide 5: Scope 1: Shear Capacity
Test Setup
#14 Screws
N0. 10 BHSC Screws

## Slide 6: Local buckling failure

## Slide 7: Lateral-torsional buckling failure

## Slide 8: Shear Test Results Compared with AISC Design
 | Method A | Method B
Mean | 0.550 | 1.110
St. Dev. | 0.491 | 0.385
COV | 0.893 | 0.346
Vest / Vn
Total 33 shear tests

## Slide 9: Proposed Shear Design
Nominal shear strength for cantilevered leg of a clip angle
New method based on Direct Strength Method concept
= 2.80 for ASD
= 0.55 for LRFD
= 0.45 for LSD

## Slide 10: Elastic Buckling Solution
R2 = 0.9992

## Slide 11: Proposed Design Method Compared with Test Results
R2=0.956

## Slide 12: Task 2: Compression Capacity
Test Setup

## Slide 13: Compression Tests S7 -12ga

## Slide 14: Test Results Compared with AISI Design Methods
AISI S214 – Gusset Plate Design
AISI S100 – Compression Member Design
AISI S100 – Webcrippling Design
Total 36 tests

## Slide 15: Proposed Compression Design Method
New method based on AISI/AISC column design theory and use
elastic buckling solutions of plate column
1/8” deformation limit met
= 3.25 for ASD
= 0.50 for LRFD
= 0.40 for LSD

## Slide 16: Proposed Compression Design Method
New method based on AISI/AISC column design theory and use
elastic buckling solutions of plate column
Houbolt, J. C., Stowell, E. Z. (1950). “Critical Stress of Plate Columns” Technical Note 2163, National Advisory Committee for Aeronautics, Washing, DC, August 1950.
KL/r

## Slide 17: Comparison with Test Results
R2=0.909

## Slide 18: Task 3: Tension/Pull-Over Strength
Test Setup
A total of 38 valid tests

## Slide 19: Typical Behavior

## Slide 20: Pull-Over Test Results
Chart: 
| 0.94133306538599992 | 0.62785981440000005 | 0.62785981440000005 | 0.62785981440000005 | 0.62785981440000005 | 0.94133306538599992 | 0.59897976320000001 | 0.9413324386666666 | 0.9413324386666666 | 0.59897976320000001 | 0.59897976320000001 | 0.76657229459999987 | 0.76657229459999987 | 0.76657229459999987 | 0.76657229459999987 | 0.59897976320000001 | 0.59897976320000001 | 0.9413324386666666 | 0.9413324386666666 | 0.9413324386666666 | 0.59897976320000001 | 0.76657229459999987 | 0.9413324386666666 | 0.9413324386666666 | 0.76657229459999987 | 0.76657229459999987 | 0.76657229459999987 | 0.59897976320000001 | 0.59897976320000001 | 0.91707150079999999 | 0.91707150079999999 | 0.91707150079999999 | 0.91707150079999999 | 0.91707150079999999 | 0.91707150079999999 | 1.4412325846666665 | 1.4412325846666665
Ptest/Paisi | 0.71895 | 0.56167 | 0.49834 | 0.53413 | 0.60572 | 0.70059 | 0.55702 | 0.52567 | 0.48757 | 0.41053 | 0.31673 | 0.41438 | 0.34785 | 0.45271 | 0.46906 | 0.32828 | 0.28284 | 0.37049 | 0.4164 | 0.44028 | 0.44807 | 0.50343 | 0.52767 | 0.4793 | 0.49461 | 0.49084 | 0.46117 | 0.4026 | 0.36651 | 0.62489 | 0.60602 | 0.59472 | 0.57302 | 0.61355 | 0.70216 | 0.58892 | 0.6231
Mean | 0.503
St. Dev. | 0.109
COV | 0.217
Ptest/Paisi
A total of 38 valid tests
AISI existing design

## Slide 21: Proposed Design Method
Proposed nominal pull-over strength of screws used in clip angles
= 3.00 for ASD
= 0.50 for LRFD
= 0.40 for LSD

## Slide 22: Conclusions
Existing AISI and AISC design methods do not have reasonable perditions to the clip angle’s strength in three limit states.
New design methods were developed:
  Shear Strength without Consideration of Deformation
  Shear Strength with Consideration of Deformation
  Compression Strength
  Pull-Over Strength of Screws
A target reliability index of 3.5 was used for determining the LRFD, LSD resistance factors and the ASD safety factors according to ICC-ES AC261.

## Slide 23: Acknowledgements
Funding Agent: American Iron and Steel Institute
Material Donation: Simpson Strong-Tie, HILTI
Technical Advising: AISI Project Monitoring Task Group
UNT undergraduate students:
Derrick Nathan
Emmanuel Velasco
Tom Kalisky