## Slide 1: Lung-2015 Baltimore, USA July 13 - 15, 2015
Du Toit Loots

## Slide 2: William Shakespeare – Hamlet (1623)
"To be, or not to be, that is the question—
Whether 'tis Nobler in the mind to suffer
The Slings and Arrows of outrageous Fortune,
Or to take Arms against a Sea of troubles,
And by opposing end them? To die, to sleep—
No more; and by a sleep, to say we end…."
In the speech, a despondent or feigning Prince Hamlet contemplates death and suicide. He bemoans the pains and unfairness of life but acknowledges the alternative might be still worse.

## Slide 3
Prof Du Toit Loots
Infectious Disease Metabolomics Laboratory, North-West University - Human Metabolomics, Potchefstroom, 2520, South Africa.
Email: dutoit.loots@nwu.ac.za
"TB or not TB"
That is the question -
Understanding and Diagnosing
TB using Metabolomics

## Slide 4: South Africa

## Slide 5: South Africa

## Slide 6: Global TB prevalence

## Slide 7: NWU-Human Metabolomics
Potchefstroom

## Slide 8: Tuberculosis: Shocking Statistics
Infectious disease of primarily lungs – M. tuberculosis
2nd most deadliest infectious disease (after HIV)
⅓ of global population infected
9 million new cases per year
1,4 million deaths per year of which 25% are HIV co-infected
MDR-TB, XDR-TB is on the rise in many countries
Despite fervent research efforts since it's discovery in 1882 – TB is still considered a global epidemic
Major reasons – insufficient diagnostic methods
New approaches for biomarker ID = Metabolomics?

## Slide 9: Metabo-WHAT-ics????
?
?
?
?
?
?
?

## Slide 10: Metabolomics
Unbiased, identification and quantification of ALL intra- and extra-cellular metabolites (small molecule intermediates and products of metabolism) present in a biological system/sample (cell, body fluid, tissue, organism), using highly selective and sensitive analytical methods (such as liquid/gas chromatography and mass spectrometry), in conjunction with bioinformatics for identifying new metabolite markers, at a specific point in time and under certain conditions.
Uses: Identifying compounds / markers of a perturbation

## Slide 11: Systems Biology
Systems / Integrative
Biology
DNA
RNA
Proteins
Metabolites

## Slide 12: NWU-Human Metabolomics
LC-MS:
Agilent 6410 LC-QQQ
Agilent 6460 LC-QQQ
Agilent 6220 LC-TOF
Agilent 6510 LC-QTOF
Agilent LC-MSD XCT Plus IonTrap
Agilent LC-UV(DAD)
Synapt G2 SI UPLC QTOF Plus Ion Mobility
GC-MS:
Agilent GC-MSD
Agilent GC-QQQ
Leco Pegasus 4D GCxGC-TOFMS
Leco GC-TOFMS
CE:
Agilent CE
NMR:
Bruker 500Mhz

## Slide 13: Untargeted and Semi-targeted metabolomics
Untargeted:
GCxGC-TOFMS
UPLC-TOFMS Ion Mobility
NMR
Semi-Targeted GC-MS/LC-MS:
Free Fatty Acids
Long Chain Fatty Acids
Organic Acids
Acylcarnitines
Amino Acids
Samples
Blood
Urine
Tissue
Sputum
Cell Cultures
Plant
Skin Secretions (Frogs)
CSF
Etc…

## Slide 14: Metabolomics workflow
Metabolite Markers

## Slide 15: Our Journey
2) TB Diagnostics:
  I. Olivier & Du T. Loots. (2011). An overview of tuberculosis treatments and diagnostics. What role could metabolomics play? J Cell Tissue Research, 11(1): 2655-2671.
1) TB Characterization:
  J.C. Schoeman & Du T. Loots. (2011). Improved disease characterization and diagnostics using metabolomics: A review. J Cell Tissue Research, 11(1): 2673-2683.

## Slide 16: Metabolomics Methodology:
Total Lipid Extraction Method
"Total Metabolome Extraction Method"
Olivier & Loots. (2012). African Journal of Microbiology Research
Du Preez & Loots. (2013). African Journal of Microbiology Research

## Slide 17: Applications of Methodologies
Cell Cultures
1) Total Lipid Extraction Method
2) Total Metabolome Extraction Method
Applications?
a) Diagnostics
Olivier & Loots. (2012). Journal of Microbiological Methods
Patent: PCT/IB2012051995
b) Drug Resistance
Rif: Olivier & Loots. (2012). Omics.
a) Virulence
Meissner-Roloff et al. (2012). Metabolomics (hyper vs hypo)
Swanepoel et al. (2013). Metabolomics (ESX-1)
b) Growth
Loots et al. (2013). Metabolomics (ESX-3)
Loots et al., submitted, Metabolomics (Iron)
c) Drug Resistance
INH: Loots 2014. Antimicrobial Agents and Chemotherapy
b) Diagnostics
Patient sputum samples

## Slide 18: Metabolomics for TB Diagnostics

## Slide 19: Speciation

## Slide 20
Diagnostics - Speciation

## Slide 21
Characteristics of Sputum:
Mucus in lower airways of individuals suffering from pulmonary diseases
Populated by M. tuberculosis in pulmonary TB patients
High viscosity and uneven consistency
Problematic regarding repeatability esp. when chromatographic MS methods are used
4 sputum preparation methods were investigated:
Pooled TB-negative sample: 50% used as is (TB negative)
50% spiked with M. tuberculosis (TB positive)
Sputolysin - 1:1 v/v
N-Acetyl-L-cysteine + NaOH (0.5N NALC + 20% NaOH) - 1:1 v/v
1M NaOH - 2:1 v/v
Ethanol homogenization (40% EtOH) - 2:1 v/v
TB or not TB - Sputum

## Slide 22
Homogenization
Total Metabolome Extraction Procedure
(Olivier & Loots. 2012)
GCxGC-TOFMS Analysis
Standard Metabolomics Data Processing
ChromaTOF Statistical Compare
50% filter, QC Correction, QC-CV filter

## Slide 23
Extraction Efficiency

## Slide 27
Applied to Patient Sputum

## Slide 28
Peak Alignment (Statistical Compare)
2037 compound peaks identified
Data Processing
Deconvolution (ChromaTOF)
Standard Metabolomics Data Clean-up
50% filter, QC Correction, QC-CV filter
498 Compounds after Data Clean-up
PCA Analysis

## Slide 29
PCA Analysis
Data set comprising of only the 498 selected compounds after data clean-up
Venn-diagram
ES
>0.3
PLS-DA > 1.0
t-test < 0.05
PCA
>0.1
80
38
41
53
22
3 Unique markers:
98% Specificity and 100% Sensitivity compared to culture (Gold Standard)

## Slide 30
Urine:
Predicting Treatment Outcome

## Slide 31
Urine:
Predicting Treatment Outcome

## Slide 32: TB Diagnostics
Symptomatic Patient | 
3 Markers sputum
TB or not TB?
Culturing (2-8 weeks)
Smear microscopy
-Poor detection limit-10 000 cells/ml
Gene amplification
-Poor sensitivity, false positives, expensive
Drug Resistance
Culturing (8-16 weeks)
Gene amplification
Speciation
Gene amplification
Predicting Treatment Outcome /Treatment Monitoring
Culturing (2-16 weeks)
Gene amplification
Smear microscopy
-98% sensitivity
-100% specificity
-1 Hour turnaround time
-Inexpensive after infrastructure purchased
PCA plot: Treatment response-Cured vs Failed
Point of care
Nanotechnology
Patent: PCI/IB 2012051995
Current
Future with metabolomics
Metabolomics Drug Resistance Markers?
Differentiate Cured vs Failed at time of Diagnosis – Predict Response to Frist Line Medication

## Slide 33: Metabolomics Contact:
Email: dutoit.loots@nwu.ac.za

## Slide 34: Meet the eminent gathering once again at Lung & Respiratory Care -2016 Manchester, UK August 01 - 03, 2016
Lung & Respiratory Care – 2016 Website: lung.conferenceseries.com