## Slide 1: REFRACTIVE CATARACT SURGERY FOUNDATION AND OPTIONS
Fuxiang Zhang, MD
Henry Ford Health System
USA
August 11, 2017
Beijing

## Slide 2
HENRY FORD HEALTH SYSTEM

## Slide 3: FINANCIAL DISCLOSURE
No financial or proprietary interest in any material or method mentioned in this presentation.

## Slide 4: WHAT IS REFRACTIVE CATARACT SURGERY?
Traditional cataract surgery
Refractive cataract surgery:
decreased dependence on glasses or contact lenses.

## Slide 5: PERCENTAGE
My own clinical survey
  50% partial
  25% total.
If cost factor is eliminated, the percentage will be much higher.

## Slide 6
TORIC
LRI
REFRACTIVE CATARACT SURGERY
ACCOMMODATIVE
MULTIFOCAL
FLACS
LIGHT ADJUSTED
CONSULT
AVOID
C/I
BIOMETRY
IOL MONOVISION
REAL ACCOMODATIVE
EDOF

## Slide 7: WHEN WE DID NOT HAVE IOL

## Slide 9: HISTORY
Harold Ridley invented and performed first IOL 11/29/1949 in England.
He noticed no inflammation from the injured eye Royal Air Force pilot of World War II, Gordon Cleaver, a splinter of acrylic plastic in the eye.
First IOL surgery in USA in 1952 at Wills Eye.
FDA approval in 1981.

## Slide 10: HISTORY OF REFRACTIVE CATARACT SURGERY
The first known pseudophakic monovision paper was published by Boerner and Thrasher1 in 1984.
The first toric IOL study was from Japan published in JCRS in 1994.2 It was a PMMA IOL. Big incision.
The first foldable toric IOL was Staar Toric. Approval by FDA in November 1998.
First multifocal IOL Array IOL of AMO. FDA approval in 1997.
Notes: I did about a few hundreds of Staar Toric.

## Slide 11: ONLY <10% GLASSES FREE IF AIMING AT EMMETROPIA OU

## Slide 12: WHY START FROM IOL MONOVISION?
If one does not know how to do a good IOL monovision, one can not be a great refractive cataract surgeon.
What is monovision?

## Slide 13: WHY DO WE STILL USE IOL MONOVISION?

## Slide 14
Courtesy of Alcon Laboratories, Inc. Fort Worth, TX USA

## Slide 15: THE FOUNDATION OF REFRACTIVE CATARACT SURGERY

## Slide 16: WHY DO WE STILL USE IOL MONOVISION?
Still the most common surgical option for presbyopia. Almost twice as common when compared to premium IOLs per 2013 ASCRS survey3.
The trend is more now, about 25% of all IOLs implanted in 2014 in USA.

## Slide 17: WHY DO WE STILL USE IOL MONOVISION?
Good vision quality.
High satisfaction rate.
IOL exchange is rare.
Unique beauty is back up glasses can fully reverse bilateral visual function if needed.

## Slide 18: TEN-YEAR IOL MONOVISION REVIEW
All of my 5660 cataract patient charts from 2004 to 2014 were reviewed. 359 qualified, 194 enrolled. Average follow up 35 months.
De-identified survey sent out for each patient to improve accountability and reliability.
I did not have direct access for the original data.

## Slide 19: PATIENT SATISFACTION
Chart: 
| A. Really like it (133) | B. Like it (55) | C. Neutral (4) | D. Don't like it (2)
Sales | 0.686 | 0.284 | 0.021 | 0.01

## Slide 20: GLASSES INDEPENDENCE
Chart: 
| A. Not at all (81) | B. Back up (75) | C. Sometimes, still less often than before surgery (35) | D. All the time (3)
Sales | 0.418 | 0.387 | 0.18 | 0.015

## Slide 21: DEPTH PERCEPTION
Chart: 
| A. Not a problem at all (139) | B. Pretty much problem free (44) | C. It doesn't bother me (10) | D. A big problem. I have to wear glasses to avoid it (1)
Sales | 0.716 | 0.227 | 0.052 | 0.005

## Slide 22: NIGHTTIME DRIVING
Chart: 
| A. No need to wear glasses and I have no problem (104) | B. Need glasses only if heavy traffic or bad weather (28) | C. Need glasses for all night time driving (26) | D. Don't drive at night time due to vision problems (3)
Sales | 0.646 | 0.174 | 0.161 | 0.019

## Slide 23: IT IS OPHTHALMOLOGIST CHOICE4
Monovision 45% (37% regular IOL+8% Crystalens)
Emmetropia OU monofocal IOL with reading glasses 37%
Multifocal 16%
Emmetropia OU with Crystalens 2%
Notes: It was a survey of 97 participating ophthalmologists in eyeCONNECTIONS online, North American anonymous to encourage candor and cost is not a factor in the survey description.
So monofocal and multifocal as two groups is 84% and 16%.

## Slide 24
Notes: Among all the slides today, this is my favorite one. It is unbiased decision.

## Slide 25: WHY DO WE SAY FOUNDATION?
Easier to make patients happy because:
  Cost less than other modalities.
  Downsides are negligible.
  Good vision quality.
  More predictable and reliable.

## Slide 26: WHY DO WE SAY FOUNDATION?
You are ready for premium IOL if you are good at:
  Preoperative consultation.
  Near perfect biometry and surgical skills.
  Skills for astigmatism correction.

## Slide 27: NEW TECHNOLOGIES
IOL monovision is not perfect and is not the summit.
Surgeons should keep an open mind and keep trying new things.
I started Toric IOL, Multifocal IOL and EDOF IOL at the same year when they were first approved by FDA.
I have used all FDA approved premium IOLs in USA.

## Slide 28: ASTIGMATISM CORRECTION
Limbal relaxing incision
Toric IOL

## Slide 29
Notes: FDA 1998

## Slide 30: ACRYLIC TORIC
Notes: 2005

## Slide 31: MANUAL LRI

## Slide 32: LASER CREATED LRI

## Slide 33: FIRST MF IOL ARRAY 1997

## Slide 34: MULTIFOCAL IOL, ReStor

## Slide 35: MULTIFOCAL IOL
Array lens from Advanced Medical Optics (AMO) was approved by FDA in 1997.
  Five zones. 1 3 5 for far and 2 4 for near
  I myself Implanted a few in 1998
  Good thing: No extra cost to patients at that time.
ReZoom also from AMO was approved by FDA in 2005. It was the second generation of Array lens, also refractive MF IOL.
ReStor from Alcon was approved by FDA in 2005.

## Slide 36: ReStor IOL
It is a diffractive IOL.
Splits incoming light into far and near
Incoming light was designed to split to create separate distance and near focal points to see both far and near with high spectacle independence.

## Slide 37: ADVANTAGES
High percentage of glasses freedom.
Generally speaking, patient satisfaction is high.
Newer generations better quality than old ones.

## Slide 38: DISADVANTAGES
Decreased contrast sensitivity.
Halo and glare.5Zhang6Wilkin7Packer
Much higher rate of IOL exchange.8Chang

## Slide 39: March 2011

## Slide 40: JOURNAL OF CATARACT & REFRACTIVE SURGERY
Notes: March 2011. It triggered a national debate, which one is better, monovision or Restor?

## Slide 41: IF YOU STILL USE MF
Try to avoid those patients who drive at night.
Consider patient height and arm length and reading posture habit when you choose add power.
Do the nondominant eye first and then give the patient at least a few weeks to test the tolerance. This is to decrease IOL exchange rate.
Better CCC with laser.

## Slide 42: ACCOMMODATIVE IOL
The ideal IOL.
New products are in the pipeline now.

## Slide 43: ACCOMMODATIVE IOL
Crystalens from Bausch & Lomb is the only accommodative IOL approved by FDA in USA since 2003.
Trulign Lens from the same company is the combination of Crystalens and toric addition to correct astigmatism.
1CU accommodative IOL of HumanOptics, Erlangen, Germany is available in Europe and the rest of the world, but not FDA approved in the USA.

## Slide 44: ACCOMMODATIVE IOL, CRYSTALENS
Notes: Hinges and grooves

## Slide 45: ADVANTAGES
Monofocal, no increased halo or glare.
Successful patients can be very happy with good glasses independence.

## Slide 46: DISADVANTAGES
Glasses independence is not as good as MF IOL.
The forward movement can become an issue when the joints are covered by fibrotic scar tissue.
Not as predictable and durable.

## Slide 47: DISADVANTAGES
Pseudo accommodative.9Pepose
significant percentage of paradoxical posterior optic movement during accommodative effort.9Pepose
Higher YAG capsulotomy rate10ong
Z-syndrome often needs IOL exchange.

## Slide 48: PEARLS
Use mini-monovision to enhance near vision.
Crossed IOL monovision works.11Zhang
Good centration of CCC with FLACS provides extra value
Complete cortex removal and bag polishing prior to the insertion.
Rotate the IOL 180 or 360 is advisable.
Good wound structure without leaking is a must.

## Slide 49: EXTENDED DEPTH OF FOCUS (EDOF)
Currently it seems to be the most favored premium IOL.

## Slide 50: ZXROO and ZXT

## Slide 51: WHAT IS CHROMATIC ABERRATION?
The power of the eye is wavelength dependent. Colors that are out-of-focus cause blur and reduce contrast.
The phakic eye has approximately 1.38 D of chromatic aberration between 450 and 700 nm. Pseudophakic eyes have between 1.45 and 2 D of chromatic aberration, depending on the dispersion of the IOL material
2. DOF2015OTH0004. 2. Data on file. Longitudinal Chromatic aberration of a monofocal TECNIS Achromat IOL. 3.Weeber et al. Differences in Chromatic Aberration of IOLs, ESCRS 2016.
PP2016CT1448

## Slide 52
Typical IOL
TECNIS Symfony® Diffractive Technology
Cornea
+
=
Cornea
+
=
ACHROMATIC TECHNOLOGY
A DIFFRACTIVE IOL WITH ACHROMATIC TECHNOLOGY CAN CORRECT CHROMATIC ABERRATION OF THE EYE
PP2016CT1448

## Slide 53: SYMFONY IOL
It induces -0.27 microns of spherical aberration to compensate positive spherical aberration from cornea.12Yuan
Together with diffractive technology, Symfony implant elongates the focus and increases the contrast.13Cochener

## Slide 54: Achromatic Technology DRIVES CONTRAST ENHANCEMENT
LCA = 1.20 Diopters3
LCA = 0.14 Diopters
Photopic Pupil
Mesopic Pupil
1. Weeber, H.A., & Piers, P.A. (2012). Theoretical Performance of Intraocular Lenses correcting both Spherical and Chromatic Aberration. J Refr Surg, 28 (1), 48-52.; 2. Artal, P., Manzanera, S., Piers, P., & Weeber, H. (2010). Visual effect of the combined correction of spherical and longitudinal chromatic aberrations. Opt Express, 18 (2), 1637-1648.; 3. Chromatic aberration between 500nm and 640nm, Nagata et al, 1999; ; 4. Piers et al, “IOLs for the Combined Correction of Chromatic and Spherical Aberration” ASCRS 2008
4
4
Correction of longitudinal chromatic aberration (LCA) enhances contrast.
Correction of corneal chromatic aberration results in a sharper focus of light.
Combined with spherical aberration correction, retinal image quality increases, without negatively affecting depth of focus.
The benefits of chromatic aberration correction occur for all pupil-sizes.
PP2016CT1448
Notes: Tecnis Symfony induces -.27 microns of SA.

## Slide 55: Visual Symptoms TECNIS Symfony® IOL MINIMIZES NIGHT VISION SYMPTOMS
Simulated photopsia images for conceptualization only.
Defocus curves originate from different studies and methods vary between studies.
ZCB00
ZXR00
ZLB00
3.25 add
PP2016CT1448

## Slide 56
Forgiveness
TECNIS Symfony ® IOL's DESIGN DELIVERS TOLERANCE TO ASTIGMATISM
An eye with astigmatism has greater power in one axis and lower in the other.
              This generates multiple focal “points/ lines” in the eye.
The TECNIS Symfony® IOL design elongates depth of focus, resulting in an extended range of vision.
This tubular zone of good focus creates both depth of focus and tolerance to astigmatism.
Elongated focus
ENHANCED FUNCTIONALITY
PP2016CT1448

## Slide 57
ENHANCED FUNCTIONALITY
Forgiveness
TECNIS Symfony® IOL’s DESIGN DELIVERS TOLERANCE TO DECENTRATION
Tolerance to decentration was assessed in physiological raytracing models and shows similar tolerance to decentration as the TECNIS® monofocal IOL.
The TECNIS Symfony® IOL is tolerant to decentration throughout 0.75mm of decentration1.
1. DOF2016CT0023 TECNIS Symfony® IOL Tolerance to decentration
PP2016CT1448

## Slide 58
Notes: 85% is a very good high number. It is not a multifocal IOL and glare/halo reported much lower than MF.

## Slide 59: SYMFONY LENS
85% is a very good number.
Doing well in Europe in the last few years according to published papers.
My limited experience has been good so far, but still need minimonovision to enhance near vision and most patients still have some mild glare and halo at nighttime driving.

## Slide 60: PEARLS AND PITFALLS
Near vision is limited, so minimonovision is still recommended at -0.50 D level to enhance near vision.
Preoperative consultation still important for halo and glare.

## Slide 61: FEMTOSECOND LASER ASSISTED CATARACT SURGERY (FLACS)
Invented in the 90s by Ron Kurtz, MD
LenSx from Alcon (California USA) was approved for cataract surgery by FDA in September 2009.
LRI and CCC size and centration are the main advantages.
More accurate and precise.

## Slide 62: LenSx Laser

## Slide 63: CCC SIZE AND CENTRATION

## Slide 64: CORNEAL THICKNESS

## Slide 65: LRI AND FRAGMENTATION

## Slide 66: COMPARISON

## Slide 67: COMPARISON
Germany, JCRS 201514Conrad-Hengerer
100 patients, intraindividually randomized, 100 eyes each method. Follow up up to 6 months.
92% in FLACS 71% in MCS within ± 0.50 D of target. P<0.05. No LRI in either group.
FLACS had faster visual recovery and earlier stabilization of refraction.

## Slide 68: COMPARISON

## Slide 69: COMPARISON
Austria, JCRS 201715Mursch-Edlmayr
50 patients, intraindividually randomized, 50 eyes each method. Follow up up to 6 months.
No statistically significant differences in all major outcomes including:
  endothelial cell density,
  central corneal thickness,
  central retinal thickness,
  Effective phaco time,
  IOL centration.

## Slide 70: COMPARISON

## Slide 71: COMPARISON
Ophthalmology 201616Popovic
15 randomized trials in 10 years from 2007 to 2016.
14,567 eyes
Primary outcomes of UCDVA and CDVA, refractive endpoint, there were no statistically significant difference.
Effective phaco time, postop corneal thickness favor FLACS with statistically significant difference.
PC rent more in FLACS with statistically significant difference.

## Slide 72: PERSONAL EXPERIENCE
It is a fantastic technology.
Does have indications for certain patients, mainly for more precise LRI and CCC size and centration.
Not impressed with main incision and cut ability in very dense cataract. Main incision variation.
The cost is the major disadvantage.

## Slide 73: SUMMARY
Refractive cataract surgery is the future trend.
IOL monovision is a premium practice; it requires accurate biometry, seamless surgical skills and detailed preoperative consultation.
Surgeons should keep mind open and try new technologies.
Follow evidence based principle.
Be ethical and professional.

## Slide 74
TORIC
LRI
REFRACTIVE CATARACT SURGERY
ACCOMMODATIVE
MULTIFOCAL
FLACS
LIGHT ADJUSTED
CONSULT
AVOID
C/I
BIOMETRY
IOL MONOVISION
REAL ACCOMODATIVE
EDOF

## Slide 75: REFERENCES
Boerner CF, Thrasher BH. Results of monovision correction in bilateral pseudophakes. J Am Intraocul Implant Soc. 1984 Winter;10(1):49-50.
Shimizu K et al. Toric intraocular lenses: correcting astigmatism while controlling axis shift. JCRS 1994;20 (5) : 523-526
ASCRS Clinical Survey 2013. EyeWorld Vol.18, Number 11. November 20 2013
Gossman M. What intraocular lens would you want in your eyes. EyeWorld July 2016 page 34
Zhang F, Sugar A, Jacobsen G, Collins M. Visual function and patient satisfaction: Comparison between bilateral diffractive multifocal intraocular lenses and monovision pseudophakia. J Cataract Refract Surg. 2011 Mar;37(3):446-53.
Wilkins, MR. MD, FRCOphth, et al, Randomized Trial of Multifocal Intraocular Lenses versus Monovision after Bilateral Cataract Surgery, Ophthalmology, 2013-12-01Z, Volume 120, Issue 12, Pages 2449-2455.
Packer M, Chu YR, Waltz KL, Donnenfeld ED, Wallace RB, Featherstone K, Smith P, Bentow SS, Tarantino N. Evaluation of the Aspheric Tecnis Multifocal Intraocular Lens: One-Year Results from the First Cohort of the Food and Drug Administration Clinical Trial. Am J Ophthalmol 2010;149: 577-584.
Chang DH Interview. Low-Add multifocal and extended-depth-of-focus IOLs. Cataract 360. Volume 1 Number 4. November 2016.

## Slide 76: REFERENCES
Pepose JS, Burke J, Qazi MA. Benefits and barriers of accommodating intraocular lenses. Curr Opin Ophthalmol. 2016 Sep 20.
Ong HS, Evans JR, Allan BD. Accommodative intraocular lens versus standard monofocal intraocular lens implantation in cataract surgery. Cochrane Database Syst Rev. 2014 May 1;(5):CD009667. doi: 10.1002/14651858.CD009667.pub2.
Zhang F, Sugar A, Arbisser L, Jacobsen G, Artico J Crossed versus conventional pseudophakic monovision, J Cataract Refractive Surg. 2015;41:1845-1854.
Yuan L, Bao Y. Analysis of the cornea spherical aberration in people with senile cataract. Zhonhua Yan Ke Za Zhi. 2014 Feb; 50(2): 100-4
Cochener B. Clinical outcomes of a new extended range of vision intraocular lens: international multicenter concerto study. J Cataract Refract Surg 2016; 42: 1268-1275
Conrad-Hengerer A, Sheikh MA, Hengerer FH, et al. Comparison of visual recovery and refractive stability between femtosecond laser-assisted cataract surgery and standard phacoemulsification: six-month follow-up. J Cataract Refract Surg 2015; 41:1356-1364
Mursch-Edlmayr A, Bolz M, Luft N et al. Comparison between femtosecond laser-assisted and conventional cataract surgery. J Cataract Refract Surg. 2017;43:215-222
Popovic M, Campos-Moller X, Schlenker MB, Ahmed IK. Efficacy and safety of femtosecond laser-assisted cataract surgery compared with manual cataract surgery. Ophthalmology 2016;123:2113-2126

## Slide 77
THANK YOU