## Slide 1: Measurement of Regional Metabolic Liver Function by Non-invasive Dynamic 18F-FDGal PET/CT
Jacob Horsager
Department of Nuclear Medicine & Pet-Centre
Department of Hepatology & Gastroenterology
Aarhus University Hospital, Denmark

## Slide 2: PRIMARY MESSAGE
3D images of regional hepatic metabolic function can be generated from 20 min dynamic PET/CT

## Slide 3: Agenda
Description of the method
  PET-procedure
Non-invasive
Perspectives

## Slide 4: Measurement of global liver function
Galactose elimination capacity test (GEC)
Galactose injection
Max. Removal Rate (Vmax)
Healthy vs sick

## Slide 5: Measurement of regional liver function
Liver specific tracer: 18F-FDGal
Dynamic PET/CT
Kinetic analysis

## Slide 6: PET-tracer
18F-FDGal – liver specific
Commercially available products
Same setup as 18F-FDG-synthesis
Frisch, K et al., Nuclear Medicine and Biology, 2007

## Slide 7: PET-procedure
Supine position
CT
Injection of 100MBq 18F-FDGal
20min dynamic PET in list mode

## Slide 8: Dynamic 18F-FDGal PET/CT

## Slide 9: Metabolism
Sorensen, M et al. J. Nucl. Medicine, 2011
Galactokinase

## Slide 10: Kinetics
Clearance depends on the amount of galactokinase
Enzyme determined clearance
Amount of galactokinase reflects the metabolic condition of the liver
Clearance can be measured by dynamic PET
Sorensen M et al. J Nuclear Medicine 2011;52(10):1566-1572.
Sorensen M et al. J Hepatol. Jun 2013;58(6):1119-1124.

## Slide 11: Calculations
1) Input: TAC from arterial blood
2) Output: TAC from liver on dynamic PET
Gjedde-Patlak kinetic analysis
Clearance /
Hepatic metabolic function

## Slide 12: The Parametric Image
Sørensen M, et al.
J Hepatol 2013;58:1119-1124.
[mlblood /mlliver tissue /min]
Healthy subjects (n=8): Kmet 0.27 mL blood/mL liver tissue/min. CoV: 14%.
Patients with liver disease (n=9): Kmet 0.16 mL blood/mL liver tissue/min. CoV: 24%.

## Slide 13: Non-invasive
Horsager et al. EJNMMI Research (2015) 5:32

## Slide 14: Non-invasive
1) Input: TAC from arterial blood
2) Output: TAC from liver on dynamic PET
Gjedde-Patlak kinetic analysis
Clearance /
Hepatic metabolic function
Input: TAC from Aorta-VOI (PET)
Horsager et al. EJNMMI Research (2015) 5:32

## Slide 15: To sum up
Clearance of 18F-FDGal can be quantified in vivo, with a 20 min dynamic PET/CT
Clearance of 18F-FDGal reflects the hepatic metabolic function
We can investigate the regional metabolic differences from parametric images
The method is non-invasive except from iv tracer administration

## Slide 16: Perspectives
Stereotactic radiotherapy
Partial liver resection
Sørensen M, et al. J Hepatol 2013;58:1119-1124.

## Slide 17: TAKE HOME MESSAGE
3D images of regional hepatic metabolic function can be generated from 20 min dynamic PET/CT

## Slide 18: Acknowledgements
Danish Cancer Society
Aase and Ejnar Danielsens Foundation
Oticon Foundation
Collaborators:
  Michael Sørensen
  Susanne Keiding
  Ole Lajord Munk
  Gerda Villadsen
  Kim Frisch
  Lars Larsen

## Slide 19: ?