## Slide 1: A study of indications, complications of prosthetic valves and prognosis after treatment of stuck valve
Dr. Kavya Pingali MD.DM
Dr. YV Subba Reddy, Dr. O Adikesava Naidu, Dr. Srikanth Nathani, Dr. Sreenivas Rao Malladi
Osmania General Hospital, Hyderabad, India
Government General Hospital, Guntur, India
World Heart Congress
May 22- 24, 2017 Osaka, Japan

## Slide 2: Background
About 100 million people are affected with valvular heart disease in the world, which has been allied with significant morbidity and mortality
Though, surgery has been the mainstay for its treatment, prosthetic valve implantation has transpired extensively in past few years

## Slide 3: Background
However, prosthetic valves are not devoid of complications, which include:
  Valve thrombosis
  Primary structural failure
  Endocarditis
  Pseudoaneurysm
  Obstruction of valve due to thrombosis or pannus formation

## Slide 4: Background
The common causes of the complications are:
  Inappropriate anticoagulant therapy
  Valve-related causes
  Pathogenic causes
  Valve-related causes include:
  Thrombogenicity of valve material
  Flow separation and stagnation
  Shear stress
  Damage of blood elements and endothelium with platelet activation
  Release of thrombogenic factors

## Slide 5: Background
Pathogenic causes include:
  Mitral position of the prosthesis
  Type of prosthesis
  Atrial fibrillation
  Left atrium enlargement
  Ventricular dysfunction
  Multiple valve replacements
  Pregnancy
  Traumatic manipulation of the prosthesis
  Ebstein’s anomaly

## Slide 6: Background
With the passage of years, thrombolysis has been preferred as an alternative to surgery; fibrinolysis, heparin treatment or optimization of anticoagulant and antiplatelet therapy have been considered depending on the presence of obstruction, prosthesis location, thrombus size and clinical status
However, each of the therapeutic modalities have been associated with some or other complications and the optimal management of patients with prosthetic valve thrombosis remains controversial

## Slide 7: Objective
To evaluate the indications for implantation of prosthetic valve and complications after its implantation and prognosis after treatment of one of its complication, i.e., stuck valve

## Slide 8: Methods
Single-centered study
50 patients who came to the emergency department with stuck valve were assessed
The 2D echocardiography was done in all patients
Prosthetic valve was also observed under fluoroscopy
All patients included in the study had clinical and echocardiographic evidence of some complication in the previously implanted prosthetic valve
Each patient was carefully evaluated echocardiographically for the presence of any clot and/or pannus

## Slide 9: Methods
All patients underwent detailed clinical evaluation, basal routine investigations, which included haemogram, biochemical tests, International Normalised Ratio (INR)
Chest x-ray were also carried out
Thrombolysis was done and the gradients were reassessed
Further response to treatment and development of complications before and after treatment were observed

## Slide 10: Results
Patient Characteristics | N=50
Females, % | 60%
Mean age group, yrs | 30-40
Shortness of breath, % | 80%
Palpitations, % | 20%
Tachycardia, % | 80%
BP <100/70, % | 80%
Hb <8gm%, % | 60%
Raised serum bilirubin, % | 46%
Raised urea and creatinine, % | 32%
INR <1.5, % | 26%
Duration of valve implantation, yrs | 6 yr
Baseline demographics and clinical presentation of patients with stuck valve

## Slide 11: Results
Indications | N=50
Mitral stenosis | 60%
Mitral regurgitation | 20%
Aortic stenosis and aortic regurgitations | 10%
Mitral regurgitation + Tricuspid regurgitation | 10%
Indications for valve replacement

## Slide 12: Results
Drug used was Acitrom (Acenocoumarol) 2 mg in 90% patients and drug interaction with digoxin was seen in 4% patients
Cardiomegaly - 60% patients
Global hypokinesia - 60% patients
Commonest valve - St. Jude (90%)
Sizes of valves used - 22, 23, 25, 26 and 27 mm; 25 mm valves were implanted in 50% of patients
Pannus was observed in 10% patients and thrombus was observed in 50% patients

## Slide 13: Results
Most patients had gradients 45/20 mmHg across mitral valve
In about 90% patients gradients decreased after thrombolysis (12/5 mmHg)
The complications on thrombolysis were:
  Hemiparesis - 4% patients
  Death before thrombolysis - 6% patients
  Death after thrombolysis - 4% patients

## Slide 14: Discussion
The conventional strategy for management of prosthetic valve thrombosis has been thrombectomy or prosthesis replacement, but it suffers a major limitation of high surgical mortality such that rates of mortality have been about 60%
The high mortality rates have led to increased usage of thrombolysis, which has been easy to implement, lower cost and is allied with lower mortality rates than surgery
In present study, all patients with prosthetic stuck valve were managed with thrombolysis using streptokinase

## Slide 15: Discussion
The duration between implantation of prosthetic valve and diagnosis of complications has been very variable
Some studies have reported it to be as less as about 10 days after valve replacement to about 10 years after replacement
Occurrences of early prosthetic valve thrombosis have been linked with a worse prognosis and considerably higher in-hospital mortality as compared to those with late incidence

## Slide 16: Discussion
Thrombolysis has also been associated with some complications like hemiparesis, cerebrovascular accident, etc.
In this study, the complications after thrombolysis were hemiparesis (4%), death before thrombolysis (6%) and death after thrombolysis (4%)
Moreover, thrombolysis for prosthetic valve thrombosis with streptokinase and/or urokinase was found to be effective with a low risk of complications and a high rate of success in various Indian studies
Various studies have also proposed that thrombolysis can be considered first-line treatment in all patients with prosthetic valve thrombosis unless any contraindications exist

## Slide 17: Conclusion
In light of these results, it can be concluded that prosthetic valves are seldom associated with some complications
Further, thrombolysis can be effective in patients with prosthetic valve thrombosis

## Slide 18: References
Dangas GD, Weitz JI, Giustino G, et al. Prosthetic heart valve thrombosis. Journal of the American College of Cardiology 2016;68(24):2670-2689.
Vesey JM, Otto CM. Complications of prosthetic heart valves. Current Cardiology Reports 2004;6(2):106-111.
Bonnichsen CR, Pellikka PA. Prosthetic valve thrombus versus pannus. Am Heart Assoc 2015;8:e004283.
Piper C, Horstkotte D. State of the art anticoagulation management. The Journal of Heart Valve Disease 2004;13:S76.
Salem DN, Stein PD, Al-Ahmad A, et al. Antithrombotic therapy in valvular heart disease-native and prosthetic: the Seventh ACCP Conference on Antithrombotic and Thrombolytic Therapy. Chest 2004;126(3 Suppl):457S- 482S.
Becker RC, Eisenberg P, Turpie AG. Pathobiologic features and prevention of thrombotic complications associated with prosthetic heart valves: fundamental principles and the contribution of platelets and thrombin. American Heart Journal 2001;141(6):1025- 1037.

## Slide 19: References
González ET, Martín JAF, Palomino MAP, et al. Thrombolysis of thrombosed heart valve prostheses: presentation of 2 cases and review of the literature. Rev Esp Cardiol 1990;43(5):342-351 .
Roudaut R, Serri K, Lafitte S. Thrombosis of prosthetic heart valves: diagnosis and therapeutic considerations. Heart 2007;93(1):137-142.
Kontos GJ, Schaff HV, Orszulak TA, et al. Thrombotic obstruction of disc valves: clinical recognition and surgical management. The Annals of Thoracic Surgery 1989;48(1):60-65.
Cáceres-Lóriga FM, Pérez-López H, Morlans-Hernández K, et al. Thrombolysis as first choice therapy in prosthetic heart valve thrombosis. A study of 68 patients. J Thromb Thrombolysis 2006;21(2):185-190.
Kumar S, Garg N, Tewari S, et al. Role of thrombolytic therapy for stuck prosthetic valves: a serial echocardiographic study. Indian Heart J. 2001;53(4):451-457.
Kurzrok S, Singh AK, Most AS, et al. Thrombolytic therapy for prosthetic cardiac valve thrombosis. J Am Col Cardiol 1987;9(3):592- 598.

## Slide 20: References
Roudaut R, Lafitte S, Roudaut MF, et al. Fibrinolysis of mechanical prosthetic valve thrombosis. J Am Col Cardiol 2003;41(4):653-658.
Dürrleman N, Pellerin M, Bouchard D, et al. Prosthetic valve thrombosis: twenty-year experience at the montreal heart institute. The Journal of Thoracic and Cardiovascular Surgery 2004;127(5):1388-1392.
Tsai KT, Lin PJ, Chang CH, et al. Surgical management of thrombotic disc valve. The Annals of Thoracic Surgery 1993;55(1):98-101.
Roudaut R, Labbe T, Lorient-Roudaut MF, et al. Mechanical cardiac valve thrombosis. Is fibrinolysis justified? Circulation 1992;86(5 Suppl):II8-15.
Ledain LD, Ohayon JP, Colle J, et al. Acute thrombotic obstruction with disc valve prostheses: diagnostic considerations and fibrinolytic treatment. J Am Col Cardiol 1986;7(4):743-751.
Witchitz S, Veyrat C, Moisson P, et al. Fibrinolytic treatment of thrombus on prosthetic heart valves. British Heart Journal 1980;44(5):545-554.

## Slide 21: References
Gupta D, Kothari SS, Bahl VK, et al. Thrombolytic therapy for prosthetic valve thrombosis: short-and long-term results. American Heart Journal 2000;140(6):906- 916.
Rajasekhar D, Balakrishnan KG, Venkitachalam CG, et al. Thrombolytic therapy for prosthetic cardiac valve thrombosis. Indian Heart Journal 1993;46(2):101-105.
Agrawal D, Dubey S, Saket B, et al. Thrombolytic therapy for prosthetic valve thrombosis in Third World countries. Indian Heart Journal 1996;49(4):383-386.
Cáceres-Lóriga FM, Pérez-López H, Santos-Gracia J, et al. Prosthetic heart valve thrombosis: pathogenesis, diagnosis and management. International Journal of Cardiology 2006;110(1):1-6.