## Slide 1: Resolving terahertz spectral mixtures using the blind source separation approach
a method to study the dehydration kinetics

## Slide 2: Presentation outline
The blind source separation (BSS)
Dehydration studies
Possible applications
Problem statement

## Slide 3: Presentation outline
The blind source separation (BSS)
Dehydration studies
Possible applications
Problem statement

## Slide 4: Problem statement
Change in physical and chemical properties of the API
Possibility of reduced shell life
More expensive drugs
?
Polymorphic and pseudo-polymorphic phase transitons
Well known example: chloramphenicol palmitate

## Slide 5: Terahertz spectroscopy

## Slide 6: Spectral mixture
?

## Slide 7: Presentation outline
The blind source separation (BSS)
Dehydration studies
Possible applications
Problem statement

## Slide 8: Presentation outline
The blind source separation (BSS)
Dehydration studies
Possible applications
Problem statement

## Slide 9: Blind source separation
N. Dobigeon, S. Moussaoui, J.-Y. Tourneret and C. Carteret, “Bayesian separation of spectral sources under non-negativity and full additivity constraints,” Signal Processing, vol. 89 (12), pp. 2657-2669, 2009.
Iterative character
Sample the multidimensional PDF with the parameters dependent on the estimation error
Unknown
Unknown
Unknown
Known

## Slide 10: Results of deconvolution
Percentage accuracy!

## Slide 11: Results of deconvolution
Unknown
Unknown
Known
=
×
L. A. Sterczewski, M. P. Grzelczak, K. Nowak, B. Szlachetko, and E. F. Plinski, “Bayesian separation algorithm of THz spectral sources applied to D-glucose monohydrate dehydration kinetics,” Chemical Physics Letters, vol. 644, pp. 45–50, 2016.

## Slide 12: Presentation outline
The blind source separation (BSS)
Dehydration studies
Possible applications
Problem statement

## Slide 13: Presentation outline
The blind source separation (BSS)
Dehydration studies
Possible applications
Problem statement

## Slide 14: α-D-Glucose dehydration
Hydrate
Dehydrate
H2O
t>40°C
Objective: Determine the concentration profile in time

## Slide 15: α-D-Glucose dehydration
[1]: 1.19 - 1.56 THz band (2006)
(39.6 – 52.0 cm-1), inspiration of work
BSS Method : full band
Hydrate
Dehydrate

## Slide 16: Glucose dehydration at 46°C
Dehydrated glucose
Hydrated glucose

## Slide 17: Comparison of methods: BSS vs PA
BSS algorithm yields a conclusion that
the dehydration is completed sooner

## Slide 18: Comparison of methods: BSS vs PA

## Slide 19: Arrhenius plot
Arrhenius plot-ready form:
L. A. Sterczewski, M. P. Grzelczak, K. Nowak, B. Szlachetko, and E. F. Plinski, “Bayesian separation algorithm of THz spectral sources applied to D-glucose monohydrate dehydration kinetics,” Chemical Physics Letters, vol. 644, pp. 45–50, 2016.
131.6 kJ mol−1

## Slide 20: α-D-Lactose dehydration
L. A. Sterczewski, M. P. Grzelczak, and E. F. Plinski, “Heating system of pellet samples integrated with terahertz spectrometer,” Review of Scientific Instruments, vol. 87, no. 1, p. 13106, Jan. 2016.

## Slide 21: α-D-Lactose dehydration
L. A. Sterczewski, M. P. Grzelczak, and E. F. Plinski, “Heating system of pellet samples integrated with terahertz spectrometer,” Review of Scientific Instruments, vol. 87, no. 1, p. 13106, Jan. 2016.

## Slide 22: Presentation outline
The blind source separation (BSS)
Dehydration studies
Possible applications
Problem statement

## Slide 23: Reaction kinetics in native packaging

## Slide 24: BSS – Pros and Cons
Not sensitive to overlapping peaks
Possible estimation of multiple compounds
Use of the full band
Less sensitive to spectral artifacts
More precise
Sophisticated implementation
Computational complexity
Does not work when no evolution is present

## Slide 25: Thank you!