## Slide 1
Monitoring Acid-Catalyzed Hydrolysis of Sucrose Through Low-Resolution NMR Relaxometry
Simge Tutku Yildirim, Alper Söyler, Mecit Halil Oztop
Department of Food Engineering, Middle East Technical University, 06800, Ankara, Turkey

## Slide 2: NMR Relaxometry ? MRI in Foods?

## Slide 5: Spin-spin Relaxation Time -T2- Relaxation Spectrum
Non negative Least Square Analysis (NNLS)
CPMG Decay
Time (ms)
M0
Relaxation Spectrum
Log (T2)
1st Peak 2nd Peak 3rd Peak

## Slide 7
1 Tesla
3 Tesla
0.32 Tesla
0.5 Tesla

## Slide 8
MAGNET
SPECTROMETER

## Slide 9: Monitoring Chemical Reactions
Many analytical techniques (IR, UV, Raman) are used to monitor chemical reactions.
–For many reactions these techniques show important features of the reaction process and therefore provide a great deal of information to apply to a process.
–Some features, such as structural isomers and low level impurities are not typically observed.
–Utilization of NMR provides additional “molecular resolution” at the process development stage to provide many details about the process (e.g. mechanistic details, kinetics of impurity formation, etc…)
•On-line NMR is a very powerful tool for monitoring reaction progression as well as providing mechanistic insight into the synthesis.
What type of NMR experiments are talking?

## Slide 14
What about Medium and Low-Resolution NMR (<0.5 T)?

## Slide 18: What we did ?

## Slide 20
Acid Catalyzed Sucrose Hydrolysis at 10 % , 15 , 20 % sucrose concentration for 30 oC and 45 oC
Chart: Time (min)
| 3 | 24 | 48 | 120 | 168 | 216 | 312
10%_30C | 0.019396 | 0.36938 | 0.91447 | 1.6833 | 3.1113 | 3.4963 | 3.7377
10%_45C | 1.9431 | 5.7464 | 9.4358 | 9.735
15%_30C | 0.72956 | 4.6786 | 9.2103 | 10.1942 | 10.7555
15%_45C | 6.0098 | 9.9444 | 13.1329 | 16.0419
20%_30C | 2.1135 | 7.9225 | 9.6181 | 14.2403 | 20.3322
20%_45C | 5.0178 | 14.2046 | 15.9096 | 21.3268

## Slide 21
Representative T2 CPMG Decay Curves
Mono-Exponential Fitting
Bi-Exponential Fitting
T2_Mono
T2_Bi_a
T2_Bi_b

## Slide 22
Chart: NMR T2 Relaxation Spectrum

## Slide 23: Monitoring Reaction by T2 ?

## Slide 24: Conclusion
It is definitely true that sucrose in solution is expressed as two compartments in a T2 Relaxation spectrum.
Longer T2 compartment’s is well correlated at different temperatures and concentrations during hydrolysis
It is mostly associated with exchanging –OH groups in the solution.
Fructose and Glucose –OHs could be the reason of this behavior.
Fructose and Glucose’s individual relaxation behavior should be examined.
NMR T2 Relaxometry has the potential to be used as a reaction monitoring tool
Wider concentration range can be used to obtain concrete results.

## Slide 25: Questions ?