## Slide 1: Impact of sludge properties on solid-liquid separation of activated sludge
Morten Lykkegaard Christensen
Department of Chemistry and BioScience
Aalborg University, Denmark

## Slide 2: Institut for Kemi og Biovidenskab
Treated
wastewater
CAS/MBR
Dewatering
Urban
wastewater
Post treatment
Agriculture (fertilizer)
Incineration
Landfilling
Excess sludge
Mechanical
treatment
Sludge

## Slide 3: Outline
What is sludge?
Filtration of sludge
Cake compressibility (inorganic and organic particles)
Sludge characteristic
  Hardness and conductivity
  Floc strength

## Slide 4
Activated sludge
Sludge flocs (30-170 µm)
Filaments
Single cells (1-10 µm)
Extracellular polymer substances EPS (0.02-0.03 µm)
Divalent ions (Calcium and Iron)
Monovalent ions

## Slide 5: Properties of activated sludge

## Slide 6: Highly compressible
10 cm

## Slide 7: Specific flux constant with pressure not specific resistance
Specific filtrate flow rate (SFF)

## Slide 8: Dry matter content of the cake (skin layer formation)

## Slide 9: Why are cakes compressible?

## Slide 10: Cake compression (consolidation stage) Chang and Lee. Wat. Res. 32, 3, 905-914,1998
Primary consolidation
Collapse of global structure, dissipation of excess pore water
Secondary consolidation
Constituent particles readjust into stable configuration
Highly viscous film of adsorbed water surrounding the surface
Ternary consolidation
Deformation and compression of constituent biological particles

## Slide 11: In-organic particles
Tiller and Yeh AIChE J 1987, 33, 8

## Slide 12: Consolidation anatase

## Slide 13: What about organic materials?

## Slide 14: Deformation and compression Organic particles

## Slide 15: Deformation and compression Organic particles

## Slide 16: Consolidation poly(styrene-acrylic acid)

## Slide 17: Blinding and floc erosion

## Slide 18: Biological sludge filterability
Not only function of size and structure
Water content and floc strength important as well
Aalborg Øst (difficult to dewater)
Bramming syd (easy to dewater)

## Slide 19: Large difference between plants

## Slide 20: Which properties affects sludge dewaterability? Water hardness Conductivity

## Slide 21: Specific cake resistance for MBR sludge in Europe
Initial turbidity important
Single cells
Filaments
Mean floc size important

## Slide 22: Divalent ions important (Ca2+, Fe2+/3+)
Component | Unit | Median | Minimum | Maximum
Iron | mg/g SS | 17.5 | 2.04 | 48
Calcium | mg/g SS | 22.2 | 12.1 | 51.0
Sum | mg/g SS | 43.8 | 14.2 | 67.8

## Slide 23: Calcium flocs

## Slide 24: Other cations
 | Unit | Median | Minimum | Maximum
pH | - | 7.07 | 6.42 | 7.53
Conductivity | µS/cm | 750 | 407 | 4350

## Slide 25: Anaerobic storage of sludge

## Slide 26: Shear sensitivity
Step 1
Step 2
Step 3

## Slide 27
Chart: SFF (kg/(ms)
| Fresh East | Stirred East | Fresh West | Stirred West
 | 1.0765e-05 | 5.3871e-06 | 1.511e-05 | 3.5332e-06

## Slide 28: Sludge fragmentation
Fractionation
Sludge flocs (50-100µm)
Soluble microbial products (SMP) (<1000 kDa)
Single cells (1-10 µm)

## Slide 29: Filtration test
Constant pressure
Air scoured
Flat sheet membranes (0.2 µm PVDF, Alfalaval)
Area 84 cm2

## Slide 30: Filtration at 13 kPa
Filtration at 13 kPa

## Slide 31: Reversibility of fouling layer
Irreversible fouling
Adsorption + pore blocking
Gel layer
(protecting the membrane)
Scouring and less fouling
(the reversible fouling is reduced)

## Slide 32: Floc scouring

## Slide 33: Conclusion
Biological sludge highly compressible (specific filtrate flow rate)
Deformation, compression and disrupture individual sludge flocs
Good properties of sludge
Compact and strong flocs, few single cells and low concentration of dissolved EPS
(clarifier, centrifugation, MBR, pre-treatment before separation)
Shear lowers dewaterability
Pumping, pipes.
Salts important
Calcium and iron improve dewaterability (hard water)
High conductivity lower dewaterability (road salt, sea water, industry)
Storage lowers dewaterability
Anaerobic < Anoxic < Aerobic