## Slide 1
Atmospheric Mercury:
Are We Measuring It Correctly?
Robert Talbot
Professor of Atmospheric Chemistry
Director, Institute for Climate and Atmospheric Science
University of Houston
July 29-30, 2014

## Slide 2
Pierce et al.
(2013)
Pierce et al. CRDS 25 Hz
5 min. 0.35 ng m-3

## Slide 4
T
Urban Houston: Hgo measured with just a 2537 unit is much lower
than with a speciation system.

## Slide 5
Coastal Center: ~equal with both systems.

## Slide 6
Same result.

## Slide 9
Winter: GOM uptake not
apparent on filter, but
speciation system saw
lower values at times.
Spring: Filter HgP
generally higher.
could be some GOM
uptake on filter.

## Slide 10
Designed and built a new instrument for Hgo.
Capable of one minute time resolution.
RGM removal allows us to get Hgo and TGM, and GOM by difference.

## Slide 11
Gustin et al., 2013

## Slide 13
Results of Tests to Remove GOM from a Zero Air Stream.

## Slide 14
Removal of GOM by molecular sieve.

## Slide 15
Now, lets get to work and figure this out!