## Slide 1: Leveraging Innovation to Improve Hand Hygiene Compliance
Saungi McCalla, MSN, MPH, RN, CIC, FAPIC
White Plains Hospital

## Slide 2: OBJECTIVES
Describe the importance of hand hygiene in preventing infections
Discuss conventional hand hygiene compliance monitoring methods
Discuss how automation can improve hand hygiene compliance

## Slide 3: Background
Healthcare-associated infections (HAIs) are a substantial concern in U.S. hospitals.
Approximately one in 25 patients in the U.S. has at least one HAI during a hospital stay and an estimated 80,000 people die annually in the U.S. from an HAI (CDC, 2017).
Consistent hand hygiene is key to reducing healthcare-associated infections (HAIs) and assessing compliance with hand hygiene protocols is vital for hospital infection control staff.
There is a widely recognized need for caregivers to be conscientious about disinfecting their hands at every hand hygiene opportunity (HHO) – that is, when hand hygiene is indicated by guidelines or institution protocol.
Hand Hygiene compliance is believed to be low globally and has been notably difficult to measure.
Pfoh et al. Interventions To Improve Hand Hygiene Compliance: Brief Update Review.
Agency Healthc Res Qual. 2013:211.

## Slide 4: Hand Hygiene Compliance Monitoring
The conventional approach is to employ a team of observers who can record hand hygiene opportunities (HHOs) and the number of times caregivers comply with protocol.
The WHO considers observation the gold standard for measuring compliance.
The Joint Commission. Measuring Hand Hygiene Adherence: Overcoming the Challenges.; 2009.

## Slide 5: Challenges with the Observation
Observers must receive thorough, consistent training.
Being observed can change a caregiver’s behavior.
Workers are more likely to be compliant when they know they are being watched (the so-called Hawthorne effect).
Observation alone does not provide real-time hand hygiene reminders when a caregiver is in a patient room.
Observers are unlikely to be utilized during the hospital’s full hours of operation, no institution can determine if results. from limited human observation will accurately reflect actual hand-washing compliance in the 24/7 healthcare setting.
The Joint Commission. Measuring Hand Hygiene Adherence: Overcoming the Challenges.; 2009.

## Slide 6: A Community Hospital’s Hand Hygiene Program
Strategies to improve compliance
  re-education of staff about hand hygiene
  staff signs hand hygiene pledge
  empowered staff to intervene when they observed non-compliance
  increased the availability of hand sanitizer and moisturizer dispensers
  subjected non-compliant staff to the institution’s disciplinary process

## Slide 7: Observers
College students were trained to conduct observations and to intervene if they saw clinicians not being compliant.
The program worked well.
Overall compliance rates were >95% annually, with some quarters reaching 100%.
Challenges:
  Possible inaccuracies in data collection and reporting.
  The hospital had a goal of 40 observations per month per unit, but often could not meet that standard.
  The work-study program at the college was also affected by budget cuts.
  Turnover among student observers made it difficult to maintain a fully staffed and trained observer team.

## Slide 8: Plan
Explore automated hand hygiene monitoring systems
Identify and evaluate desired system
Selected Hand Hygiene Compliance System (HHCS) Features
  Electronic badge designed to remind caregivers to sanitize their hands while also assuring patients and anyone at bedside that hand hygiene has been performed.
  The badge has a light that glows yellow then red until hand hygiene is performed and validated by the caregiver.
  The light then turned green, providing visual confirmation of compliance.
  The badge also emitted an audible tone to prompt the caregiver to perform hand hygiene.
  Each badge was individually set to “know” the name of the caregiver wearing it as well as their job classification and their unit or department.

## Slide 9: Features Continued….
The system differentiates between different types of hand hygiene opportunities – in particular, sanitizer vs. soap and water.
A chemical sensor in the badge detected the presence of alcohol, confirming that the badge wearer recently sanitized her/his hands.
When soap and water were used, the badge recorded the proximity of and time spent at a sink.
When caregivers finish their shifts, they remove their badges for recharging at a base station.
The station sends data, individualized per badge, to cloud-based applications, where reports on compliance are generated and stored.
The HHCS system captures over 97% of hand hygiene opportunities (based on room entry/exit) and 100% of hand hygiene events performed provided that the user registers the event with the badge.
For alcohol-based sanitizer hand hygiene event, the badge captures compliance with over 99% specificity.

## Slide 10: Evaluation
Units: ICU (8beds) and ICU Stepdown (25beds)
Goal/Pupose
  To determine if implementation of the automated HHCS is associated with:
  improved hand hygiene compliance
  a significant reduction in MDROs, CLABSIs, and CAUTIs in the hospital’s ICU and ICU stepdown unit compared to the use of human observers
The study was conducted using data from the HHCS, human hand hygiene observer records, routine hospital infection surveillance data and de-identified electronic medical records over a two year period.
Data was collected during the full calendar year 2014, when human hand hygiene observers were deployed, and partial year 2015 when the HHCS was in-use (February 16 – December 31).

## Slide 11: Evaluation Continues…
Participants
  All ICU and ICU stepdown unit caregivers with direct patient contact (nurses, nurse technicians, respiratory therapists, care managers, dietary aides, and housekeeping staff)
  All patients in the hospital’s ICU and ICU stepdown unit during the data collection periods were included in the study.

## Slide 12: Characteristics of Patient Population
Table 1. Characteristics of patient population, ICU and ICU stepdown unit, 2014-2015 |  |  | 
 | Study Period |  | 
Characteristic | 2014 (Jan – Dec) | 2015 (Feb – Dec) | 
Total patients | 2,174 | 1,896 | 
Gendera |  |  | 
Male | 1121 (51.6) | 914 (48.2) | 
Female | 1053 (48.4) | 982 (51.8) | 
Ageb | 72 (17-103) | 71 (17-101) | 
Days in unitb | 3.06 (0.0-69.3) | 2.88 (0.0-73.9) | 
Major diagnostic categorya,c |  |  | 
Arterial disease | 115 (5.3) | 82 (4.3) | 
Gastroenterology | 168 (7.7) | 126 (6.6) | 
Infectious disease | 263 (12.1) | 210 (11.1) | 
Cardiology | 356 (16.4) | 321 (16.9) | 
Pulmonology | 236 (10.9) | 185 (9.8) | 
a Number (percent), b Median (range), c Only categories with greater than 100 patients reported

## Slide 13: Results
Figure 1. Hand hygiene compliance, ICU and ICU stepdown unit, 2014-2015 |  |  | 
 | Study Period |  | 
 | Human observers 2014 (Jan – Dec) | HHCS 2015 (Feb – Dec) | 
Unit | Compliant / Hand hygiene opportunities (%) |  | p-value
ICU* | 167 / 169 (98.8) | 210,648 / 221,396 (95.2) | 0.03
ICU stepdown* | 308 / 311 (99.0) | 397,476 / 411,008 (96.7) | 0.02
* Statistically significant at the p ≤ 0.05 level.

## Slide 14: Results Continues…
Table 3. Hospital acquired infections, ICU and ICU stepdown unit, 2014-2015 |  |  | 
 | Study Period |  | 
 | Human observers 2014 (Jan – Dec) | HHCS 2015 (Feb – Dec) | 
Unit and infection type | Infection ratea |  | Incidence rate ratio (95% CI)
ICU |  |  | 
MDRO | 2.0 | 0.4 | 0.22 (0.03 – 1.92)
CLABSI | 0.7 | 0.0 | -
CAUTI | 1.5 | 1.7 | 1.02 (0.21 – 5.04)
ICU stepdown |  |  | 
MDRO | 1.3 | 0.8 | 0.68 (0.03 – 1.79)
CLABSI | 2.7 | 0.0 | -
CAUTI | 3.1 | 0.6 | 0.22 (0.25 – 1.86)
a Reported as infections per 1,000 patient days for MDROs, infections per 1,000 umbilical or central line catheter days for CLABSIs,
and infections per 1,000 catheter days for CAUTIs.

## Slide 15: Summary
Hand hygiene compliance remains a challenge.
Human hand hygiene observers may not report accurate measures of compliance.
The HHCS is a promising new tool for fine-grained assessment of hand hygiene compliance.
While decreases in MDRO, CLABSI, and CAUTI infection rates were observed, they represented non-significant differences.
  Further study is needed to examine the association between the HHCS and HAI rate reduction.

## Slide 16: References
Alsubaie S, Maither A Bin, Alalmaei W, et al. Determinants of hand hygiene noncompliance in intensive care units. Am J Infect Control. 2013;41(2):131-135. doi:10.1016/j.ajic.2012.02.035.
CDC. Healthcare-Associated Infections (HAI) Progress Report.; 2016. http://www.cdc.gov/hai/surveillance/progress-report/index.html.
CDC. National and State Healthcare-Associated Infections: Progress Report.; 2016. http://www.cdc.gov/hai/pdfs/progress-report/exec-summary-haipr.pdf .
Centers for Disease Control and. Guideline for Hand Hygiene in Health-Care Settings: Recommendations of the Healthcare Infection Control Practices Advisory Committee and the HICPAC/SHEA/APIC/IDSA Hand Hygiene Task Force. MMWR 2002;51(No. RR- 16). Vol 51.; 2002. doi:10.1086/503164.
Pfoh E, Dy S, Engineer C. Interventions To Improve Hand Hygiene Compliance: Brief Update Review. In: Making Health Care Safer II: An Updated Critical Analysis of the Evidence for Patient Safety Practices. Agency Healthc Res Qual. 2013:211. (Evidence Reports/Technology Assessments, No. 211.) Chapter 8. Available from: https://www.ncbi.nlm.nih.gov/books/NBK133371/.
Sharma D, Thomas GW, Foster ED, et al. The precision of human-generated hand-hygiene observations: a comparison of human observation with an automated monitoring system. Infect Control Hosp Epidemiol. 2012;33(12):1259-1261. doi:10.1086/668426.
Mathur P, Tak V, Gunjiyal J, et al. Device-associated infections at a level-1 trauma centre of a developing nation: impact of automated surveillance, training and feedbacks. Indian J Med Microbiol. 2015;33(1):51-62. doi:10.4103/0255-0857.148378.

## Slide 17: Questions!!!
Thank You