## Slide 1
Developing New Detection and Verification Methods for Oxidized Mercury
Seth Lyman
Trevor O’Neil
Tanner Allen
July 2014
bingham entrepreneurship & energy research center

## Slide 2
New Oxidized Mercury Instrumentation is Needed to Break Through Barriers
Automated field-deployable calibrator
  For verification of measurements in field conditions using multiple mercury compounds
Cryofocusing/GC-MS system
  For identification and quantification of ambient mercury compounds
Notes: 2

## Slide 3
Calibrators for Oxidized Mercury Have Been Successfully Deployed
Lab permeation of mercury compounds
  Landis et al., 2002, Environ. Sci. Tech. 36, 3000-3009
  Lyman et al., 2010, Atmos. Chem. Phys. 10, 8197-8204
  Huang et al., 2013, Environ. Sci. Tech. 47, 7307-7316
  And Several Others
Field permeation to test oxidized mercury instruments
  Finley et al., 2013, Environ. Sci. Tech. 47, 7277-7284
Advantages: Certainty, simplicity
Disadvantages: Unstable permeation rate (sometimes)
Notes: 3

## Slide 4
Automated Field Calibrator to Verify
Ambient measurements
Automated
Oxidized Hg Calibrator
Notes: 4

## Slide 5
Automated Field Calibrator to Verify
Ambient measurements
Tekran 1130
Critical Orifi
Permeation
Oven
Valve
Valve
Heated Zone
Pyrolyzer
Tekran 1135
Pressure
Controller
Heated Line
Tekran Pump
Module
Vent
Tekran 2537
UHP
Ar
Electronic
Control
Integrated Control
and Logging
Notes: 5

## Slide 6
Automated Field Calibrator to Verify
Ambient measurements
Tekran 1130
Critical Orifi
Permeation
Oven
Valve
Valve
Heated Zone
Pyrolyzer
Tekran 1135
Pressure
Controller
Heated Line
Tekran Pump
Module
Vent
Tekran 2537
UHP
Ar
Electronic
Control
Integrated Control
and Logging
But we don’t know which oxidized mercury compounds are in ambient air, so how can we know which oxidized mercury compounds to permeate?
Notes: 6

## Slide 7
GC/MS System to Identify Individual Mercury Compounds: Sample Collection
Inert Collection Surface
Pump
Notes: 7

## Slide 8
160ºC
GC/MS System to Identify Individual Mercury Compounds: Sample Analysis
Cryogenically-cooled
Sample Trap
Chromatographic
Column
0ºC
Mass
Spectrometer
Notes: 8

## Slide 9
GC/MS System to Identify Individual Mercury Compounds: Sample Analysis
Cryogenically-cooled
Sample Trap
Chromatographic
Column
180ºC
Mass
Spectrometer
Notes: 9

## Slide 10
Sample
Desorber
GC/MS System to Identify Individual Mercury Compounds: Flow diagram
Tekran 2537
Mass
Spec
GC
Pyrolyzer
Critical Orifi
Permeation
Oven
UHP He
Crygenic
Concentrator
Vent
Valve
UHP He
Valve
Notes: 10

## Slide 11
GC/MS System to Identify
Individual Mercury Compounds
Notes: 11

## Slide 12
GC/MS System to Identify
Individual Mercury Compounds
Notes: 12

## Slide 13
Clear Identification of HgBr2 by MS
HgBr2
Elemental Hg
202Hg+79Br+81Br
202Hg
202Hg+79Br
m/z 362
m/z 281
m/z 202
Notes: 13

## Slide 14
System Optimization is Improving Detection
Temperatures at 160ºC, detector not optimized, cryotrap collection at -25ºC
Temperatures at 200ºC, sensitivity optimized, cryotrap collection at 0ºC
Peak tailing is still a problem
Notes: 14

## Slide 15
GC-MS can Separate
Different Mercury Compounds
HgBr2
HgO
Notes: 15

## Slide 16
GC-MS can Separate
Different Mercury Compounds
HgBr2
HgO
This provides strong evidence for gas-phase HgO
Published HgO vapor pressures are ~70 years old, not reliable
Notes: 16

## Slide 17
Worries
What about chemical transformation/decomposition during ambient air collection? (from Jerry Lin)
What if ambient air oxidized Hg is some compound(s) we don’t know about yet?
  What if whatever it is is too reactive to make it through the GC/MS system?
Will semivolatile organics interfere with oxidized mercury cryotrapping or detection?
Won’t we have to sample a boatload of ambient air to overcome detection limits?
Notes: 17

## Slide 18
Thank You
Funding from National Science Foundation award number 1324781
Thanks to Mae Gustin, Jiaoyan Huang, and others at UNR for collaboration and support
Notes: 18