## Slide 1
An Innovative Platform for Rapid and Multiplexed Cancer Biomarker Detection with Surface-enhanced Raman Scattering Nanotags
Dr. Yuling Wang (ARC DECRA Fellow)
Australian Institute for Bioengineering and Nanotechnology (AIBN)
The University of Queensland, Australia

## Slide 2
Outline
Introduction to surface-enhanced Raman scattering (SERS)
Applications
b. Protein biomarker detection
Summary
Acknowledgment
a. DNA methylation analysis

## Slide 3
Introduction to SERS
Laser
SERS
SH
SH

## Slide 4
Wang et al, Analyst, 2013, 138, 2224
SERS Nanotags
Metal nanoparticles
Silica shell
Polymer
nanotags

## Slide 5
Fluorescence vs. SERS
Salehi et al, Nanoscale, 2014, 6, 2361
40 nm
<2 nm
Narrow peaks
2. One single laser excitation
3. Photostability
SERS properties

## Slide 6
With one single laser excitation, multiple signals can be generated simultaneously.
SERS spectra with barcodes
Multiplexing capability
Wang et al, Analyst, 2013, 138, 2224

## Slide 7
Enabling Rapid and Specific SERS Immunoassay Using Nano-scaled Surface Shear Forces
ACS Nano, 2015, 9, 6354
Duplex Single Base Mismatch Detection and Highly Sensitive DNA Methylation Analysis at CpG Resolution by SERS via Ligase Chain Reaction
ChemComm, 2015, 51, 10953
Applications

## Slide 8
LCR&SERS for Single DNA Base Mismatch Detection
Wang, Y. ; Wee, E.J.H. M.; Trau, M. Chem.Commun, 2015, 51, 10953
No Signal
SERS
Ra1
Ra1
Ra1
Ra1
Ra1
Ra1
Ra1
Ra1

## Slide 9
Sensitivity for single DNA base mismatch detection
Sensitivity: 0.5 pM input DNA
C-base detection
T-base detection

## Slide 10
DNA Methylation Analysis at CpG Resolution
T
DNA methylation analysis
LCR reaction

## Slide 11
SERS spectra and intensity response to methylation level
DNA Methylation Analysis for synthetic DNA
%DNA Methylation=IC/ (IT+IC)
Sensitivity for DNA methylation analysis: 10%

## Slide 12
Typical SERS spectra for a panel of cell lines detection (A) and comparison of estimated methylation in three breast cancer cell lines with SERS-LCR assay.
A
B
DNA Methylation Analysis for Cell-lines

## Slide 13
NoT Serum DNA
A
B
C
Image of DNA agarose gel electrophoresis of LCR reaction with a no template control (NoT) and a serum DNA sample (A), corresponding SERS spectra (B) and estimated methylation level (C).
DNA Methylation Analysis for Patient Serum DNA

## Slide 14
Wang, Y. ; Vaidyanathan, R.; Shiddiky, M.; Trau, M. ACS Nano, 2015, 9, 6354
Scheme for alternative current electrohydrodynamic (ac-EHD) SERS immunoassay for HER 2 detection
Enabling Rapid and Specific Protein Biomarker Detection

## Slide 15
TEM image and SERS spectrum of the as-prepared SERS nanotags
Rational designed SERS nanotags
silica-coated Au/Ag nanoshells

## Slide 16
Device and the assay
Schematic illustration of the device and the assay for HER2 detection
SERS Nanotags

## Slide 17
With EHD
Without EHD
SERS images for target detection at 1 ng/mL with and without EHD
Specific study

## Slide 18
With 1 ng/mL antigen
Without antigen
Without detection antibody
b
False-colour SERS images (a) and SERS spectra (b) for HER 2 detection with 1 ng/mL antigen; without antigen (0 ng/mL) and SERS particles without detection antibody under ac-EHD.
a
Specific study

## Slide 19
(a) SERS images, (b) SERS intensity from positive and reference nanoparticles in ac-EHD SERS immunoassay, syringe pump immunoassay and conventional SERS immunoassay
ac-EHD Syringe Pump Conventional
a
b
Comparison of different immunoassays

## Slide 20
Sensitivity: 10 fg/mL
a
b
c
Sensitivity study

## Slide 21
False-colour SERS images of ac-EHD SERS immunoassay for HER 2 positive, HER 2 negative and Healthy clinic patient analysis
HER 2 positive
HER 2 negative
Healthy
Patient Samples

## Slide 22
Samples | Average SERS intensity | Approximate concentration range
HER 2 positive | 170.902 | ~10 fg/mL
HER 2 positive | 207.789 | 10~100 fg/mL
HER 2 positive | 167.771 | ~10 fg/mL
HER 2 negative | 36.021 | ~1 fg/mL
HER 2 negative | 10.646 | <1 fg/mL
HER 2 negative | 7.341 | <1 fg/mL
Healthy | 6.225 | <1 fg/mL
Healthy | 3.734 | <1 fg/mL
Healthy | 19.984 | <1 fg/mL
Table 1. ac-EHD SERS immunoassay analysis of clinical serum samples from 9 different patients using the proposed method

## Slide 23
Summary
Duplex single DNA base change detection and DNA methylation analysis:
a. down to 0.5 pM sensitivity with high specificity;
b. as low as 10% difference in DNA methylation
2. A rapid and highly specific SERS immunoassay for breast cancer biomarker detection:
a. rational designed silica-coated gold/silver nanoshells as SERS nanotags
b. alternative current electrohydrodynamic force to significantly reduce the assay time and non-specific binding
c. sensitivity at 10 fg/mL for rapid (40 min) HER 2 detection with highly specificity

## Slide 24
Acknowledgement
Prof. Matt Trau
Dr. Eugene Wee
Dr. Muhammad J. A. Shiddiky
Ramanathan Vaidyanathan
Trau’s group members

## Slide 25
Thanks for Your Attention and Questions!