Determination of sarcosine in urine as predictor for prostate cancer using ELISA Method

*Mukaa. M. Januaris(Bsc)1, Wachuka Gathigia Njoroge(Phd)2, Antony Omondi Radol(Phd)3, Jeremiah Gathirwa Waweru(Phd)4.

1Department of medical laboratory sciences, Garissa County Government

P.O.BOX 29-70100, Garissa-Kenya

2Department of Medical Laboratory Sciences, School of Medicine, Kenyatta University

P.O.BOX.43844-00100, Nairobi-Kenya

3Department of medical laboratory sciences, Kenya Medical Training College

P.O.BOX 970-50400, Busia-Kenya

4Kenya Medical research institute, Centre for traditional medicine and drug research

P.O.BOX 54840-00200, Nairobi-Kenya

*Correspondence author: Januaris Mwanthi Mukaa; mukaaj68@gmail.com

Abstract

Prostate cancer is a type of malignancy that is characterized by uncontrolled growth of cells in the prostate gland. Prostate cancer needs early intervention since its incidence and prevalence is high across the world leading to high morbidity and mortality. Prostatic specific antigen test which is the commonly used screening test in Kenya and across the world is nonspecific, expensive and inaccessible to many people in rural setting who are in need. The definitive histological test is invasive and requires specialized facilities and personnel. This study sought to investigate sarcosine in urine as a predictor of prostate cancer to supplement prostate specific antigen test in the screening of prostate cancer. For all suspected prostate cancer identified according to clinical assessment during the study period, midstream urine samples of about 30mls was collected in urine plastic tubes, centrifuged and supernatant collected and analyzed by use of ELISA method for sarcosine. Numerical data obtained was tabulated in excel spreadsheet and presented as mean, +/- standard deviation and standard error of mean. Differences in means and standard deviation from various age groups was analyzed using ANOVA and Independent t test. The Bonferroni test was used as post Hoc test to identify the means that were significant from others. Level of significance was set at 95% i.e., <0.05 for all comparisons.). The concentration of sarcosine (4.30±0.11nmol/ml) in prostate cancer participants was significantly higher than the concentration (0.47±0.06nmol/ml) of control participants using ELISA (p<0.001;). Hence Sarcosine needs to be analyzed in urine for the diagnosis of prostate cancer since its raised in prostate cancer patients compared to non-prostate cancer patients. There was no significant variation between the age groups of the prostate cancer patients and the sarcosine concentration using ELISA (p=0.57). Similarly, the age groups of the control individuals were not significantly different in sarcosine concentration (p=0.17). Future studies need to dwell in incorporating sarcosine metabolite in urine

Keywords: Sarcosine, urine,diagnosis,prostate cancer, ELISA (enzyme linked immunosorbent assay)

1.0 Background

Prostate cancer refers to a type of malignancy that occurs on glandular cells of the prostate gland (1). There are different types of prostate cancer the most common being adenocarcinoma occurring in 99% of all prostate cancers (2,12) In 2020, 1,414,259 (7.3%) newly diagnosed prostate cancer cases and 375,304 (3.8%) prostate cancer related deaths were reported worldwide (4). In Africa, cancer of the prostate is a burden recording a high incidence and mortality, with 79,867(9.4%) new cases and 41,207(7.6%) deaths (2,12).

In East African countries, prostate cancer has been reported in health facilities but no studies have been done on native populations. Incidence reports are expected to rise to over 85% by 2030 (11). Mitigation measures that include accessible and reliable screening methods are needed to reduce the mortality cases associated with prostate cancer. Kenya records incidence rates of about 3,412 (8.1%) and mortality cases of about 1780, which translates to 6.6% of patients suffering from prostate cancer succumbing to the disease (4). Garissa County lacks the capacity for mass screening due to lack of accessibility to testing since screening is only done at Garissa County Referral Hospital. Lack of diagnosis in most of the facilities is due to limited resources and this is worsened by lack of neither specific policies nor effective strategies for controlling the disease. This therefore signified the need for the development of ELISA screening procedure for sarcosine in urine which is non-invasive and less expensive in order to reach the nomadic population who are the majority in Garissa County. Screening and early diagnosis of prostate malignancy is the most effective intervention tool for prostate cancer. The study sought to confirm the relationship between prostate gland abnormality and its secretory products and whether the relationship was to be used to provide alternative to prostate cancer diagnosis. Variability of sarcosine in urine among different age groups of prostate and non-prostate cancer participants was determined to know their levels and distribution.

2.0 MATERIALS AND METHODS

## 2.1 Study site

The study site was Garissa County referral hospital. It is located approximately one kilometer from Garissa town. It is the only level five facility in the county that offers specialized testing of prostate cancer. Most of health facilities are inaccessible due to poor road networks and therefore leading to health burden of diseases and conditions to the local population who are the majority in Garissa and northeastern province at large. The study was a cross-sectional analytical survey involving the number of participants as determined by Fischer et al 2006 (21). Sarcosine levels of individuals with confirmed prostate cancer was compared with those not confirmed for prostate cancer according to histological finding (22).

2.2 Sample collection and processing

## Midstream urine samples were collected from confirmed and those not confirmed of prostate cancer in the oncology clinic-Garissa County Referral Hospital. All the samples were centrifuged at 1000rv/min for 5 minutes. Supernatant urine samples were kept in a deep freezer at -80 degrees centigrade until analysis for sarcosine.

## 2.3 Sarcosine analysis

Analysis of sarcosine employed a sandwich quantitative Elisa assay principle. The plate was precoated with human sarcosine antibody. Sarcosine antigen present in the sample was added and bound to antibodies coated on the wells. Biotinylated human sarcosine antibody (antisarcosine antibody) was added and bound to sarcosine in the sample. Streptavidin-HRP (Horse dish peroxidase enzyme) was added and bound to the biotinylated sarcosine antibody. After incubation unbound streptavidin-HRP was washed away during the washing step. Substrate was then added and color developed in proportion to the amount of human sarcosine. The reaction was terminated by the addition of acidic stop solution and absorbance measured calorimetrically at 450nm.

2.4 REAGENTS AND MARERIALS

Standard solution(16nmols/ml), precoated ELISA plates(clear), streptavidin-HRP, Stop solution(acidic), substrate solution A, substrate solution B, wash buffer concentrate, biotinylated human sarcosine antibody, plate sealers, User instructions, zipper bag,37 degrees centigrade ±0.5 incubator, absorbent papers, precision pipettes, disposable pipette tips, chemical hood, gloves

Sample and Reagent preparation

Samples and reagents were placed on the working bench free on contamination to allow them to thaw at room temperature. The samples were centrifuged at 3000r/min for 20mins with centrifuge set at 25 degrees centigrade. Supernatant was transferred to clean Eppendorf tubes labelled S1-S31 and Sc1 to Sc 31.

Standards and blank control preparations

Clean Eppendorf tubes were clearly labelled std5, std 4, std3, std2, std1 in duplicates. Blank control tubes were labelled blank 1 and blank 11 in duplicates.

Standards were reconstituted in the following manner:120ul of standard(16nmol/ml) was reconstituted with 120ul of standard diluent and transferred to tubes labelled standard5 generating 8nmol standard stock solution. This standard solution was allowed to sit for 15mins with gentle agitation prior to making serial dilutions.

Duplicate standard points were prepared serially by diluting the standard stock solution using 2-fold serial dilution (1:2) with standard diluent to produce 4nmol/ml,2nmol/ml,1nmol/ml and 0.5nmol/ml.

Preparation of wash buffer

20mls of wash buffer concentrate was diluted into 480mls of distilled water in a clean falcon tube to yield 500mls of wash buffer.

It was gently mixed to ensure any formed crystals were dissolved.

2.6 Procedure

96 well plate diagrams were first drawn to give the layout of analytes i.e., Standards, samples, sample controls and blanks in duplicates. The assay was then performed at room temperature.50 ul of standard solutions were transferred using multichannel pippete to wells No.5 to No.1 in duplicates. Biotinylated antibody was not added to standard wells since the standard solution contains biotinylated antibody.40ul of samples were transferred to sample wells in duplicates.10 ul of antisarcosine antibody was added to samples.50ul streptavidin-HRP was added to sample wells, standards and mixed well.

Blanks were prepared by transferring 40ul of distilled water and 10ul of antisarcosine antibody.

All the solutions were mixed and plate covered with a plate sealer. The plate was incubated at 37 degrees centigrade for 60mins.Sealer was removed and the plate washed five times with wash buffer soaking wells with 300ul wash buffer for 1min after each wash.

The plate was bloated with paper towels after each wash taking care not to suck air bubbles which obscures the binding sites.50 ul of substrate A was added to all wells and 50 ul of solution subsequently added.

The plate was covered with new sealer and incubated at 37 degrees centigrade for 10 mins in the dark.50 ul of stop solution was transferred to all wells in a chemical hood. The blue color changed immediately to yellow. The optical density of each well was read immediately using microreader plate at 450nm within 10mins after adding stop solution. The standard curve was then generated and used to determine concentration of samples.

2.7 Statistical data analysis

Raw data were tabulated in Microsoft Excel Spreadsheet and then transferred to the statistical package for social science (SPSS) software version 26 for analysis. Descriptive statistics were expressed as mean, standard deviation, standard error of the mean, range, variance, minimum value and maximum value for quantitative data, as well as frequency and percentage in the characterization of participants in terms of age groups. An inferential statistic independent t-test was used to compare concentrations of sarcosine among prostate cancer patients and controls. The influence of age on the dependent variable was investigated by aggregation of participants in 10-year age range. One-way analysis of variance (ANOVA) was used to compare concentrations of sarcosine among the age groups of participants. Bonferroni post hoc test was used in case of mean differences using ANOVA.

The level of significance was set at p ≤0.05. Data were presented in tables and graphs.

2.8 RESULTS

Participants demographic information

Sixty-two male participants attending prostate cancer screening in Garissa County Hospital were enrolled in this study.

Age group: The mean age of the participants was 66.80±12.76. The participants were assigned age groups of <60, 60-69, 70-79 and ≥80 years old. The age group of 60-69 had the highest percentage of participants of 32.3%, followed by less than 60 (30.6%), greater than 80 (19.4%) and 70-79 (17.7%)

Prostate cancer status of the participants

Among the participants, 31 were prostate cancer positive, whereas 31 were prostate cancer negative (controls).

Table 1: Characteristics of participants

|  | Study participants |  |
| --- | --- | --- |
| Variable | Frequency | Percent |
| Age groups |  |  |
| <60 | 19 | 30.6 |
| 60-69 | 20 | 32.3 |
| 70-79 | 11 | 17.7 |
| ≥80 | 12 | 19.4 |
| Prostate status |  |  |
| Prostate positive | 31 | 50 |
| Prostate negative | 31 | 50 |
| Total | 62 | 100 |

2.9 Variability of Sarcosine for prostate cancer diagnosis

The prostate cancer participants had a mean, standard deviation, standard error of the mean, variance, range, minimum value and maximum value of sarcosine concentration of 4.30, 0.60, 0.11, 0.36, 1.81, 3.30 and 5.11nmol/ml, respectively. In contrast, the sarcosine concentration of control participants had a mean of 0.47 with a standard deviation of 0.35, standard error of the mean of 0.06, variance of 0.12, range of 1.00 and minimum and maximum values of 0.04 and 1.04nmol/ml (Table 4.4). The concentration of sarcosine (4.30±0.11nmol/ml) in prostate cancer participants was significantly higher than the concentration (0.47±0.06nmol/ml) of control participants using ELISA (p<0.001;).

Table 2.9 Concentrations of sarcosine among prostate cancer and normal control participants using ELISA

|  | Sarcosine concentration (nmol/ml) |  |
| --- | --- | --- |
| Descriptive statistics | Prostate cancer | Control |
| Mean | 4.30 | 0.47 |
| Std. error of mean | 0.11 | 0.06 |
| Std. deviation | 0.60 | 0.35 |
| Variance | 0.36 | 0.12 |
| Range | 1.81 | 1.00 |
| Minimum | 3.30 | 0.04 |
| Maximum | 5.11 | 1.04 |

Std. = standard

Figure 2.9 Sarcosine concentration in prostate cancer and control participants using ELISA. Bars with a different lowercase letter are significantly different using an independent t-test (p<0.05).

There was no significant variation between the age groups of the prostate cancer patients and the sarcosine concentration using ELISA (p=0.57; Table 2.9.1). The age groups of <60, 60-69, 70-79 and ≥80 had sarcosine concentrations of 4.03±0.39, 4.51±0.13, 4.30±0.28 and 4.23±0.19nmol/ml, respectively (Figure 2.9.1, Table 2.9.1). Similarly, the age groups of the control individuals were not significantly different in sarcosine concentration (p=0.17; Table 4.5). The age groups of <60, 60-69, 70-79 and ≥80 had sarcosine concentrations of 0.57±0.09, 0.34±0.0.09, 0.32±0.16 and 0.92±0.00nmol/ml, respectively (Figure 2.9.1; Table 2.9.1).

Table2.9.1 Sarcosine concentration by age groups of prostate cancer patients and controls using ELISA

|  | Sarcosine concentration (nmol/ml) |  |
| --- | --- | --- |
| Age groups | Prostate cancer | Control |
| <60 | 4.03±0.39 | 0.57±0.09 |
| 60-69 | 4.51±0.13 | 0.34±0.09 |
| 70-79 | 4.30±0.28 | 0.32±0.16 |
| ≥80 | 4.23±0.19 | 0.92±0.00 |
| p value | 0.57 | 0.17 |

Mean±standard error of the mean along the column are not significantly different using one-way ANOVA (p>0.05).

Figure 2.9.1 Sarcosine concentration by age groups of prostate cancer patients and controls using ELISA

3.0 DISCUSSION

The mean age of participants for prostate cancer study was 66.81years. The mean age was slightly lower than another study done in Europe by maxwell et al.,2020 whose, mean age of study participants was 71.5 years.

The above trend in the current study can be attributed to the long distances covered to reach the testing facility the only public facility in the county of Garissa hence a low turn up with people of old age ie.70-79 years and >80 years. Limited resources are also another challenge since most residents of Garissa County are nomads and depend entirely on cattle and other animals for their livelihood. As a result of perennial droughts, most have been rendered poorest since many animals have died.

Variability of Sarcosine in ELISA diagnosis

The mean concentration of sarcosine in prostate cancer participants were significantly higher at 4.30 nmol/ml than those of control participants (0.47nmol/ml) in ELISA diagnosis P<0.001

The study compares with another study done by European urology Journal where sarcosine concentration levels in urine were higher when compared with control participants (23). Their study failed to show sarcosine concentration in urine a biomarker of prostate cancer since it was comparing sarcosine with creatinine.

Jiang et al.,2010 developed a novel method for the quantification of sarcosine metabolite using GC-MS (Gas chromatography and Mass spectrophotometry (17). The study noted average sarcosine concentration were higher in prostate cancer patients compared to the controls. There was no significant variation between the age groups of prostate cancer patients and sarcosine concentration in ELISA diagnosis p=0.57. The age groups of <60,60-69,70-79 and ≥80 had sarcosine concentrations of 4.30 ±0.39,4.51±0.13,4.30±0.28,4.23±0.19 respectively.

The above study differs with a study done by Makni et al.,2021 using electrochemical sensors but their results showed that there no significant difference in sarcosine levels between age groups (13). The current study confirms the need for supplementation of PSA in the screening of prostate cancer by use of sandwich ELISA method for the analysis of sarcosine in urine of prostate cancer patients

The means and standard error of means in control participants were also not significantly different(P>0.05). Gkotsos et al.,2017 noted in their findings that there was no significant difference among the age groups of prostate cancer controls (5). There was no correlation between sarcosine concentrations and age.

Limitations of the study/Strengths

Limitation was financial constraints since the study was not funded.

Strengths

The study proved to supplement PSA in prostate cancer diagnosis.

Conclusions

ELISA method for the detection of sarcosine in urine in a promising procedure to supplement prostatic specific antigen testing in the diagnosis of carcinoma of the prostate. Urine collection is noninvasive therefore mass screening for prostate cancer can receive a good response from the population.

Ethics approval and consent to participate Ethical approval was sought from Kenyatta university ethical review board and Garissa County referral hospital administration. License to conduct the research was sought from the national commission for science, technology and innovation (NACOSTI). Informed consent forms were also availed to all the participants of the study.

Availability of data and materials-Not applicable

Acknowledgements

I wish to acknowledge Dr. Beatrice Irungu and Mr. Gilbert Kipkoech in the department of center for traditional medicine and drug research at kemri for their assistance in laboratory analysis of samples.

The project work was funded by the author so no conflicting interests

References.

1.Leyten GH, Hessels D, Smit FP, Jannink SA, de Jong H, Melchers WJ, Cornel EB, de Reijke TM, Vergunst H, Kil P, Knipscheer BC. Identification of a candidate gene panel for the early diagnosis of prostate cancer. Clinical cancer research. 2015 Jul 1;21(13):3061-70.

2 Jedinak A, Curatolo A, Zurakowski D, Dillon S, Bhasin MK, Libermann TA, Roy R, Sachdev M, Loughlin KR, Moses MA. Novel non-invasive biomarkers that distinguish between benign prostate hyperplasia and prostate cancer. BMC cancer. 2015 Dec;15(1):1-9.

3. Bax C, Taverna G, Eusebio L, Sironi S, Grizzi F, Guazzoni G, Capelli L. Innovative diagnostic methods for early prostate cancer detection through urine analysis: A review. Cancers. 2018 Apr 18;10(4):123.

4 Rigau M, Olivan M, Garcia M, Sequeiros T, Montes M, Colás E, Llauradó M, Planas J, De Torres I, Morote J, Cooper C. The present and future of prostate cancer urine biomarkers. International journal of molecular sciences. 2013 Jun 17;14(6):12620-49.

5. Gkotsos G, Virgiliou C, Lagoudaki I, Sardeli C, Raikos N, Theodoridis G, Dimitriadis G. The role of sarcosine, uracil, and kynurenic acid metabolism in urine for diagnosis and progression monitoring of prostate cancer. Metabolites. 2017 Feb 23;7(1):9.

6. Hendriks RJ, Van Oort IM, Schalken JA. Blood-based and urinary prostate cancer biomarkers: a review and comparison of novel biomarkers for detection and treatment decisions. Prostate cancer and prostatic diseases. 2017 Mar;20(1):12-9.

7. Varambally S, Laxman B, Mehra R, Cao Q, Dhanasekaran SM, Tomlins SA, Granger J, Vellaichamy A, Sreekumar A, Yu J, Gu W. Golgi protein GOLM1 is a tissue and urine biomarker of prostate cancer. Neoplasia. 2008 Nov 1;10(11):1285-IN35.

8 Rigau M, Olivan M, Garcia M, Sequeiros T, Montes M, Colás E, Llauradó M, Planas J, De Torres I, Morote J, Cooper C. The present and future of prostate cancer urine biomarkers. International journal of molecular sciences. 2013 Jun 17;14(6):12620-49.

9.Deras IL, Aubin SM, Blase A, Day JR, Koo S, Partin AW, Ellis WJ, Marks LS, Fradet Y, Rittenhouse H, Groskopf J. PCA3: a molecular urine assay for predicting prostate biopsy outcome. The Journal of urology. 2008 Apr;179(4):1587-92.

10. Maxwell KN, Cheng HH, Powers J, Gulati R, Ledet EM, Morrison C, Le A, Hausler R, Stopfer J, Hyman S, Kohlmann W. Inherited TP53 variants and risk of prostate cancer. European Urology. 2022 Mar 1;81(3):243-50.

11. Baden J, Adams S, Astacio T, Jones J, Markiewicz J, Painter J, Trust C, Wang Y, Green G. Predicting prostate biopsy result in men with prostate specific antigen 2.0 to 10.0 ng/ml using an investigational prostate cancer methylation assay. The Journal of urology. 2011 Nov 1;186(5):2101-6.

12. Jedinak A, Curatolo A, Zurakowski D, Dillon S, Bhasin MK, Libermann TA, Roy R, Sachdev M, Loughlin KR, Moses MA. Novel non-invasive biomarkers that distinguish between benign prostate hyperplasia and prostate cancer. BMC cancer. 2015 Dec;15(1):1-9.

13. Varma.VA., Makni,Fekete. PS., Franks. MJ, Walther.MM. (2018) Cytologic features of prostatic adenocarcinoma in urine: a clinicopathologic and immunocytochemical study. Diagnostic cytopathology 1988, 4(4):300–305.

14 Eskra JN, Rabizadeh D, Pavlovich CP, Catalona WJ, Luo J. Approaches to urinary detection of prostate cancer. Prostate cancer and prostatic diseases. 2019 Sep;22(3):362-81.

15. Foot NC, Papanicolaou GN, Holmquist ND, Seybolt JF. Exfoliative cytology of urinary sediments. A review of 2,829 cases. Cancer. 1958 Jan;11(1):127-37.

16. Drago D, Andolfo A, Mosca E, Orro A, Nocera L, Cucchiara V, Bellone M, Montorsi F, Briganti A. A novel expressed prostatic secretion (EPS)-urine metabolomic signature for the diagnosis of clinically significant prostate cancer. Cancer biology & medicine. 2021 May 5;18(2):604.

17.Pacik D,Jiang, Plevova M, Urbanova L, Lackova Z, Strmiska V, Necas A, Heger Z, Adam V. Identification of sarcosine as a target molecule for the canine olfactory detection of prostate carcinoma. Scientific reports. 2018 Mar 21;8(1):1-5.

18. Zhou H, Yuen PS, Pisitkun T, Gonzales PA, Yasuda H, Dear JW, Gross P, Knepper MA, Star RA. Collection, storage, preservation, and normalization of human urinary exosomes for biomarker discovery. Kidney international. 2006 Apr 2;69(8):1471-6.

19. Minciu R, Dumache R, Gheorghe P, Daminescu L, Rogobete AF, Ionescu D. Molecular Diagnostic of Prostate Cancer from Body Fluids Using Methylation-Specific PCR (MS-PCR) Method. Clinical laboratory. 2016 Jan 1;62(6):1183-6.

20.  Daniunaite K, Jarmalaite S, Kalinauskaite N, Petroska D, Laurinavicius A, Lazutka JR, Jankevicius F. Prognostic value of RASSF1 promoter methylation in prostate cancer. The Journal of urology. 2014 Dec 1;192(6):1849-55.

21. Mogalakwe, M. (2006). The Use of Documentary Research Methods. African Sociological

Review, 10(1), 221-230

22. Issaq HJ, Veenstra TD. Is sarcosine a biomarker for prostate cancer? Journal of separation science. 2011 Dec;34(24):3619-21.

23. Jentzmik F, Stephan C, Lein M, Miller K, Kamlage B, Bethan B, Kristiansen G, Jung K. Sarcosine in prostate cancer tissue is not a differential metabolite for prostate cancer aggressiveness and biochemical progression. The Journal of urology. 2011 Feb;185(2):706-11.