A high-throughput and multiplex microsphere immunoassay based on non-structural protein 1 discriminates three flavivirus infections

Wei-Kung Wang, Department of Tropical Medicine, Medical Microbiology and Pharmacology,

John A. Burns School of Medicine, University of Hawaii at Manoa, Honolulu, Hawaii, USA

### Abstract (300 word limit)

The four serotypes of dengue virus (DENV) are the leading cause of arbovirus infections in humans. The recent outbreaks of Zika virus (ZIKV) and associated complications in DENV-endemic regions highlight the critical need for sensitive and specific serodiagnostic tests. ZIKV and DENV belong to the genus Flavivirus of the family Flaviviridae. Traditional envelope protein-based serological tests for flavivirus infections have been hampered by extensive cross-reactivity among different flaviviruses.  In this study, we developed a high-throughput and multiplex IgG microsphere immunoassay (MIA) using the NS1 proteins of DENV1-DENV4, ZIKV and West Nile virus (WNV) to test samples from reverse-transcription-polymerase-chain reaction-confirmed cases, including primary DENV1, DENV2, DENV3, WNV and ZIKV infections, secondary DENV infection, and ZIKV infection with previous DENV infection. Combination of four DENV NS1 IgG MIAs revealed a sensitivity of 94.3% and specificity of 97.2% to detect DENV infection. The ZIKV and WNV NS1 IgG MIAs had a sensitivity/specificity of 100%/87.9% and 86.1%/78.4%, respectively. A positive correlation was found between the readouts of enzyme-linked immunosorbent assay and MIA for different NS1 tested. Consistent with our previous reports (Tsai et al. Clin Infect Dis 2017, 65:1829-1836; Emerg Infect Dis 2018, 24: 1355-1359), secondary DENV infection panel cross-reacted to ZIKV NS1 in IgG MIA, and ZIKV infection with previous DENV infection panel recognized both DENV and ZIKV NS1. Based on the ratio of relative median fluorescence intensity of ZIKV NS1 to DENV1 NS1, the IgG MIA can distinguish ZIKV infection with previous DENV infection and secondary DENV infection with a sensitivity of 88.9–90.0% and specificity of 91.7–100.0%. The multiplex and high-throughput assay could be applied to serodiagnosis and serosurveillance of DENV, ZIKV and WNV infections in endemic regions.

Recent Publications (minimum 5)

1. Tsai WY, Youn HH, Brites C, Tsai JJ, Tyson JJ, Pedroso C, Drexler JF, Stone M, Simmons G, Busch MP, Lanteri M, Stramer SL, Balmaseda A, Harris E, Wang WK. Distinguishing secondary dengue virus infection from Zika virus infection with previous dengue by combination of three simple serological tests. Clin Infect Dis. 2017;65:1829-1836.

2. Tsai WY, Youn HH, Tyson J, Brites C, Tsai JJ, Pedroso C, Drexler JF, Balmaseda A, Harris E, Wang WK. Use of urea wash ELISA to distinguish Zika and dengue virus infections. Emerg Infect Dis. 2018;24:1355-1359.

3. Tyson J, Tsai WY, Tsai JJ, Brites C, Mässgård L, Youn HH, Pedroso C, Drexler JF, Stramer SL, Balmaseda A, Harris E, Wang WK. Combination of non-structural protein 1-based enzyme-linked immunosorbent assays can detect and distinguish various dengue virus and Zika virus infections. J Clin Microbiol. 2019;57: e01464-18.

4. Tyson J, Tsai WY, Tsai JJ, Mässgård L, Stramer SL, Lehrer AT, Nerurkar VR, Wang WK. A high-throughput and multiplex microsphere immunoassay based on non-structural protein 1 can discriminate three flavivirus infections. PLoS Negl Trop Dis. 2019;13:e0007649.

5.Tsai JJ, Liu CK, Tsai WY, Liu LT, Tyson J, Tsai CY, Lin PC, Wang WK. Seroprevalence of dengue in two districts of Kaohsiung city after the largest dengue outbreak in Taiwan since world war II. PLoS Negl Trop Dis. 2018;12:e0006879.

6. Herrera BB, Tsai WY, Brites C, Luz E, Pedroso C, Drexler JF, Wang WK*, Kanki PJ*. T cell responses to nonstructural protein 3 distinguish infections by dengue and Zika viruses. mBio. 2018;9: e00755-18. (*corresponding authors)

# 7. Tsai WY, Chen HL, Tsai JJ, Dejnirattisai W, Jumnainsong A, Mongkolsapaya J, Screaton G, Crowe JE Jr, Wang WK. Potent neutralizing human monoclonal antibodies preferentially target

# mature dengue virus particles: implication for novel strategy of dengue vaccine. J Virol. 2018; 92: e00556-18.

Biography (150 word limit)

Dr. Wei-Kung Wang received his M.D. from National Taiwan University in 1986 and Sc.D. from Harvard School of Public Health in 1995. He is currently Professor at the Department of Tropical Medicine, Medical Microbiology and Pharmacology at the University of Hawaii at Manoa. His research focuses on dengue and other flaviviruses, virus-like particles, antibody response and vaccine development. He has published more than 65 papers in peer-review journals and has been serving on various panels of NIH grant review as well as guest editor of reputed journals as such PLoS Negl Trop Dis.

Email: wangwk@Hawaii.edu

Notes/Comments: