Intraoperative Aberrometry (ORA) Versus Conventional Biometry for IOL Power Selection: A prospective observational study from a tertiary referral centre

Abstract

# Cataract surgery has acquired the status of refractive surgery at present time. Proper selection of intraocular lens based on preoperative biometry has utmost importance. Till now optical biometry were considered gold standard methods. Intraoperative wavefront aberrometry i.e. Optiwave refractive analysis (ORA) (Alcon, Fort Worth, TX, USA) system, is an established method for IOL power calculation for astigmatism and post refractive surgery cases in literature. There is not much data in literature comparing aberrometry with conventional methods in monofocal IOLs.

# Clinical Practice:

# This is prospective observational study done at tertiary care centre

# Methods:

Patients planned for phacoemulsification by a single surgeon under topical anaesthesia were enrolled. All patients underwent preoperative biometry (Manual SRK-II and IOLMaster® 500); and intraoperative Aberrometry using ORA; however, IOL was inserted according to IOLMaster® (SRK/T). Spherical Equivalent (SE) was recorded on postoperative day 1,7 and 30. Patients were divided into three axial length groups for analysis. Comparative analysis was done of the calculated IOL powers and prediction errors of ORA with conventional methods. Adjusted IOL power to calculate the emmetropic IOL using the LiHue formula was also determined and was compared with existing methods.

Results:

A total of 115 eyes from 113 patients were included, with a median age of 54.90±14.3 years. The mean axial length was found to be 23.94±2.3mm. There was good agreement (87%) between ORA and IOLMaster® for calculated IOL powers with a mean difference of 0.047±0.5D between the two (P=0.33). A positive correlation was found between IOL power calculated using ORA, IOLMaster®, SRK-II and adjusted IOL.

Conclusions:

The use of intraoperative aberrometry (ORA) to calculate IOL power in patients undergoing uncomplicated phacoemulsification does not appear to provide significant benefit relative to standard preoperative measurement and planning.

Recent publications:

Fram NR, Masket S, Wang L. Comparison of intraoperative aberrometry, OCT-based IOL formula, haigis-L, and masket formulae for IOL power calculation after laser vision correction. Ophthalmology. 2015;122(6):1096-1101. doi:10.1016/j.ophtha.2015.01.027

Hatch KM, Woodcock EC, Talamo JH. Intraocular lens power selection and positioning

with and without intraoperative aberrometry. J Refract Surg. 2015;31(4):237-242.

doi:10.3928/1081597X-20150319-03

Huelle JO, Druchkiv V, Habib NE, Richard G, Katz T, Linke SJ. Intraoperative

aberrometry-based aphakia refraction in patients with cataract: Status and options. Br J

Ophthalmol. 2017;101(2):97-102. doi:10.1136/bjophthalmol-2015-307594

Tannan A, Epstein R, Virasch V, Majmudar P, Faron C, Rubenstein J. Utility of

intraoperative wavefront aberrometry in post-refractive cataract patients. Invest Ophthalmol

Vis Sci. 2013;54(15):3004

Yesilirmak N, Palioura S, Culbertson W, Yoo SH, Donaldson K. Intraoperative wavefront

aberrometry for toric intraocular lens placement in eyes with a history of refractive

surgery. J Refract Surg. 2016;32(1):69-70. doi:10.3928/1081597X-20151210-02

Biography:

Sandhya Gaur has passed MD Ophthalmology from Dr. Rajendra Prasad Centre for

Ophthalmic Sciences, AIIMS New Delhi. She is currently pursuing her fellowship in Retina

from Eye Q Hospital, Gurgaon.

Email: dr.sandhyagaur@gmail.com