5rd International Conference on Renewable Energy & Emerging Technologies, November 21-22, 2022 London, UK

Using geothermal energy in membrane distillation process application using a novel ceramic membrane for Brackish water desalination

Saad A. Aljlil,

National Centre for Water Technology (NCWT), King Abdulaziz City for Science and Technology (KACST), P. O. Box 6086 Riyadh, Kingdom of Saudi Arabia

# Abstract (600 word limits)

Membrane distillation (MD) is a useful technology for water desalination possible at low temperatures using inexpensive membranes offering high salt rejection. Therefore, in the present study, economically and eco-friendly Saudi red clay, tetraethyl orthosilicate, ammonia, and sodium alginate powder as a binder were used to fabricate a ceramic membrane for membrane distillation using deothermal energy for heating the feed water to 70 oC. The prepared membrane was tested using a vacuum membrane distillation (VMD) process and showed promising permeate flux and salt rejection results. The membrane was characterised by SEM, mechanical testing, contact angle, pore size distribution analysis, and VMD tests were performed using deionised water, magnesium sulphate solution, sodium chloride solutions, and hot raw well water. An average flux of 13.10 kg/(m2∙h) with 98.96% rejection was obtained using raw well water. During continuous well water desalination tests, the membrane exhibited a stable performance for 4 h. The average flux decreased by 16.5% after 10 h, possibly owing to fouling because of salts and suspended solids. The membrane performance was recovered after the saltwater tests by applying a known cleaning procedure.

# Biography (200 word limit)

Research Professor, King Abdulaziz City for Science and Technology (KACST) – KSA

Dr. Saad Aljlil is a Full Research Professor at the National Center for Desalination & Water Treatment Technology, KACST.  He received his Ph.D. in Chemical Engineering from Syracuse University, the USA in 2005. His research interests include membrane synthesis, water desalination, industrial wastewater treatment, and adsorption Technology for the removal of trace elements, heavy metals, and dyes from waste effluents.  He has published more than 60 scientific research papers in international journals and conferences.  In addition to the above, he also published four scientific books and has 20 patents.  He is the editor-in-chief of Applied Water Science.  Dr. Saad was also awarded -The Prize of the Custodian of the Two Holy Mosques, King Abdullah bin Abdulaziz to honor inventors and talented "Takreem" - A prestigious Award in Saudi Arabia during 2013.

https://renewableenergy.euroscicon.com

# References

[1] S.A. Al-Jlil, Apparatus and process for desalination of brackish water, US patent 8,147,697 B2, 2012 April 3.

[2] M. Scheer, B. Lamberth, P. Maurer, J. Sommer, Membrane distillation – a low power technology for desalination, Fourth International Water Technology Conference IWTC 99, Alexandria, Egypt,5-8 March 1999, 153-170

[3] L. Eykens , K. D Sitter, L. Stoops, C. Dotremont, L. Pinoy, B. Van der Bruggen, Development of polyethersulfone phase-inversion membranes for membrane distillation using oleophobic coatings, J. Appl. Polym. Sci. 2017, DOI: 10.1002/APP.45516, 1-11

[4] B. Zhu, B. Li, L. Zou, A.J. Hill, D. Zhao, J.Y.S. Lin, M. Duke, Functional zeolitic framework membranes for water treatment and desalination, In: M. Duke, D. Zhao, R. Semiat, editors, Functional Nanostructured Materials and Membranes for Water Treatment, Weinheim: Wiley, 2013, p. 217–242, https://doi.org/10.1002/9783527668502.ch9.

[5] L.M. Camacho, L. Dumée, J. Zhang, J.D. Li, M. Duke, J. Gomez, S. Gray, Advances in membrane distillation for water desalination and purification applications, Water 5 (1) (2013) 94–196, https://doi.org/10.3390/w5010094.

[6] K.P. Lee, T.C. Arnot, D. Mattia, A review of reverse osmosis membrane for desalination-development to date and future potential, J. Membr. Sci. 370 (1–2) (2011) 1–22, https://doi.org/10.1016/j.memsci.2010.12.036.

[7] J. Caro, M. Noack, P. Kolsch, Zeolite membranes: from the laboratory scale to technical applications. Adsorption 11 (3–4) (2005) 215–227, https://doi.org/10.1007/s10450-005-5394-9.

[8] Y. Morigami, M. Kondo, J. Abe, H. Kita, K. Okamoto, The ﬁrst large-scale pervaporation plant using tubular-type module with zeolite NaA membrane, Sep. Purif. Technol. 25 (1–3) (2001) 251–260, https://doi.org/10.1016/S1383-5866(01)00109-5.

[9] L.X. Li, J.H. Dong, T.M. Nenoff, R. Lee, Desalination by reverse osmosis using MFI zeolite membranes, J. Membr. Sci. 243 (1–2) (2004) 401–404. https://doi.org/10.1016/j.memsci.2004.06.045.

[10] L. Li, N. Liu, B. McPherson, R. Lee, Influence of counter ions on the reverse osmosis though MFI zeolite membranes: implications for produced water desalination, Desalination 228 (1–3) (2008) 217–225, https://doi.org/10.1016/j.desal.2007.10.010.