CDRH-on-a-Chip: Advancing Medical Device Innovation with Microfluidics

Rucha Natu, Luke Herbertson, Suvajyoti Guha

Division of Applied Mechanics, Office of Science and Engineering Laboratories (OSEL), Center for Devices and Radiological Health (CDRH), U.S. Food and Drug Administration (FDA)

The multi-disciplinary field of microfluidics, popularly called lab-on-a-chip, is expanding, with recent technological advancements now enabling the commercialization of microfluidic medical devices [1], [2]. Exciting microfluidics research is being done in diverse areas of early cancer detection via liquid biopsy [3], target cell separation and enrichment [4], and point-of-care diagnostics [5]. The objective of this presentation is to discuss three key steps that FDA’s Center for Devices and Radiological Health (CDRH) is taking to advance microfluidics-based medical devices: (i) facilitating innovation, (ii) understanding new technologies and applications, and (iii) developing test methodologies for supporting device evaluation.

To facilitate innovation, FDA encourages companies to engage with us early in their product lifecycle. By incorporating a regulatory perspective in the design process through early interactions with FDA, before device design is finalized, high-quality medical devices have a greater likelihood to be on the U.S. market faster and more efficiently. Such interactions can also help companies avoid common pitfalls and device complications. For microfluidics to be an effective technology in the biomedical field and for us to better understand technology in the development pipeline, FDA would like to gather real-world data from health-care providers, end-users of devices, manufacturers and academia. By understanding the knowledge gaps and modes of failure in microfluidic devices, we can start to identify commonalities between different device types that may lead to development of standardized test methodologies and technical guidelines. Currently, our research efforts are focused on identifying challenges, assessing quality control and characterizing flow phenomena in cell sorting microfluidic systems.  By designing, fabricating and testing microfluidic devices in our laboratory, we are uniquely positioned to support this high-impact and fast-growing industry.  We are interested in strengthening collaborations in the microfluidics community to ensure that novel, safe and effective medical devices are readily available to patients in the U.S.

References

| [1] | A. V. D. Berg, "Labs on a chip for health care applications," , 2010 |
| --- | --- |
| [2] | A. V. D. Berg and L. I. Segerink, "Microfluidics for medical applications," , 2014 |
| [3] | N. Hao and J. X. Zhang, "Microfluidic Screening of Circulating Tumor Biomarkers toward Liquid Biopsy," Separation and Purification Reviews, vol. 47, no. 1, pp. 19-48, 2018. |
| [4] | C. W. Shields, C. D. Reyes and G. P. Lopez, "Microfluidic Cell Sorting: A Review of the Advances in the Separation of Cells from Debulking to Rare Cell Isolation," Lab on a Chip, vol. 15, no. 5, pp. 1230-1249, 2015. |
| [5] | S. Smith, D. Mager, A. Perebikovsky, E. Shamloo, D. J. Kinahan, R. . Mishra, S. M. T. Delgado, H. Kido, S. Saha, J. Ducrée, M. J. Madou, K. Land and J. G. Korvink, "CD-Based Microfluidics for Primary Care in Extreme Point-of-Care Settings," Micromachines, vol. 7, no. 2, p. 22, 2016. |