# Determination of tenofovir in human plasma by liquid chromatography with electrospray ionization tandem mass spectrometry and its application for bioequivalence study

Yahdiana Harahap1, Budi Prasaja2, Windy Lusthom2, Anna Sofiana2, Andriana Fier2

1Faculty of Pharmacy Universitas Indonesia

2Clinisindo Laboratories, Jl Ulujami Raya No. 12, Jakarta Selatan, Indonesia

### Abstract (300 word limit)

### A sensitive and selective liquid chromatography/tandem mass spectrometry (LC-MS/MS) method has been developed and validated for determination of tenofovir concentration in human plasma using acyclovir as an internal standard (IS). Tenofovir and acyclovir were extracted from human plasma sample by protein precipitation using methanol : acetonitrile (1:1). The analytical separation was performed on a Luna 3µ HILIC 200Å, 50 x 2.00 mm, (Phenomenex®, USA) and protected by guard column AQ C18, 4 x 2.0 mm (Phenomenex®,USA). The mobile phase was used gradient of  methanol : acetonitrile (1:1) and Ammonium acetate 10mM, pumped 0.6 mL/min. The analyses were carried out by multiple reaction monitoring (MRM) in positive mode using the precursor-to-product combinations of m/z 288.238 > 176.034 for tenofovir and m/z 226.105 > 152.018 for IS.

### The method had a chromatographic run time of 5 min and linear calibration curve over the range of    10 – 600 ng/mL with a correlation coefficient (r) of 0.995 or better. The sensitivity, specifity, linearity, precision and accuracy, recovery, matrix effect, and stability were validated for tenofovir in human plasma. The method can be successfully used in bioequivalence study of tenofovir.
Image

Figure 1. Mean plasma concentration-time profiles of tenofovir after a single dose of two 300-mg tenofovir film-coated tablets of two different formulations.

Recent Publications (minimum 5)

- Prasaja B, Harahap Y, Lusthom W, Sofiana A, Safira F, Sandra M, Puspanegara G (2019) Study on bioequivalence of beraprost in healthy volunteers by liquid chromatography with tandem mass spectrometry. Biomedical Chromatography feb;33(2):e4403 doi 10.1002/bmc.4403

- Novi Y, Yahdiana H, Rianto S, Wahono S (2018) Pilot Study of Isoniazid Acetylation in Melanesian Healthy Subject from Indonesia. Journal of Young Pharmacists. 10(2) : 140-144

- Yahdiana H, Fauzan A, Ghina A, Rahmayanti (2018) Analysis of Rifampicin in Dried Blood Spot of Tuberculosis Patients for Therapeutic Drug Monitoring using High Performance Liquid Chromatography. Journal of Young Pharmacists 10(1) : 48-51

- Harahap Y, Prasaja B, Lusthom W, Yusvita LY, Sinandang T, Hardiyanti (2018) A bioequivalence study of quetiapine 25 mg film-coated tablets in healthy Indonesian subjects. International Journal of Clinical Pharmacology and Therapeutics. 56(1):38-42.

- Yahdiana H, Norma A, Harmita (2018) Method Development and Validation of Lercanidipine in Human Plasma by Liquid Chromatography Tandem Mass Spectrometry. International Journal of Applied Pharmaceutics. 10 (4): 87-91

- Supandi, Yahdiana H, Harmita, Rizka A (2018) Quantification of 6-Mercaptopurine and Its Metabolites in Patients with Acute Lympoblastic Leukemia Using Dried Blood Spots and UPLC-MS/MS. Scientia Pharmaceutica. 86(2): 1-8

- Yahdiana H, Santi P, Harmita, Rina R, Krisnasari D, Witri S, Siti F (2016) Quantification of atorvastatin in human plasma by liquid chromatography tandem mass spectrometry and Its Application for Bioequivalence Study of Three Formulations. Asian Journal of Pharmaceutical Sciences II, 11(1):66-67

Biography (150 word limit)

Dr. Yahdiana Harahap is a Professor in the field of Pharmaceutical Chemistry especially Bioanaysis related to bioequivalence study and DNA Adduct. She received her Master Degree in 1994 and Doctoral degree in 2003 from Department of Pharmacy, Faculty of Mathematics and Natural Sciences, Institute Teknologi Bandung. She has been The Head of Bioavailability-Bioequivalence Laboratory Faculty of Pharmacy Universitas Indonesia since 2008. She serves as member of Expert Council Indonesian Pharmacist Association, reviewer in several international journals, President elected on Asian Federation of Pharmaceutical Science, Head of Sub Collegium Indonesia Pharmaceutical Industry and as The Head of Pharmacy Division in Indonesian Accreditation Agency for Higher Education in Health (LAM PT-Kes). She has generated more than 80 scientific works published in international and national journals, thus presented them in national and international conferences.

Email: yahdiana03@yahoo.com / yahdiana14@gmail.com

Notes/Comments: