Sensors integrated in blood brain barrier on a chip

Sujey Palma Florez2,3, Anna Lagunas1,2, Mònica Mir1,2,3, Josep Samitier1,2,3

1 Centro de Investigación Biomédica en Red en Bioingeniería, Biomateriales y Nanomedicina (CIBER-BBN), Monforte de Lemos 3-5, Pabellón 11, 28029 Madrid, Spain 2Nanobioengineering Group, Institute for Bioengineering of Catalonia (IBEC) Barcelona Institute of Science and Technology (BIST), Baldiri i Reixac, 08028 Barcelona, Spain.3 Department of Electronics and Biomedical Engineering, University of Barcelona, Martí i Franquès 1, 08028 Barcelona, Spain

### Abstract (300 word limit)

### Nanotechnology is a cutting-edge field that extends different possibilities for the study and treatment of different diseases. In this work the most widespread neurodegenerative disease, Alzheimer disease (AD), has been studied under Blood Brain Barrier (BBB) in vitro model.  An alternative animal-free in vitro model has been developed for a low cost, easy to work system that simulate the main drug access to the brain, the BBB, by means an Organ-on-a-chip devices [1]. The permeability of the BBB is the main issue to deal when a drug needs to cross this barrier. Moreover, in many neurodegenerative diseases (NDDs) the BBB permeability is strongly affected by vascular and inflammatory problems derived from the NDD. These changes on permeability has to be included in the BBB on a chip to correctly mimic an affected BBB by a specific NDD.

### In this work a novel technology combining sensor and actuator was integrated in a BBB on a chip to. The sensor permits to characterize in real time the barrier permeability by Transepithelial/transendothelial electrical resistance (TEER) [2]. Moreover, the actuators were parallelly patterned on each sides of the barrier to electrically tuning the barrier permeability. The BBB on a chip was fabricated and the cells seeded combining a 3D co-culture of human astrocytes and pericytes inside the  hydrogel in one channel, to simulate the brain interstitial fluid (ISF) and then endothelial cells in the parallel channel to growth up the vascular barrier generated by this cells. Confocal fluorescence microscope was used in combination with immunostaining to characterize the formed cells barrier and to show the correct development of tight junctions between the adjacent brain endothelial cells.

Recent Publications (minimum 5)

- S Teller, IB Tahirbegi, M Mir, J Samitier, J Soriano, Magnetite-Amyloid-β deteriorates activity and functional organization in an in vitro model for Alzheimer’s disease, Scient. Rep. 26 (5), 2015, 17261-16.

- IB Tahirbegi; WA Pardo, M Alvira, M Mir, J Samitier, Amyloid Aβ42, a promoter for magnetite nanoparticles formation in Alzheimer’s disease, Nanotechnology, 2016, 27, 465102-465109

- J Pérez, S Dulay, M Mir, J Samitier, Molecular architecture for DNA wiring, Biosensors & Bioelectronics, 2018, 121 (15) 54-61

- José Marrugo-Ramírez, Mònica Mir¥*, Josep Samitier¥*, (*Equally senior contribution), Blood-based cancer biomarkers in liquid biopsy: A promising non-invasive alternative to tissue biopsy, International Journal of Molecular Science, 2018, 19 (10), 2877.

- L Rivas, S Dulay, S Miserere, L Pla, S Berdún-Marin, J Parra, E Eixarch, E Gratacós, M Illa, M Mir¥*, J Samitier¥ ((¥Equally senior contribution) Micro-needle implantable electrochemical oxygen sensor: ex-vivo and in-vivo studies, Biosensors & Bioelectronics, 2020, 153, 112028-112036

Biography (150 word limit)

Dr. Mònica Mir received the Degree in Chemistry from University Rovira i Virgili, Spain in 1998. In 2006 she received her PhD in biotechnology in the same University. She realized different predoctoral stages at the Institute of Microelectronic in Demokritos, University of Bath and National Hellenic Research Foundation. From 2007, she held a postdoctoral position in Max Planck Institute for Polymer Research, Germany. Since 2008, she joins the Institute for Bioengineering of Catalonia (IBEC), Spain as Senior CIBER researcher, combined with her teaching as associate professor in the University of Barcelona. Along her carrier she was managing European, National and industrial research projects, supervising PhD ad Master students and collaborating in congresses organization as coordinator and scientific committee. Her main scientific interests are focused on electrochemical biosensor, integrated in lab-on-a-chip and point of care technologies, implantable sensors, organ-on-a-chip for biomedical applications.

Email: mmir@ibecbarcelona.eu

Notes/Comments: