Flowcytometry: Principle, Interpretation of result and its role in solid tumors

Principle: Flowcytometer is equipment which has become an integral part for the diagnosis of hematolymphoid malignancies. The word ‘flow’ means to pass, ‘cyto’ means cell & ‘metry’ means measurement. The flowcytometry is the passage of cells in single file (line or row) in front of a laser to be detected, counted and sorted. Cells labeled with fluorochrome are striked by laser to emit light (fluorescence) at varying wavelengths. Fluorescence (photon) is filtered and collected to convert the result into a digitalized (numerical) value. The reading is done by specialized software. Cells of interest flow through a liquid stream. The speed of flow of cell is higher than the speed of fluid carrying the cell (sheath fluid). This results into arrangement of cells in a single line (single file). This mechanism is called Hydrodynamic focusing. Up to 50000 cells per second can be measured, but the normal throughput is 1000 – 10000 cells/ sec (1). Detectors of photons are called photomultiplier tube. The detector placed in the line of light beam measures Forward Scattering (FSC) [size] and that of placed perpendicular to the light stream measures Side Scattering (SSC) [granularity, nuclear structure]. For all practical purposes cells falling in the range of 3-20 µ in diameter can be analyzed (2).  Identification of rare cells at frequencies as low as 0.0001% has been reported (3).

Information about physical and chemical structure of cells is gathered, which is used in diagnosis of diseases. Samples used are bone marrow, blood, body fluid and tissue. For tissue dissociation of cell are required to separate it in to single cell. Equipment for Tissue dissociation is available commercially.  For example GgentleMACS™ OctoDissociator

Getting numerical values: Detectors collect photon, gets converted into electrical energy (current) to give a digitized value through “Analog to Digital Converter”. Simply the detector is left to emit the photons. The time taken by the detector to emit all the photons gives a numerical value. This can be plotted on a graph. Common soft wares in used are Caluja, CellQuest, Flowjo, FCS Express (FCS: Fluorescence activated cell sorting), etc.

Uses of Flowcytometer: Immunophenotyping to differentiate Acute leukemia into  Lymphoid/ myeloid/biphenotypic/bilineage. In Lymphoid malignancies, whether it is T-cell or B-cell. It has numerous uses in research work like DNA cell cycle/tumor ploidy, Chromatin structure, Total protein, lipids, surface charge, Enzyme activity, DNA synthesis, DNA degradation, Gene expression etc.

Comparison with Immunohistochemistry (IHC):

Cytometry (IHC):

- Localization of antigen is possible: Nuclear / cytoplasmic,

- Poor enumeration of cell subtypes

- Simultaneous measurements of cells not possible

FlowCytometry (FCM):

- Cannot tell you where the antigen is, whether nuclear or cytoplasmic?

- Can analyze many cells in a short time

- Can look at numerous parameters at once

To summarize, in present era, FCM has become a necessity of a laboratory, which has been dealing with hematolymphoid malignancy. No therapy of a case of leukemia can be even imagined without having facility of Flowcytometry. As all the chemotherapeutic agents are having serious side effect. So without getting correct diagnosis chemotherapy can’t be started.

1. Mittag A, Tarnok A; Perspective in cytometry; Chapter 1; Book- Advanced Optical Flow 
Cytometry: Methods and Disease Diagnoses, edited by Valery V. Tuchin; Wiley Publishers, 
2011

2. Gilbraith DW; Isolation and flowcytometric characterization of plant protoplast; Book, 
Methods in Cell Biology, Vol 33; Edited by Zbigniew Darzynkiewicz and Harry A. Crissman; 
Acdemic Press, INC; P. 528 (1990).

3. https://www.thermofisher.com

Contributed by:

Dr Amar Ranjan, Assistant Professor, DR.BRAmbedkar - Institute Rotary Cancer Hospital, All India Institute of Medical Sciences, New Delhi – 110029

E MAIL: dr.amarranjan@rediffmail.com

Biography

Dr Amar Ranjan (MD, Pathology) is working as Assistant Professor in Lab Oncology in the top most Cancer Institute of India. He has keen interest in Hemato-oncology. He actively participates in oral and poster presentations at International and National levels. He organized a conference on Medical Book Writing in Sept 10, 2016. Currently he has research projects on:

- Role of Thrombopoietin as a marker in sepsis and its correlation with procalcitonin.

- Role of Thrombopoietin as a diagnostic and prognostic marker in ovarian cancer.

He has many publications on hematological malignancies. He has many travel awards and also on different oral and poster presentations. He works as external Examiner in Medical Under Graduate examinations in many Medical Colleges of India. He has experience of working on Dermatopathology, Postmortem Pathology and Blood Banking. He is involved in UG/ PG teaching and promoting research among them.

Biographyfor Department

Dr Amar RanjanSingh (MD, Pathology) is working as Associate Professor, Lab Oncology, Cancer Institute, All India Institute of Medical Sciences, New Delhi. He has been working in Hemato-oncology section. He has ongoing research projects on Ovary & Gastro-intestinal cancer.

Research works:

- “Role of Thrombopoietin as a marker in sepsis in gastrointestinal malignancy” funded by AIIMS, New Delhi – completed

- “Role of HE4 (human epididymal protein 4) as a diagnostic and prognostic marker in ovarian cancer”, Aug 2017 – 2020, funded by Indian Council of Medical Research, New Delhi

- “Prognostic evaluation of thrombopoietin following surgery in gastrointestinal cancer patients”, Sept 2018-19, funded by Oncology Forum, New Delhi,

- Analysis of expression of biomarkers in ovarian cancer, 2019-2021, funded by AIIMS, New Delhi

He is involved in publications and fellowship activities. He is involved in Medical teaching. He has certain ongoing works on Postmortem Pathology too. He is a reviewer of Indian Journal of Dermatology, a pubmed indexed journal.