# Vapor-phase butane nitration product analysis by parallel column gas chromatography

R.M.Bethea

Chemical Engineering Department, Iowa State University of Science and Technology, Ames, Iowa U.S.A.

## Abstract

A routine gas chromatographic analytical procedure has been developed for the reaction products of a vapor-phase butane nitrator. Replicate samples are used in 3 columns to give satisfactory quantitative separation of the C1 to C4mononitroparaffins, alcohols, aldehydes, C1 to C4 paraffins, and NO, NO2, CO, CO2, all in the presence of water. Accuracy and precision are at least ±2% of the true value of any component. Carbon and nitrogen material balances of approximately 92% are obtained.