Graphene FET Sensors for Alzheimer’s Disease Protein Biomarker Clusterin Detection

Theodore Bungon1, Shakil A. Awan1*, Carrie Haslam1, Samar Damiati2,3, Benjamin O’Driscoll1, Toby Whitley1, Paul Davey1, Giuliano Siligardi4 and Jerome Charmet5

1 Wolfson Nanomaterials and Devices Laboratory, School of Engineering, Computing and Mathematics, Faculty of Science and Engineering, University of Plymouth, Drake Circus, Plymouth, Devon, United Kingdom

2 Department of Biochemistry, Faculty of Science, King Abdulaziz University (KAU), Jeddah, Saudi Arabia

3 Division of Nanobiotechnology, Department of Protein Science, Science for Life Laboratory, School of Engineering Sciences in Chemistry, Biotechnology and Health, KTH Royal institute of Technology, Stockholm, Sweden

4 Diamond Light Source, Rutherford Appleton Laboratory, Oxfordshire, United Kingdom

5 Institute of Digital Healthcare, WMG, University of Warwick, Coventry, United Kingdom

* Correspondence: 
Shakil Awan
shakil.awan@plymouth.ac.uk

Abstract:  The prevalence of Dementia is rapidly growing across the world due to an aging population. There are approximately 50 million people currently living with Dementia worldwide and it is estimated that every year 9.9 million people will develop the disease. The number of people living with Dementia is expected to rise to 130 million by 2050. There are over 130 different types of Dementia and Alzheimer’s disease (AD) is the most common type, affecting between 50-75% of those diagnosed with Dementia. AD can only be diagnosed through a careful and comprehensive medical evaluation, which involves different types of tests ranging from laboratory tests, psychiatric evaluation, neurological evaluation, cognitive tests and brain scans such as CT scans, PET scans and MRI. These tests are time consuming, often takes up to 2 years to complete and they are expensive, the need for a low-cost, accurate, non-invasive and portable means of diagnosing AD at an early stage is of high importance. We report on the fabrication of Graphene field-effect transistor (GFET) Biosensors for detecting Clusterin, Alzheimer’s disease protein biomarker. The GFET sensors were fabricated on Si/SiO2 substrate through processes of photolithographic patterning and metal lift-off techniques with evaporated chromium and sputtered gold contacts. Raman Spectroscopy was performed on the sample to determine the quality of the graphene and to estimate the number of layers. The GFET was annealed to improve its performance before its channels were functionalized by immobilising the graphene surface with a linker molecule and anti-clusterin antibody, the detection was achieved through the binding reaction between the antibody and varying concentrations of Clusterin antigen from 1 pg/mL to 100 pg/mL, as well as specificity tests using human chorionic gonadotropin (hCG), a glycoprotein risk biomarker of certain cancers. The GFETs were characterized using direct current (DC) 4-probe electrical resistance (4-PER) measurements, which demonstrated a limit of detection of the biosensors to be ~ 210 fg/mL (2.8 fM). Thus, we have successfully fabricated a promising GFET biosensor for detection of Clusterin, the developed GFET biosensors are entirely generic and also have the potential to be applied to a variety of other disease detection applications such as Parkinson’s, cancer and cardiovascular.

Keywords: Dementia; Alzheimer’s disease; Clusterin; graphene; FET; biosensor; diagnosis; electrical detection; biomarkers; absorbance spectroscopy