Improving Post-Insertion Implant Complications With Digital Occlusion Technology

Robert B. Kerstein, DMD

Former Assistant Clinical Instructor in the Department of Restorative Dentistry, Tufts University School of Dental Medicine, Boston, MA, USA

Excessive occlusal forces can lead to damaged teeth, fractured dental restorations, implant complications, and untoward patient responses following restorative treatment. Whether building a prosthetic case with analog or digital methods, problems at insertion, and sometimes soon after the patient uses their new prosthesis, are quite common in daily dental practice. Implementing one of the available Computerized Digital Occlusion technologies at prosthetic case insert, to locate, target and remove excessive occlusal contact forces and time–premature contacts, helps minimize post-insertion occlusal complications for both the patient, AND the doctor. This presentation will detail the three available Digital Occlusion systems (T-Scan 10 – Tekscan, USA; Occlusense I – Bausch, GmbH; Innobyte - Kube Innovations, Canada), and illustrate the many outcome improvements Digital Occlusion brings to case installation. Recently published research will showcase that Digital Occlusal Indicators reduced post-insert implant complications by 10 times over articulating paper insertions, validating Digital Occlusion technology controls destructive implant occlusal forces.1

- Lerner, H., Mangano, C., Luongo, G., Mangano, A., Luongo, F., Van Stralen, K., Kerstein, R.B., & Radke, J, (2024). Implant Complications After Installation with Traditional Vs Digital Occlusal Indicators. Advanced Dental Technologies & Techniques. Published online February 13, 1-15.

Learning Objectives

After this course attendees will be able to:

- Recognize the differing Digital Occlusion technology options available for use in dental practice

- Understand how Digital Occlusion technology measures occlusal forces and timing, and can guide insertion occlusal adjustments, improving occlusal outcome predictability

- Discover the known limitations of articulating paper and shim stock, and why intraoral scanners cannot replace Digital Occlusal technology during case insertions.

- Visualize how digital occlusion technology detects unbalanced occlusal forces despite the clinician having made traditional occlusal adjustments

- Realize that installing new restorations with traditional occlusal indicators can result in compromised occlusal force and timing outcomes that lead to complications

- See how to install a precisely and measured occlusal force balance, with a protective low force profile that enhances restorative longevity, and improves patient acceptance to a newly installed occlusion.

Disclosure

Dr. Kerstein does not have any financial relationships with industry, commercial supporters, or conflicts of interest with the presented material.

Dr. Kerstein has no financial arrangement with any dental company and receives no compensation for sales of any dental product.

Dr. Robert B. Kerstein received his D.M.D. degree in 1983, and his Prosthodontic certificate in 1985, both from Tufts University School of Dental Medicine.  From 1985 - 1998, he maintained an appointment at Tufts teaching Fixed and Removable Prosthodontics.  In 1984, Dr. Kerstein began studying the original T Scan I technology, and since that time has studied T-Scan II, T-Scan III, T-Scan VII, T-Scan 8, T-Scan 9, and the present-day T-Scan 10 Novus technology.

Over the past 41 years, Dr. Kerstein has published many research studies using all versions of the T Scan. He has become the leading authority and researcher in the field of Computerized Occlusal Analysis. His findings have been published in the Journal of Prosthetic Dentistry, the Journal of Craniomandibular and Sleep Practice, Quintessence International, Practical Periodontics and Aesthetic Dentistry, the Journal of Computerized Dentistry, the Compendium of Continuing Education, the Journal of Implant Advanced Clinical Dentistry, Cosmetic Dentistry, and Advanced Technologies and Techniques.

A pioneer and academic science advocate for digital occlusal technology, Dr. Kerstein teaches a measured system which greatly improves the success of bite-related procedures commonplace in every dental practice.