No More Blades, Scars, or Scares:

One year experience of Micropulse cyclophotocoagulation

Ihab Ibrahim Massad, MD

Eye Specialty Hospital, Amman, Jordan

PURPOSE To review results of G6 micropulse cyclophotocoagulation (MCP) of patients with different causes of  glaucoma.

METHODS Patients underwent MCP were identified from the surgical database and retrospectively reviewed. Data was collected on the gender, laterality, age at surgery, previous surgical procedure, and postoperative outcomes.

RESULTS There were 67 eyes of 48 patients. Male to female ratio is 2:1. The mean age at time of procedure: 51.3 years. 73% of  patients required previous interventions.  Mean follow-up period was 8.10 months. Total . Mean IOP dropped from 34.70 +/- 6.10 to 16.30 +/-5.20. One eye needed glaucoma drainage device. 5 eyes needed repeat same procedure. No complications were reported except of transient iritis in 7 eyes.

CONCLUSIONS The majority of patients who underwent  MCP had good outcomes. MCP is a promising, safe, and non invasive approach to patients with different types of glaucoma.