Title: Development of immunosensor for the determination of immunoglobulins against Tick-Borne Borreliosis

Dorozhko EV1, Lunev NA1, Korotkova EI1, Lipskikh OI1, Voronova OA1, Saqib M1, Kratochvil B2

1Division of Chemical Engineering, School of Earth sciences & Engineering, Tomsk Polytechnic University, Tomsk, Russia

2Department of solid-state chemistry, University of Chemistry and Technology, Prague, Czech Republic

Keywords: immunosensor, conjugate, immunoglobulins, Tick-Borne Borreliosis, silver nanoparticles

- Abstract Body

Borreliosis or Lyme is a fairly common disease caused by bacteria of the genus Borrelia. For the detection of specific immunoglobulins G to ixodid tick-borne borreliosis pathogens ELISA, PCR and biosensor methods are widely used. Due to express detection with high sensitivity and specificity, immunosensors attract considerable attention for the disease diagnosis.

In this work, we injected silver nanoparticles (Ag NPs) into a commercial peroxidase conjugate (Ab-HRP) to obtain a new conjugate Ab-HRP@AgNPs with improved properties. The injected silver was used as an electrochemical label in voltammetric determination. After antigen-antibody complex formation in the plate well, the colloidal silver was dissolved in the mixture of HNO3 and CH3COOH and the well content was transferred into the electrochemical cell. The electrochemical signal of silver oxidation was registered by stripping anodic voltammetry at composing carbon-containing electrode in the potential range from -0.1 to +0.6 V. HNO3 and KNO3 mixture was used as supporting electrolyte.

Figure shows stripping voltammograms of silver oxidation from HRP@AgNPs conjugate in the study of control positive (K+) and control negative samples (K-). It can be seen that there is silver oxidation peak from HRP@AgNPs in positive control sample. This indicates the presence of specific antibodies IgG against tick-borne borreliosis and that antigen-antibody complex was formed in the plate well. In negative control sample silver oxidation peak is absent and antigen-antibody complex was not formed.

HRP@AgNPs conjugate was used for determination of IgG against tick-borne borreliosis in blood serum. The results were confirmed by spectrophotometric method.

- Image:

- Reference:

- Hatchette, T.F., Davis, I., and  Johnston, B.L., 2014. Lyme disease: clinical diagnosis and treatment. Can. Commun. Dis. Rep., 40: 194

- Huang, N.L., Ye, L., Lv, H., Du, Y.X., Schneider M., Bin Fan, L., and Du, W.D., 2017. A biochip-based combined immunoassay for detection of serological status of Borrelia burgdorgferi in Lyme Borreliosis.  Clin. Chim. Acta., 472: 13

- Khristunova, Y., Korotkova, E., Kratochvil, B., Barek, J., Dorozhko, E., Vyskocil, V., Plotnikov, E., Voronova, O., and Sidelnikov, V., 2019. Preparation and investigation of Silver nanoparticle-Antibody bioconjugates for electrochemical immunoassay of tick-borne encephalitis. Sensors., 19: 2103

- Biography:

Dorozhko Elena Vladimirovna has completed her PhD from Tomsk Polytechnic University, Tomsk. Dorozhko E.V. is an associate professor in chemical engineering department of Earth sciences & Engineering School in TPU. She has published more than 90 papers in reputed journals. The sphere of scientific interests: analytical chemistry, electrochemistry, biosensors, nanomaterials.

- Presenting author details

Full Name: Elena Vladimirovna Dorozhko e-mal: elena-dorozhko@yandex.ru.

Session name/ number: Polymer & Analytical Chemistry

Category: Poster presentation