Nanobodies-Functionalized Gold Nanoparticles as an Advanced Sensitive Probe for SARS-CoV-2 spike 1 antigen detection

Development of sensitive non-invasive tests for the detection of SARS-CoV-2 antigens is imperative to manage the extent of infection throughout the population is still challenging. Here, we designed and optimized a sandwich enzyme-linked immunosorbent assay (ELISA) protocol for SARS-CoV-2 S1 antigen detection in saliva. Both saliva samples and nasopharyngeal swabs were collected from 170 PCR-confirmed positive and negative cases. Gold nanoparticles (AuNPs) were synthesized, characterized, and efficiently conjugated with S1 protein receptor-binding domain (RBD) nanobodies (single domain antibodies derived from variable immunoglobulin regions).  Recombinant S1 monoclonal antibodies (S1 mAb) as antigen capturing and gold conjugated nanobodies, as antigen detecting probe, were employed in sandwich ELISA.   Our developed system was optimized to achieve 87.5 % sensitivity and 100% specificity for saliva samples compared to 89 % and 100% sensitivity and specificity for nasopharyngeal swabs, respectively. This means that saliva could be a suitable replacement for nasopharyngeal swabs. No cross-reaction was detected with Middle East respiratory syndrome coronavirus (MERS-CoV) or SARS- CoV antigens. These results revealed that our protocol could be established as a new, reliable, sensitive, and non-invasive test for diagnosis of SARS-CoV-2 infection, using the easily collected saliva samples.