# Ureteric bridging with a fully coated stent - a new therapy option

# for severed ureter

Joerg Neymeyer, Sarah Weinberger, Sharon Brecher,  
Diana Elena Moldovan and Thorsten Schlomm

Charitè - Universitätsmedizin Berlin - Germany
Department of Urology
Pelvic Floor Competence Center Charité (PF3C)

### Introduction:

### Ureteral injury is one of the most serious complications of gynecologic and colorectal surgeries. It is often associated with significant morbidity.

### Since 2012, we investigated in our clinic a new technique for ureter reconstruction- use of  the Allium Ureteric Stent (URS)  a metal self-expanding stent which is made of nitinol and covered with a biocompatible, biostable Elast-Eon polymer to make it a nonpermeable tube. These properties contribute for a healing process of the ureter lesion without any subsequent treatment. The stent is inserted minimally invasively using a cystoscope or ureterorenoscope under radiological control using the Seldinger technique.  Before using a stent of cours, it has to be diagnosed whether there is a complete missing ureter part which has to be fully bridged and whether a subsequent treatment is necessary

### Materials and Methods:

### - Retrospective study.

### - 11 patients with ureter injury were treated during 
  05/2016 - 01/2020 use of Allium Ureter Stent (120x10mm,
  200x9mm). Insertion was performed 11x retrograde, 
  4x antegrade under radiological control.

### - 4 had a severed ureter - A “rendezvous maneuver” had to be done.

### - 11 cases- ureterorenoscopes was used in order to connect the severed ureter.

### - Mean surgery time was 36min (21-57min).

### - Average bridging distance was 1.8cm (1.1-6.2cm).

### - Average inpatient stay was 2 days.

### - Follow-up after 2, 4 and 12 weeks

### - The stent was removed after 4 months.

### Results:

### - healing rate of 90.5%

### - There were no complications using URS and grasping forceps.

### - No leakages, discontinuities or scarred strictures were detected.

### - Infection or incrustation of the stent was not detected during stent  insertion nor during follow up period.

### - Patient satisfaction was very high. 

Conclusion:

### Using a fully coated polymeric stent is a good option for treating a damaged ureter. Due to the stent properties wound healing was significantly improved and complete healing was achieved without strictures and subsequent interventions in 90.5%. Long-term studies has to be done.