Method  of white light interference  in thin film for analysis  morphology of red blood cells

1A.A. Paiziev, 2A.A. Dyachenko, 2V.P. Ryabukho, 2L.I.Malinova.

1NewMaxTechnology, Tashkent, Uzbekistan

2Saratov State University, Saratov, Russia

Abstract

Statement of the Problem: To get color image of  morphological structure  of blood smears are usually  using staining of living blood  smears by dyes. But this method  leads to disruption of sample  caused by the specimen preparation and viewing conditions [1]. Other ways to get  color contrast based on visualization of phase gradients within unstaining specimens, as realized by phase contrast [2] and differential interference contrast [3] microscopy.  Usually conventional bright-field microscopy let us to see black and white  image of separate morphological elements of blood smears only (Figure 1a). The purpose  of this study is to present the new  method of optical interference microscopy to image Red Blood cells (RBC) in their natural colors without staining, by using a specially designed substrate for deposition of blood smears. Methodology: Low-coherence full-field interferometry method is proposed to investigate inner structure of transparent layered biological objects. Visualization program and algorithm of optical and physical property measurements were worked out. Method based on  light interference  reflected from sample surface and substrate (Au, Mo, W, Si).  Measurements has been  performed  for  human blood cells collected  from finger of health persons and deposited on ordinary microscopy slide (fig.1a) and on the special no transparence substrate (fig.1b). Findings: It has been shown that  color interference image of blood cells  is a result of two coherent rays interaction reflected from cell surface (reference signal) and interface cell-substrate (object signal). The method of interference color analysis of thin film to further measurement its optical thickness is developed. Results of simulation of interference pattern of thin film are presented. The dependence of interference color versus optical thickness is presented. The application of this method for the study of the morphological features of red blood cells is examined. Conclusion: Developed  new  technique for  fast in real time regime  to get color image  of   human blood cells without any chemical treatment.  This method let us  to determine chemical compounds of  blood cells  by comparison  this color image with calibrate color map..

Publications

- Kozlovskaya L.V., Nikolaev A.Yu. Textbook on Clinical Laboratory Methods of Investigations. Moscow. Medicine. 1984. 288p.

- Zernike F. Phase contrast: A new method for the observation of transparent objects. Physica 1942; 9: 686-693.

- Nomarski G. Microinterferometric differential a on des palarisees. J. Phys. Radium. 1955; 16; S9.

- Lychagov V.V., Ryabukho V.P., Kalyanov A.L., Smirnov I.V. (2010). Low-coherence interferometry  of .stratified  structures using polychromatic  light  and  digital recording and processing of  interferograms.  Computer Optics, V.34, №1б pp. 90-100.

- A.A. Dyachenko, A.A. Paiziev, V.P. Ryabukho, L.I. Malinova (2015). Method of white light interference in thin film for analysis morphology of red blood cells.    Bulletin of   High School (Physics), №1, pp. 1-4.

Biography

Adkham Paiziev  have experience in positron material science, light microscopy and its application  to life science (morphology plant and animal cells). Last  10 years  his interest has been connected with  elaboration the new  physical methods  in  medical diagnostics.  In particular  he   in first  offers  the new kind of light microscope to reveal  cancer cells membrane lesions, to  see in color  red blood cells without   chemical treatment. Dr. Paiziev  2 years ago  have organized  the new Lab. Of Biophotonics  aimed  to use  visible and IR light   for  human  treatment and diagnostics. In this area his research interest has been connected with application elaborated physical  methods in cardiovascular  science, emergency medicine,  neurology, neonatology and  muscle physiology.

Email: adkhampaiziev@gmail.com

Notes/Comments: