# Development and Validation of Targeted metabolomics for clinical applications

Minnie Jacob, MSc, Department of Genetics, King Faisal Specialist Hospital and Research Center (KFSHRC), Riyadh, Saudi Arabia. Department of Molecular & Cell Biology, Australian Institute of Tropical Health and Medicine, James Cook University, Townsville, QLD, Australia

Abeer Malkawi, MSC, Department of Clinical Pharmacy, Faculty of Pharmacy, Jordan University of Science and Technology (JUST), Irbid, Jordan

Nour Albast, BSc, College of Medicine, Al Faisal University, Riyadh, Saudi Arabia.

Salam Al Bougha, BSc, College of Medicine, Al Faisal University, Riyadh, Saudi Arabia.

Andreas Lopata, PhD, Department of Molecular & Cell Biology, Australian Institute of Tropical Health and Medicine, James Cook University, Townsville, QLD, Australia

Majed Dasouki, MD, Department of Genetics, King Faisal Specialist Hospital and Research Center (KFSHRC), Riyadh, Saudi Arabia.

Anas M. Abdel Rahman*, PhD Department of Genetics, King Faisal Specialist Hospital and Research Center (KFSHRC), Riyadh, Saudi Arabia. College of Medicine, Al Faisal University, Riyadh, Saudi Arabia. Department of Chemistry, Memorial University of Newfoundland, St. John's, NL, Canada

### Image

Figure 1 : Workflow for targeted LC-MS/MS analysis of metabolites extracted from Dried Blood Spot (DBS) ,plasma, whole blood and tissues. Tissue samples were frozen on dryice, stored at -80 C, and crushed in a crucible on liquid nitrogen just prior to extraction.

### Abstract

Metabolome, representing a vast array of analytes, is the ultimate functional equivalent of the genome and can be studied through small molecules (<1500 Da) identification and quantification. The global metabolome influences the individual phenotype through environment and clinical interventions. Metabolomics has been shown to identify relevant biomarkers responsible for/or associated with complex phenotypes in diverse biological systems.

Combining metabolomics with genomics, transcriptomics, and proteomics studies provides a higher level of understanding of the mechanism and the pathophysiology of many diseases and related clinical interventions. Metabolomics plays a major role in clinical practice as it represents > 95% of the clinical laboratories routine work load. However, many of these metabolites require different analytical platforms and many clinically relevant metabolites are still not amenable to detection using routinely available assays. Mass spectrometry (MS) coupled with liquid chromatography (LC) is a robust and important analytical tool, where two almost universal techniques merge to accommodate the chemical diversity of the metabolome. Herein, we introduce the establishment of a comprehensive targeted metabolomics method for a panel of 225 metabolites using liquid chromatography tandem mass spectrometry. The sensitivity, reproducibility and molecular stability of each targeted metabolite were assessed under experimental conditions. Quantification of metabolites by peak area was linear, with minimal deviation (R2=0.98). Inter and intraday precision had an average coefficient of variation <20%. The method reported here is robust for the extraction of the maximum number of metabolites from different types of tissues and biofluids.

Recent Publications

- Nawal Alshehri, Shimaa Eissa, Laila Balobaid, Majed Dasouki, Anas Abdel Rahman, Mohammed Zourob. Electrochemical Immunosensors for the Rapid Screening of Cystic Fibrosis and Duchenne Muscular Dystrophy. Electroanalysis, 2017; 29: 1-8 (DOI: 10.1002/elan.201700155)

- Hani Alhadrami, Raja Chinnappan,  Shimaa Eissa, Anas Abdel Rahman, Mohammed Zourob. High affinity truncated DNA aptamers for the development of fluorescence-based progesterone biosensors. Anal Biochem, 2017; 525: 78-84.

- Robert S. Banh, Caterina Iorio, Richard Marcotte, Yang Xu1, Dan Cojocari1, Anas Abdel Rahman, Judy Pawling, Toshiaki Hitomi, Toshiyuki Habu,  Akio Koizumi, Sarah E. Wilkins, Christopher J. Schofield, James W. Dennis, Bradly G. Wouters, Benjamin G. Neel. PTP1B regulates non-mitochondrial oxygen consumption to promote tumor survival during hypoxia, via Moyamoya disease gene RNF213. Nat Cell Biol, 2016;18(7):803-13

- Michael C. Ryczko, Judy Pawling, Rui Chen, Anas M. Abdel Rahman, Kevin Yau, Daniel Figeys, and James W. Dennis. Metabolic Reprogramming by the Hexosamine Biosynthetic Pathway and Golgi N-Glycan Branching. Sci Rep, 2016 6:23043

- Anas Abdel Rahman, Michael Ryczko, Miyako Nakano, Judy Pawling, Naoyuki Taniguchi and James W. Dennis. Golgi N-Glycan Branching N-Acetylglucosaminyltransferases I, V and VI Promote Nutrient Uptake and Metabolism. Glycobiology, 2015 (25), 225-240

- Anas M. Abdel Rahman, Michael Ryczko, Judy Pawling, Amy A. Caudy and James W. Dennis. Targeted metabolomics in cultured cells and tissues by mass spectrometry: method development and validation. Anal Chem Acta. 2014(845), 53-61

- Anita Johswich, Christine Longuet, Judy Pawling, Anas M. Abdel Rahman, Michael Ryczko, Daniel J. Drucker, James W. Dennis. N-glycan Remodeling on Glucagon Receptor is an Effector of Nutrient-sensing by the Hexosamine Biosynthesis Pathway. J. Biol. Chem. 2014 (289),15927-15941

- S.D. Kamath, A.M. Abdel Rahman, A. Voskamp, J.M. Rolland, R.E. O’Hehir, A.L. Lopata. Heating of prawns changes allergen repertoire and alters

- IgE binding: Implications on the use of prawn allergens for in-vitro IgE diagnostics. Mol Nutr Food Res, 2014 (58), 1144-1155

- Mohamed A. Soliman, Anas M. Abdel Rahman, Dudley A. Lamming, Kıvanç Birsoy, Maru Frigolet, Huogen Lu, Ivan G. Fantus, Yong Zheng, David M. Sabatini, James W. Dennis, Tony Pawson. The adaptor protein p66Shc inhibits mTOR-dependent anabolic metabolism. Sci. Signal, 2014 7(313); ra17

Biography

Dr. Abdel Rahman completed his Ph.D. in bioanalytical chemistry in proteomics at Memorial University of Newfoundland (Newfoundland-Canada). From 2011 to 2014 he conducted postdoctoral research in James Dennis’s lab, at Lunenfeld-Tanenbaum Research Institute at Mount Sinai Hospital and University of Toronto (Toronto-Canada), working on the molecular mechanisms that control glycosylation on cell surface receptors in cancer cells at metabolic levels using metabolomics and glycomics strategies. In 2014, he was appointed as Associate Scientist at the research center of King Faisal Specialist Hospital (KFSHRC) and as Assistant Professor at School of Medicine at Al Faisal University. His current scientific interests are related to signaling pathways controlling the metabolic reprogramming in cancer. Dr. Abdel Rahman, as a member of the Newborn Screening and Biochemical Genetics Lab (NSBGL), is also interested in metabolomic biomarker discovery in several genetic conditions and mainly in the Inborn Error of Metabolism (IEM). Dr. Abdel Rahman has several publications in the field of proteomics and metabolomics.

aabdelrahman46@kfshrc.edu.sa

Presenting author details 
Full name: Dr. Anas Abdel Rahman
Contact number: +966596692636
Linked In account: anas-abdel-rahman-14600a2a
Session name/ number: Track 12: Metabolic Disorders & Metabolomics
Category: Oral presentation

Notes/Comments: