Abstract

Factors Affecting Downstream Profitability of Geothermal Power Plants

More commonly than not, the projected power output and subsequent profitability of a geothermal power plant is based on data taken from the feasibility study provided to the project’s lenders during the exploratory stage of the project. It is important to note that due to the slow uptake in large scale geothermal power generation, current studies rely on methodology taken from other industries for estimating downstream profitability. Furthermore, due to the upfront investment risks in geothermal power plants, it is largely accepted that the main purpose of a feasibility study is to build a business case for funding support from private, public, or institutional bodies. A feasibility study also acts to guide the internal business decisions of a project’s owners in order to mitigate financial risk. For this purpose, the risk profile summarized in a feasibility study is constantly evolving from the planning stages through to completion of the project’s financing and data collected at one point in this process cannot be considered final. In this paper I present the various post-feasibility study factors that directly affect the profitability of a geothermal power plant. This includes, but is not limited to; projected well production, ambient temperature, internal consumption, plant availability and government pricing legislation.