A comparative quantification in cellularity of bone marrow aspirated with two new harvesting devices, and the nonequivalent difference between a centrifugated bone marrow concentrate and a bone marrow aspirate as biological injectates, using a bi-lateral patient model.

Peter A. Everts, PhD1, John Ferrell, MD2, Christine Brown Mahoney, PhD3, Glenn Flanagan II, MD4, Moises Irizarry-de Roman, MD5, Rowan Paul, MD6, Natalie Stephens, PhD7, Kenneth Mautner, MD8.

1 Gulf Coast Biologics, Scientific and Research Department, Fort Myers FL, USA.

2 Regenerative Orthopedics & Sports Medicine, Rockville MD, USA

3 Minnesota State University, College of Business, Mankato MN, USA

4 Naples Regenerative Institute, Naples FL 34103, USA

5 No Merci Sports Medicine, Miami FL, USA

6 California Pacific Orthopedics, San Francisco, CA; California Pacific Medical Center, San Fransisco, CA, USA; Darthmouth Geisel School of Medicine, Hanover, NH, USA.

7 Biosciences Research Associates, Cambridge MA, USA.

8 Emory University, Department of Physical Medicine & Rehabilitation & Department of Orthopedics, Atlanta,    GA, USA.

Keywords: Bone marrow concentrate, bone marrow aspirate, mesenchymal stem cells, preferential aspiration

- Abstract

The first aim of this study was to examine the cellularity and quality of autologous bone marrow aspirates harvested with two novel FDA-cleared devices, the Aspire™ bone marrow aspiration system (AS-BMAS) and the Marrow Cellution bone marrow aspiration device (MC-BMAD). Compared to traditional bone marrow harvesting needle systems, both these devices have a closed distal tip, avoiding preferential marrow collection (peripheral blood aspiration), and the side holes facilitate more horizontal marrow extraction. The second aim was to demonstrate the effectiveness of mechanical centrifugation of a large volume of extracted bone marrow to produce a bone marrow concentrate (BMC). Finally, we directly compared bone marrow constituents aspirated with MC-BMAD with a BMC, generated by centrifugation of bone marrow harvested using the AS-BMAS. A bi-lateral patient model was used for all comparisons. All cellular analyses included the measurement of Colony-Forming Units-fibroblasts (CFU/f) levels, CD34+cells/ml, Total Nucleated Cells (TNCs)/ml, platelets/ml, and Red Blood Cells (RBCs)/ml. 12 patients consented to the study. In the direct BMA comparison, the AS-BMAS bone marrow yielded significantly higher CFU/f counts and TNC concentrations than the MC-BMAD (1,060/ml, 33.5 x 106/ml, and 610/ml and 28.6 x 106/ml, respectively), with comparable platelet and RBC concentrations. Data following BMA concentration to produce a BMC revealed highly significant cell yields, fewer RBCs, and lower hematocrit (HCT). A direct cellular comparison between the aspirate of the MC-BMAD and centrifugated BMC following marrow extraction showed highly significant differences in cellularity for all tested variables. We believe that concentrating bone marrow is a consistent and safe method to produce a BMC that has the potential to be clinically effective. Furthermore, data indicate a nonequivalent difference in BMC cellularity, when compared to a non-filtered and non-centrifugated BMA for clinical use.

# Image:

III. References:

Everts P, Flanagan II G, Rothenberg J, Mautner K. The Rationale of Autologously Prepared Bone Marrow Aspirate Concentrate for use in Regenerative Medicine Applications. In: Regenerative Medicine [Working Title] [Internet]. IntechOpen; 2020 Available from: https://www.intechopen.com/online-first/the-rationale-of-autologously-prepared-bone-marrow-aspirate-concentrate-for-use-in-regenerative-medi

- Biography

Dr. Everts completed his PhD from the University of Utrecht in the Netherlands, School of Medicine. He is the director of Gulf Coast Biologics, a state-of-the-art Educational and Training Center in Regenerative Medicine, Fort Myers, FL. His responsibilities include clinical trials, educational (cadaver training) program development He has published over 50 papers or book chapters in the field of autologous biologics, like PRP, bone marrow and adipose mesenchymal/progenitor cells.

- Presenting author details author details